## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127102 | 2021-05-07 12:01 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.8298 | μmol/L | 30.1829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.21 | 126180.7446 | 271131.9565 | 33.25 | 75.7
127112 | 2021-05-07 12:02 | 0.33478 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.7479 | μmol/L | 30.146 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.281 | 126711.191 | 271130.2179 | 33.25 | 75.7
127122 | 2021-05-07 12:02 | 0.66854 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.7416 | μmol/L | 30.1521 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.334 | 127098.7226 | 271127.809 | 33.25 | 75.7
127132 | 2021-05-07 12:02 | 1.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6254 | μmol/L | 30.2137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.375 | 127396.0983 | 271129.2012 | 33.25 | 75.7
127142 | 2021-05-07 12:03 | 1.3346 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.2681 | μmol/L | 30.1829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.405 | 127619.4492 | 271124.9844 | 33.25 | 75.7
127152 | 2021-05-07 12:03 | 1.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.7454 | μmol/L | 30.1829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.434 | 127836.6874 | 271126.457 | 33.25 | 75.7
127162 | 2021-05-07 12:03 | 2.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1877 | μmol/L | 30.189 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.463 | 128042.3538 | 271124.802 | 33.25 | 75.7
127172 | 2021-05-07 12:04 | 2.3345 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.9971 | μmol/L | 30.146 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.488 | 128218.143 | 271115.8218 | 33.25 | 75.7
127182 | 2021-05-07 12:04 | 2.6679 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7514 | μmol/L | 30.1152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.512 | 128385.7731 | 271107.6021 | 33.25 | 75.7
127192 | 2021-05-07 12:04 | 3.0012 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.8133 | μmol/L | 30.0598 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.527 | 128492.9025 | 271102.9245 | 33.25 | 75.7
127202 | 2021-05-07 12:05 | 3.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3805 | μmol/L | 30.0906 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.541 | 128589.3704 | 271093.2768 | 33.25 | 75.7
127212 | 2021-05-07 12:05 | 3.6679 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4959 | μmol/L | 30.0352 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.553 | 128689.3147 | 271106.0681 | 33.25 | 75.7
127222 | 2021-05-07 12:05 | 4.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.976 | μmol/L | 30.0598 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.574 | 128851.789 | 271107.2574 | 33.25 | 75.7
127232 | 2021-05-07 12:06 | 4.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.4005 | μmol/L | 30.109 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.59 | 128955.2604 | 271096.6291 | 33.25 | 75.7
127242 | 2021-05-07 12:06 | 4.6679 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.7872 | μmol/L | 30.1829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.6 | 129045.3642 | 271095.2863 | 33.25 | 75.7
127252 | 2021-05-07 12:06 | 5.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5456 | μmol/L | 30.1521 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.624 | 129221.3138 | 271080.1836 | 33.25 | 75.7
127262 | 2021-05-07 12:07 | 5.3346 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4494 | μmol/L | 30.0967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.648 | 129375.9307 | 271078.1977 | 33.25 | 75.7
127272 | 2021-05-07 12:07 | 5.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.289 | μmol/L | 30.109 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.653 | 129419.4924 | 271069.4301 | 33.25 | 75.7
127282 | 2021-05-07 12:07 | 6.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.1144 | μmol/L | 30.1029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.665 | 129489.7431 | 271072.0416 | 33.25 | 75.7
127292 | 2021-05-07 12:08 | 6.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.0771 | μmol/L | 30.1152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.663 | 129507.9101 | 271062.8993 | 33.25 | 75.7
127302 | 2021-05-07 12:08 | 6.6679 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.9575 | μmol/L | 30.0967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.676 | 129570.7255 | 271065.3503 | 33.25 | 75.7
127312 | 2021-05-07 12:08 | 7.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6674 | μmol/L | 30.1521 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.674 | 129568.1686 | 271056.3448 | 33.25 | 75.7
127322 | 2021-05-07 12:09 | 7.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4704 | μmol/L | 30.1767 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.677 | 129584.7571 | 271058.2933 | 33.25 | 75.7
127332 | 2021-05-07 12:09 | 7.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3852 | μmol/L | 30.1644 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.686 | 129651.1147 | 271059.5439 | 33.25 | 75.7
127342 | 2021-05-07 12:09 | 8.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4956 | μmol/L | 30.1337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.69 | 129712.4021 | 271049.3785 | 33.25 | 75.7
127352 | 2021-05-07 12:10 | 8.3345 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.664 | μmol/L | 30.0721 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.701 | 129768.1458 | 271049.0532 | 33.25 | 75.7
127362 | 2021-05-07 12:10 | 8.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3297 | μmol/L | 30.0844 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.716 | 129849.8515 | 271044.2653 | 33.25 | 75.7
127372 | 2021-05-07 12:10 | 9.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4159 | μmol/L | 30.0906 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.709 | 129823.3864 | 271048.2842 | 33.25 | 75.7
127382 | 2021-05-07 12:11 | 9.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3264 | μmol/L | 30.1029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.71 | 129841.7689 | 271035.6528 | 33.25 | 75.7
127392 | 2021-05-07 12:11 | 9.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.987 | μmol/L | 30.146 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.715 | 129887.9827 | 271026.5213 | 33.25 | 75.7
127402 | 2021-05-07 12:11 | 10.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.118 | μmol/L | 30.0967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.724 | 129931.8703 | 271024.5864 | 33.25 | 75.7
127412 | 2021-05-07 12:12 | 10.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.8347 | μmol/L | 30.1214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.732 | 129965.4817 | 271025.1895 | 33.25 | 75.7
127422 | 2021-05-07 12:12 | 10.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7291 | μmol/L | 30.1275 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.736 | 130017.0514 | 271019.5182 | 33.25 | 75.7
127432 | 2021-05-07 12:12 | 11.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.8359 | μmol/L | 30.1152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.734 | 130009.8316 | 271011.5993 | 33.25 | 75.7
127442 | 2021-05-07 12:13 | 11.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.6781 | μmol/L | 30.1214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.741 | 130052.3358 | 271000.6417 | 33.25 | 75.7
127452 | 2021-05-07 12:13 | 11.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7545 | μmol/L | 30.0844 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.749 | 130115.4553 | 270995.4364 | 33.25 | 75.7
127462 | 2021-05-07 12:13 | 12.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.0415 | μmol/L | 30.1829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.757 | 130174.7183 | 270997.3524 | 33.25 | 75.7
127472 | 2021-05-07 12:14 | 12.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.6305 | μmol/L | 30.0967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.752 | 130164.1207 | 270991.7983 | 33.25 | 75.7
127482 | 2021-05-07 12:14 | 12.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7881 | μmol/L | 30.0906 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.745 | 130115.1318 | 270984.2135 | 33.25 | 75.7
127492 | 2021-05-07 12:14 | 13.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.4371 | μmol/L | 30.109 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.759 | 130192.231 | 270971.2112 | 33.25 | 75.7
127502 | 2021-05-07 12:15 | 13.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.8533 | μmol/L | 30.1706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.772 | 130278.9748 | 270982.3711 | 33.25 | 75.7
127512 | 2021-05-07 12:15 | 13.6679 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.774 | μmol/L | 30.1337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.789 | 130377.5589 | 270961.6883 | 33.25 | 75.7
127522 | 2021-05-07 12:15 | 14.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.6172 | μmol/L | 30.1398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.796 | 130463.048 | 270967.9886 | 33.25 | 75.7
127532 | 2021-05-07 12:16 | 14.3345 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.2833 | μmol/L | 30.1706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.805 | 130534.6413 | 270957.7931 | 33.25 | 75.7
127542 | 2021-05-07 12:16 | 14.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.2758 | μmol/L | 30.1214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.822 | 130642.3659 | 270955.3427 | 33.25 | 75.7
127552 | 2021-05-07 12:16 | 15.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.2806 | μmol/L | 30.0967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.83 | 130692.8825 | 270956.1585 | 33.25 | 75.7
127562 | 2021-05-07 12:17 | 15.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.7448 | μmol/L | 30.1952 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.828 | 130695.217 | 270959.8082 | 33.25 | 75.7
127572 | 2021-05-07 12:17 | 15.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.9094 | μmol/L | 30.146 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.835 | 130736.8273 | 270947.4374 | 33.25 | 75.7
127582 | 2021-05-07 12:17 | 16.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.648 | μmol/L | 30.1644 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.844 | 130824.0774 | 270957.6895 | 33.25 | 75.7
127592 | 2021-05-07 12:18 | 16.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.054 | μmol/L | 30.2198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.86 | 130916.8746 | 270940.724 | 33.25 | 75.7
127602 | 2021-05-07 12:18 | 16.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.2195 | μmol/L | 30.1644 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.869 | 130964.2279 | 270942.5201 | 33.25 | 75.7
127612 | 2021-05-07 12:18 | 17.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.9813 | μmol/L | 30.1583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.885 | 131039.696 | 270955.339 | 33.25 | 75.7
127622 | 2021-05-07 12:19 | 17.3345 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.2822 | μmol/L | 30.109 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.884 | 131087.6509 | 270933.3474 | 33.25 | 75.7
127632 | 2021-05-07 12:19 | 17.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.9851 | μmol/L | 30.1398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.891 | 131112.4123 | 270937.0683 | 33.25 | 75.7
127642 | 2021-05-07 12:19 | 18.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.5627 | μmol/L | 30.2013 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.895 | 131150.9477 | 270931.2885 | 33.25 | 75.7
127652 | 2021-05-07 12:20 | 18.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.4958 | μmol/L | 30.1952 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.901 | 131199.2624 | 270918.7607 | 33.25 | 75.7
127662 | 2021-05-07 12:20 | 18.6679 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.0161 | μmol/L | 30.0721 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.912 | 131254.9795 | 270927.0041 | 33.25 | 75.7
127672 | 2021-05-07 12:20 | 19.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.4185 | μmol/L | 30.1583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.918 | 131290.3371 | 270906.5617 | 33.25 | 75.7
127682 | 2021-05-07 12:21 | 19.3345 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.9632 | μmol/L | 30.2198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.924 | 131336.4381 | 270915.4864 | 33.25 | 75.7
127692 | 2021-05-07 12:21 | 19.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.0235 | μmol/L | 30.1767 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.935 | 131429.5834 | 270911.6687 | 33.25 | 75.7
127702 | 2021-05-07 12:21 | 20.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.9046 | μmol/L | 30.1767 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.942 | 131467.9765 | 270905.3796 | 33.25 | 75.7
127712 | 2021-05-07 12:22 | 20.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.6423 | μmol/L | 30.2137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.945 | 131482.7135 | 270902.4002 | 33.25 | 75.7
127722 | 2021-05-07 12:22 | 20.6679 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.906 | μmol/L | 30.1706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.944 | 131486.3714 | 270885.7837 | 33.25 | 75.7
127732 | 2021-05-07 12:22 | 21.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.9426 | μmol/L | 30.1583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.946 | 131513.4855 | 270887.1392 | 33.25 | 75.7
127742 | 2021-05-07 12:23 | 21.3345 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.7221 | μmol/L | 30.1583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.959 | 131585.0728 | 270898.9156 | 33.25 | 75.7
127752 | 2021-05-07 12:23 | 21.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.5163 | μmol/L | 30.1706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.967 | 131626.3192 | 270893.7552 | 33.25 | 75.7
127762 | 2021-05-07 12:23 | 22.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.4486 | μmol/L | 30.1706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.971 | 131659.5142 | 270896.0016 | 33.25 | 75.7
127772 | 2021-05-07 12:24 | 22.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.2586 | μmol/L | 30.189 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.976 | 131691.1413 | 270888.0734 | 33.25 | 75.7
127782 | 2021-05-07 12:24 | 22.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.2079 | μmol/L | 30.189 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.979 | 131712.636 | 270881.9334 | 33.25 | 75.7
127792 | 2021-05-07 12:24 | 23.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.2822 | μmol/L | 30.1583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.985 | 131740.6411 | 270887.8774 | 33.25 | 75.7
127802 | 2021-05-07 12:25 | 23.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.0573 | μmol/L | 30.1829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.99 | 131808.7764 | 270893.5898 | 33.25 | 75.7
127812 | 2021-05-07 12:25 | 23.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.3139 | μmol/L | 30.0906 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.006 | 131878.5721 | 270884.5811 | 33.25 | 75.7