## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
123550 | 2021-05-03 13:28 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.468 | μmol/L | 31.1468 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.61 | 91876.9166 | 211228.4479 | 27.3 | 43.4
123560 | 2021-05-03 13:28 | 0.33635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7824 | μmol/L | 31.1774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.634 | 91990.8627 | 211222.3322 | 27.3 | 43.4
123570 | 2021-05-03 13:29 | 0.66938 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.5838 | μmol/L | 31.1774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.644 | 92059.7412 | 211221.9744 | 27.3 | 43.4
123580 | 2021-05-03 13:29 | 1.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.4105 | μmol/L | 31.159 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.659 | 92144.0935 | 211231.7177 | 27.3 | 43.4
123590 | 2021-05-03 13:29 | 1.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.0575 | μmol/L | 31.1468 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.681 | 92226.9818 | 211216.0509 | 27.3 | 43.4
123600 | 2021-05-03 13:30 | 1.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7413 | μmol/L | 31.1468 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.697 | 92300.5789 | 211210.5346 | 27.3 | 43.4
123610 | 2021-05-03 13:30 | 2.0026 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7879 | μmol/L | 31.1222 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.703 | 92355.1925 | 211210.4728 | 27.3 | 43.4
123620 | 2021-05-03 13:30 | 2.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.5744 | μmol/L | 31.11 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.718 | 92408.7076 | 211213.6691 | 27.3 | 43.4
123630 | 2021-05-03 13:31 | 2.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4006 | μmol/L | 31.0977 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.731 | 92464.1828 | 211213.4742 | 27.3 | 43.4
123640 | 2021-05-03 13:31 | 3.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3736 | μmol/L | 31.0548 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.747 | 92528.6621 | 211208.5865 | 27.3 | 43.4
123650 | 2021-05-03 13:31 | 3.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3164 | μmol/L | 31.0486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.752 | 92566.7285 | 211214.5928 | 27.3 | 43.4
123660 | 2021-05-03 13:32 | 3.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4878 | μmol/L | 30.9996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.76 | 92607.0265 | 211205.6805 | 27.3 | 43.4
123670 | 2021-05-03 13:32 | 4.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3947 | μmol/L | 30.9812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.771 | 92648.4703 | 211198.7874 | 27.3 | 43.4
123680 | 2021-05-03 13:32 | 4.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9697 | μmol/L | 31.0241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.778 | 92700.1077 | 211194.4656 | 27.3 | 43.4
123690 | 2021-05-03 13:33 | 4.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8556 | μmol/L | 31.0119 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.788 | 92739.818 | 211202.8704 | 27.3 | 43.4
123700 | 2021-05-03 13:33 | 5.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8431 | μmol/L | 30.9873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.797 | 92770.0731 | 211196.1907 | 27.3 | 43.4
123710 | 2021-05-03 13:33 | 5.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.7451 | μmol/L | 30.9873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.802 | 92799.9095 | 211192.0352 | 27.3 | 43.4
123720 | 2021-05-03 13:34 | 5.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.713 | μmol/L | 30.9628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.812 | 92839.8558 | 211205.3801 | 27.3 | 43.4
123730 | 2021-05-03 13:34 | 6.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.7628 | μmol/L | 30.926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.822 | 92867.4006 | 211197.2608 | 27.3 | 43.4
123740 | 2021-05-03 13:34 | 6.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3626 | μmol/L | 30.9567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.832 | 92917.4757 | 211188.7461 | 27.3 | 43.4
123750 | 2021-05-03 13:35 | 6.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.2863 | μmol/L | 30.9505 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.838 | 92960.7267 | 211194.3094 | 27.3 | 43.4
123760 | 2021-05-03 13:35 | 7.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1532 | μmol/L | 30.9383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.849 | 93004.0645 | 211191.2344 | 27.3 | 43.4
123770 | 2021-05-03 13:35 | 7.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9441 | μmol/L | 30.9199 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.866 | 93060.2487 | 211188.2537 | 27.3 | 43.4
123780 | 2021-05-03 13:36 | 7.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8503 | μmol/L | 30.9076 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.875 | 93097.0082 | 211194.2693 | 27.3 | 43.4
123790 | 2021-05-03 13:36 | 8.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9354 | μmol/L | 30.8831 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.879 | 93128.6774 | 211189.1108 | 27.3 | 43.4
123800 | 2021-05-03 13:36 | 8.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7425 | μmol/L | 30.877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.891 | 93179.486 | 211191.1423 | 27.3 | 43.4
123810 | 2021-05-03 13:37 | 8.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5639 | μmol/L | 30.8892 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.896 | 93212.6248 | 211190.5046 | 27.3 | 43.4
123820 | 2021-05-03 13:37 | 9.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5905 | μmol/L | 30.8647 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.903 | 93254.5084 | 211180.3309 | 27.3 | 43.4
123830 | 2021-05-03 13:37 | 9.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4794 | μmol/L | 30.8463 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.915 | 93298.9576 | 211178.645 | 27.3 | 43.4
123840 | 2021-05-03 13:38 | 9.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.289 | μmol/L | 30.834 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.929 | 93354.5973 | 211176.0205 | 27.3 | 43.4
123850 | 2021-05-03 13:38 | 10.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3295 | μmol/L | 30.8279 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.929 | 93366.1829 | 211176.5226 | 27.3 | 43.4
123860 | 2021-05-03 13:38 | 10.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.275 | μmol/L | 30.8156 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.936 | 93391.683 | 211173.4594 | 27.3 | 43.4
123870 | 2021-05-03 13:39 | 10.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.1745 | μmol/L | 30.8279 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.937 | 93407.924 | 211167.1075 | 27.3 | 43.4
123880 | 2021-05-03 13:39 | 11.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2574 | μmol/L | 30.8095 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.939 | 93423.3635 | 211173.8388 | 27.3 | 43.4
123890 | 2021-05-03 13:39 | 11.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.1448 | μmol/L | 30.7973 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.949 | 93446.1884 | 211166.1682 | 27.3 | 43.4
123900 | 2021-05-03 13:40 | 11.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.247 | μmol/L | 30.7789 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.95 | 93460.4852 | 211157.7085 | 27.3 | 43.4
123910 | 2021-05-03 13:40 | 12.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.1731 | μmol/L | 30.7666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.958 | 93470.307 | 211159.3903 | 27.3 | 43.4
123920 | 2021-05-03 13:40 | 12.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2172 | μmol/L | 30.7482 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.962 | 93492.1971 | 211160.4313 | 27.3 | 43.4
123930 | 2021-05-03 13:41 | 12.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3811 | μmol/L | 30.7175 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.964 | 93514.4412 | 211158.004 | 27.3 | 43.4
123940 | 2021-05-03 13:41 | 13.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.1945 | μmol/L | 30.693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.982 | 93568.4429 | 211165.9447 | 27.3 | 43.4
123950 | 2021-05-03 13:41 | 13.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3829 | μmol/L | 30.644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.989 | 93634.3465 | 211160.4943 | 27.3 | 43.4
123960 | 2021-05-03 13:42 | 13.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.7518 | μmol/L | 30.6869 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.007 | 93704.0771 | 211155.9583 | 27.3 | 43.4
123970 | 2021-05-03 13:42 | 14.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.4571 | μmol/L | 30.7053 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.016 | 93754.0881 | 211157.6295 | 27.3 | 43.4
123980 | 2021-05-03 13:42 | 14.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2609 | μmol/L | 30.7175 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.022 | 93774.1679 | 211160.2119 | 27.3 | 43.4
123990 | 2021-05-03 13:43 | 14.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.4378 | μmol/L | 30.7053 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.017 | 93770.2494 | 211165.9712 | 27.3 | 43.4
124000 | 2021-05-03 13:43 | 15.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.4258 | μmol/L | 30.6808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.026 | 93795.2621 | 211168.9902 | 27.3 | 43.4
124010 | 2021-05-03 13:43 | 15.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.489 | μmol/L | 30.6624 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.029 | 93796.8017 | 211172.8373 | 27.3 | 43.4
124020 | 2021-05-03 13:44 | 15.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.6943 | μmol/L | 30.6194 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.033 | 93843.2268 | 211160.4804 | 27.3 | 43.4
124030 | 2021-05-03 13:44 | 16.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.4228 | μmol/L | 30.6256 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.045 | 93908.4348 | 211162.5535 | 27.3 | 43.4
124040 | 2021-05-03 13:44 | 16.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.998 | μmol/L | 30.6317 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.065 | 93963.6957 | 211147.6714 | 27.3 | 43.4
124050 | 2021-05-03 13:45 | 16.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8463 | μmol/L | 30.6256 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.075 | 94031.398 | 211149.6468 | 27.3 | 43.4
124060 | 2021-05-03 13:45 | 17.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.1577 | μmol/L | 30.5459 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.086 | 94077.152 | 211152.1355 | 27.3 | 43.4
124070 | 2021-05-03 13:45 | 17.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2975 | μmol/L | 30.5275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.085 | 94103.3667 | 211140.9122 | 27.3 | 43.4
124080 | 2021-05-03 13:46 | 17.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3605 | μmol/L | 30.5091 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.088 | 94131.7469 | 211135.8837 | 27.3 | 43.4
124090 | 2021-05-03 13:46 | 18.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2523 | μmol/L | 30.4846 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.102 | 94147.5124 | 211137.3016 | 27.3 | 43.4
124100 | 2021-05-03 13:46 | 18.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3082 | μmol/L | 30.4907 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.097 | 94136.1887 | 211140.8275 | 27.3 | 43.4
124110 | 2021-05-03 13:47 | 18.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.9939 | μmol/L | 30.5152 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.105 | 94163.9497 | 211142.677 | 27.3 | 43.4
124120 | 2021-05-03 13:47 | 19.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8926 | μmol/L | 30.5336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.104 | 94188.3003 | 211140.7378 | 27.3 | 43.4
124130 | 2021-05-03 13:47 | 19.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.7028 | μmol/L | 30.5275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.116 | 94201.1969 | 211130.5284 | 27.3 | 43.4
124140 | 2021-05-03 13:48 | 19.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.6089 | μmol/L | 30.5214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.123 | 94234.5569 | 211131.7948 | 27.3 | 43.4
124150 | 2021-05-03 13:48 | 20.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.5761 | μmol/L | 30.503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.131 | 94294.3415 | 211133.0847 | 27.3 | 43.4
124160 | 2021-05-03 13:48 | 20.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.6532 | μmol/L | 30.4355 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.15 | 94353.7288 | 211137.742 | 27.3 | 43.4
124170 | 2021-05-03 13:49 | 20.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.7142 | μmol/L | 30.4233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.151 | 94372.3992 | 211128.6745 | 27.3 | 43.4
124180 | 2021-05-03 13:49 | 21.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.4257 | μmol/L | 30.4294 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.164 | 94433.4311 | 211130.4755 | 27.3 | 43.4
124190 | 2021-05-03 13:49 | 21.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.6502 | μmol/L | 30.3803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.169 | 94475.0992 | 211128.8692 | 27.3 | 43.4
124200 | 2021-05-03 13:50 | 21.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.7355 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.175 | 94485.0659 | 211145.474 | 27.3 | 43.4
124210 | 2021-05-03 13:50 | 22.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.4364 | μmol/L | 30.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.176 | 94511.6536 | 211133.0152 | 27.3 | 43.4
124220 | 2021-05-03 13:50 | 22.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.9662 | μmol/L | 30.4355 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.186 | 94537.4449 | 211127.0151 | 27.3 | 43.4
124230 | 2021-05-03 13:51 | 22.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.2093 | μmol/L | 30.3865 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.19 | 94547.6542 | 211127.9223 | 27.3 | 43.4
124240 | 2021-05-03 13:51 | 23.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.0097 | μmol/L | 30.4171 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.19 | 94548.5442 | 211124.7698 | 27.3 | 43.4
124250 | 2021-05-03 13:51 | 23.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.8728 | μmol/L | 30.4294 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.193 | 94575.4718 | 211132.4854 | 27.3 | 43.4
124260 | 2021-05-03 13:52 | 23.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.8955 | μmol/L | 30.4171 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.196 | 94575.072 | 211122.3374 | 27.3 | 43.4
124270 | 2021-05-03 13:52 | 24.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.8365 | μmol/L | 30.4233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.197 | 94574.5299 | 211128.3507 | 27.3 | 43.4
124280 | 2021-05-03 13:52 | 24.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.6789 | μmol/L | 30.4417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.199 | 94607.943 | 211116.0099 | 27.3 | 43.4
124290 | 2021-05-03 13:53 | 24.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.6255 | μmol/L | 30.4294 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.206 | 94659.3852 | 211130.5639 | 27.3 | 43.4
124300 | 2021-05-03 13:53 | 25.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.4583 | μmol/L | 30.4171 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.219 | 94692.0064 | 211112.7783 | 27.3 | 43.4
124310 | 2021-05-03 13:53 | 25.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.3481 | μmol/L | 30.4049 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.229 | 94746.9193 | 211125.9323 | 27.3 | 43.4
124320 | 2021-05-03 13:54 | 25.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.3481 | μmol/L | 30.4049 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.229 | 94748.8324 | 211117.6346 | 27.3 | 43.4
124330 | 2021-05-03 13:54 | 26.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.2325 | μmol/L | 30.411 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.233 | 94755.3843 | 211120.0597 | 27.3 | 43.4
124340 | 2021-05-03 13:54 | 26.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.293 | μmol/L | 30.3987 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.234 | 94782.1435 | 211123.8413 | 27.3 | 43.4
124350 | 2021-05-03 13:55 | 26.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0846 | μmol/L | 30.3987 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.245 | 94809.8194 | 211121.6561 | 27.3 | 43.4
124360 | 2021-05-03 13:55 | 27.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.1641 | μmol/L | 30.3865 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.245 | 94815.1614 | 211115.0515 | 27.3 | 43.4
124370 | 2021-05-03 13:55 | 27.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.1091 | μmol/L | 30.3803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.25 | 94828.4962 | 211119.3721 | 27.3 | 43.4
124380 | 2021-05-03 13:56 | 27.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.128 | μmol/L | 30.3803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.249 | 94850.3912 | 211106.5134 | 27.3 | 43.4
124390 | 2021-05-03 13:56 | 28.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0731 | μmol/L | 30.3742 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.254 | 94871.5057 | 211099.8792 | 27.3 | 43.4
124400 | 2021-05-03 13:56 | 28.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0578 | μmol/L | 30.362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.259 | 94885.5449 | 211105.1923 | 27.3 | 43.4
124410 | 2021-05-03 13:57 | 28.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0841 | μmol/L | 30.3374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.266 | 94908.2997 | 211102.0798 | 27.3 | 43.4
124420 | 2021-05-03 13:57 | 29.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0634 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.265 | 94937.3512 | 211102.0465 | 27.3 | 43.4
124430 | 2021-05-03 13:57 | 29.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.8175 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.278 | 94963.1879 | 211095.7359 | 27.3 | 43.4
124440 | 2021-05-03 13:58 | 29.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.608 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.287 | 94993.969 | 211098.8751 | 27.3 | 43.4
124450 | 2021-05-03 13:58 | 30.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.5872 | μmol/L | 30.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.286 | 95024.4171 | 211097.2121 | 27.3 | 43.4
124460 | 2021-05-03 13:58 | 30.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.689 | μmol/L | 30.3313 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.289 | 95020.8895 | 211091.8222 | 27.3 | 43.4