## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
123551 | 2021-05-03 13:28 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1274 | μmol/L | 31.2785 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.35 | 84901.8614 | 288048.5881 | 28.7 | 67.6
123561 | 2021-05-03 13:28 | 0.3393 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1016 | μmol/L | 31.2968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.402 | 85174.3241 | 288034.7696 | 28.7 | 67.6
123571 | 2021-05-03 13:29 | 0.67252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.1546 | μmol/L | 31.303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.454 | 85407.7298 | 288045.5975 | 28.7 | 67.6
123581 | 2021-05-03 13:29 | 1.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.6678 | μmol/L | 31.2968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.484 | 85575.7473 | 288049.2935 | 28.7 | 67.6
123591 | 2021-05-03 13:29 | 1.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.0946 | μmol/L | 31.2968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.517 | 85712.786 | 288044.4349 | 28.7 | 67.6
123601 | 2021-05-03 13:30 | 1.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.8028 | μmol/L | 31.2846 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.538 | 85799.7582 | 288025.3133 | 28.7 | 67.6
123611 | 2021-05-03 13:30 | 2.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.4758 | μmol/L | 31.2785 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.559 | 85877.3596 | 288013.9783 | 28.7 | 67.6
123621 | 2021-05-03 13:30 | 2.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.3962 | μmol/L | 31.248 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.574 | 85930.7244 | 288029.3244 | 28.7 | 67.6
123631 | 2021-05-03 13:31 | 2.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.1245 | μmol/L | 31.2297 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.596 | 86018.3649 | 288015.5558 | 28.7 | 67.6
123641 | 2021-05-03 13:31 | 3.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.057 | μmol/L | 31.2236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.602 | 86053.0159 | 288009.2321 | 28.7 | 67.6
123651 | 2021-05-03 13:31 | 3.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9194 | μmol/L | 31.2236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.61 | 86080.7704 | 288007.0923 | 28.7 | 67.6
123661 | 2021-05-03 13:32 | 3.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.8574 | μmol/L | 31.1931 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.624 | 86151.1872 | 288013.7709 | 28.7 | 67.6
123671 | 2021-05-03 13:32 | 4.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7584 | μmol/L | 31.1747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.636 | 86213.9607 | 288004.5695 | 28.7 | 67.6
123681 | 2021-05-03 13:32 | 4.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6554 | μmol/L | 31.1747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.642 | 86213.3097 | 288005.8316 | 28.7 | 67.6
123691 | 2021-05-03 13:33 | 4.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6739 | μmol/L | 31.1686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.643 | 86244.571 | 288001.1961 | 28.7 | 67.6
123701 | 2021-05-03 13:33 | 5.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4524 | μmol/L | 31.1625 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.658 | 86288.6047 | 287990.4094 | 28.7 | 67.6
123711 | 2021-05-03 13:33 | 5.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3339 | μmol/L | 31.1564 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.667 | 86337.7869 | 288012.8423 | 28.7 | 67.6
123721 | 2021-05-03 13:34 | 5.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2339 | μmol/L | 31.1442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.677 | 86376.9741 | 287999.6212 | 28.7 | 67.6
123731 | 2021-05-03 13:34 | 6.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3222 | μmol/L | 31.132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.676 | 86379.755 | 287979.1964 | 28.7 | 67.6
123741 | 2021-05-03 13:34 | 6.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2578 | μmol/L | 31.1137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.686 | 86410.6431 | 287998.3687 | 28.7 | 67.6
123751 | 2021-05-03 13:35 | 6.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3775 | μmol/L | 31.1137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.679 | 86384.5051 | 287987.1077 | 28.7 | 67.6
123761 | 2021-05-03 13:35 | 7.0061 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3973 | μmol/L | 31.1015 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.682 | 86385.7446 | 287987.2435 | 28.7 | 67.6
123771 | 2021-05-03 13:35 | 7.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2816 | μmol/L | 31.0832 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.695 | 86431.1311 | 287970.891 | 28.7 | 67.6
123781 | 2021-05-03 13:36 | 7.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5514 | μmol/L | 31.0221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.7 | 86459.9605 | 287980.0543 | 28.7 | 67.6
123791 | 2021-05-03 13:36 | 8.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4093 | μmol/L | 31.0465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.7 | 86455.2392 | 287972.9703 | 28.7 | 67.6
123801 | 2021-05-03 13:36 | 8.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4079 | μmol/L | 31.0526 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.698 | 86437.302 | 287962.9846 | 28.7 | 67.6
123811 | 2021-05-03 13:37 | 8.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3093 | μmol/L | 31.0343 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.71 | 86494.1124 | 287962.8576 | 28.7 | 67.6
123821 | 2021-05-03 13:37 | 9.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3277 | μmol/L | 31.0282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.711 | 86494.829 | 287969.5524 | 28.7 | 67.6
123831 | 2021-05-03 13:37 | 9.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4 | μmol/L | 31.0099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.713 | 86512.4014 | 287970.4574 | 28.7 | 67.6
123841 | 2021-05-03 13:38 | 9.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4671 | μmol/L | 31.016 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.707 | 86490.102 | 287971.2969 | 28.7 | 67.6
123851 | 2021-05-03 13:38 | 10.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5921 | μmol/L | 30.9916 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.708 | 86482.7326 | 287960.4548 | 28.7 | 67.6
123861 | 2021-05-03 13:38 | 10.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6303 | μmol/L | 30.9733 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.712 | 86492.0184 | 287961.1928 | 28.7 | 67.6
123871 | 2021-05-03 13:39 | 10.6726 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6658 | μmol/L | 30.9672 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.712 | 86491.0961 | 287944.1923 | 28.7 | 67.6
123881 | 2021-05-03 13:39 | 11.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7381 | μmol/L | 30.9489 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.714 | 86495.1874 | 287950.5808 | 28.7 | 67.6
123891 | 2021-05-03 13:39 | 11.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7064 | μmol/L | 30.9366 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.72 | 86501.4042 | 287948.7649 | 28.7 | 67.6
123901 | 2021-05-03 13:40 | 11.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.8473 | μmol/L | 30.9183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.718 | 86501.938 | 287942.3013 | 28.7 | 67.6
123911 | 2021-05-03 13:40 | 12.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.8143 | μmol/L | 30.9122 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.722 | 86498.2185 | 287939.1364 | 28.7 | 67.6
123921 | 2021-05-03 13:40 | 12.3393 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7311 | μmol/L | 30.9 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.731 | 86548.6072 | 287935.1308 | 28.7 | 67.6
123931 | 2021-05-03 13:41 | 12.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5967 | μmol/L | 30.8878 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.743 | 86585.1851 | 287924.7759 | 28.7 | 67.6
123941 | 2021-05-03 13:41 | 13.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6372 | μmol/L | 30.8573 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.751 | 86606.1534 | 287922.3577 | 28.7 | 67.6
123951 | 2021-05-03 13:41 | 13.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2903 | μmol/L | 30.8817 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.763 | 86644.037 | 287930.7258 | 28.7 | 67.6
123961 | 2021-05-03 13:42 | 13.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5675 | μmol/L | 30.8634 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.753 | 86620.547 | 287930.7298 | 28.7 | 67.6
123971 | 2021-05-03 13:42 | 14.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4149 | μmol/L | 30.8573 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.764 | 86663.4333 | 287912.6159 | 28.7 | 67.6
123981 | 2021-05-03 13:42 | 14.3393 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5554 | μmol/L | 30.839 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.762 | 86662.341 | 287927.9034 | 28.7 | 67.6
123991 | 2021-05-03 13:43 | 14.6726 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.63 | μmol/L | 30.8084 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.768 | 86680.5606 | 287923.5748 | 28.7 | 67.6
124001 | 2021-05-03 13:43 | 15.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5666 | μmol/L | 30.784 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.78 | 86717.5957 | 287927.4557 | 28.7 | 67.6
124011 | 2021-05-03 13:43 | 15.3394 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7119 | μmol/L | 30.7413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.786 | 86764.956 | 287916.2154 | 28.7 | 67.6
124021 | 2021-05-03 13:44 | 15.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.347 | μmol/L | 30.7718 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.797 | 86790.8684 | 287900.487 | 28.7 | 67.6
124031 | 2021-05-03 13:44 | 16.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5995 | μmol/L | 30.7901 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.776 | 86735.3225 | 287905.6703 | 28.7 | 67.6
124041 | 2021-05-03 13:44 | 16.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.8109 | μmol/L | 30.7596 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.774 | 86706.469 | 287909.6614 | 28.7 | 67.6
124051 | 2021-05-03 13:45 | 16.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6752 | μmol/L | 30.7535 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.784 | 86736.0416 | 287899.466 | 28.7 | 67.6
124061 | 2021-05-03 13:45 | 17.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6801 | μmol/L | 30.7291 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.792 | 86767.3721 | 287897.4946 | 28.7 | 67.6
124071 | 2021-05-03 13:45 | 17.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6288 | μmol/L | 30.7291 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.795 | 86792.6216 | 287911.2874 | 28.7 | 67.6
124081 | 2021-05-03 13:46 | 17.6726 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6825 | μmol/L | 30.7169 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.796 | 86794.3306 | 287913.5783 | 28.7 | 67.6
124091 | 2021-05-03 13:46 | 18.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.735 | μmol/L | 30.7108 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.795 | 86784.8477 | 287894.9391 | 28.7 | 67.6
124101 | 2021-05-03 13:46 | 18.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6178 | μmol/L | 30.6986 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.806 | 86833.5542 | 287893.1768 | 28.7 | 67.6
124111 | 2021-05-03 13:47 | 18.6726 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2764 | μmol/L | 30.6986 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.826 | 86886.5405 | 287871.1745 | 28.7 | 67.6
124121 | 2021-05-03 13:47 | 19.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.1888 | μmol/L | 30.7108 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.827 | 86918.6353 | 287877.1531 | 28.7 | 67.6
124131 | 2021-05-03 13:47 | 19.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.0891 | μmol/L | 30.6986 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.837 | 86955.2426 | 287891.1301 | 28.7 | 67.6
124141 | 2021-05-03 13:48 | 19.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.246 | μmol/L | 30.6803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.834 | 86957.3023 | 287895.1798 | 28.7 | 67.6
124151 | 2021-05-03 13:48 | 20.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4919 | μmol/L | 30.6436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.832 | 86964.4458 | 287892.8594 | 28.7 | 67.6
124161 | 2021-05-03 13:48 | 20.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2849 | μmol/L | 30.6558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.84 | 86961.3249 | 287886.4478 | 28.7 | 67.6
124171 | 2021-05-03 13:49 | 20.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5697 | μmol/L | 30.5948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.844 | 86981.3178 | 287896.7878 | 28.7 | 67.6
124181 | 2021-05-03 13:49 | 21.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3274 | μmol/L | 30.6131 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.852 | 86998.5377 | 287891.8487 | 28.7 | 67.6
124191 | 2021-05-03 13:49 | 21.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2568 | μmol/L | 30.6253 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.852 | 87001.8283 | 287895.762 | 28.7 | 67.6
124201 | 2021-05-03 13:50 | 21.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.258 | μmol/L | 30.6192 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.854 | 87002.3676 | 287879.2357 | 28.7 | 67.6
124211 | 2021-05-03 13:50 | 22.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3103 | μmol/L | 30.6131 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.853 | 87020.6792 | 287871.7693 | 28.7 | 67.6
124221 | 2021-05-03 13:50 | 22.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.0708 | μmol/L | 30.6192 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.865 | 87051.6563 | 287873.5176 | 28.7 | 67.6
124231 | 2021-05-03 13:51 | 22.6723 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.9894 | μmol/L | 30.6009 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.876 | 87100.8861 | 287864.6753 | 28.7 | 67.6
124241 | 2021-05-03 13:51 | 23.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3368 | μmol/L | 30.5643 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.868 | 87083.0421 | 287874.6247 | 28.7 | 67.6
124251 | 2021-05-03 13:51 | 23.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6348 | μmol/L | 30.5215 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.865 | 87061.4441 | 287875.883 | 28.7 | 67.6
124261 | 2021-05-03 13:52 | 23.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7418 | μmol/L | 30.4971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.867 | 87075.1146 | 287864.2455 | 28.7 | 67.6
124271 | 2021-05-03 13:52 | 24.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.321 | μmol/L | 30.5582 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.871 | 87087.113 | 287860.3224 | 28.7 | 67.6
124281 | 2021-05-03 13:52 | 24.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3597 | μmol/L | 30.5338 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.877 | 87107.6192 | 287858.7188 | 28.7 | 67.6
124291 | 2021-05-03 13:53 | 24.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2711 | μmol/L | 30.5521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.876 | 87128.0645 | 287856.5127 | 28.7 | 67.6
124301 | 2021-05-03 13:53 | 25.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2623 | μmol/L | 30.5093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.891 | 87144.0014 | 287867.0354 | 28.7 | 67.6
124311 | 2021-05-03 13:53 | 25.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.0716 | μmol/L | 30.5276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.896 | 87182.9714 | 287851.9597 | 28.7 | 67.6
124321 | 2021-05-03 13:54 | 25.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.9175 | μmol/L | 30.5338 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.903 | 87217.0051 | 287840.2207 | 28.7 | 67.6
124331 | 2021-05-03 13:54 | 26.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.7648 | μmol/L | 30.5338 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.912 | 87277.4634 | 287856.1469 | 28.7 | 67.6
124341 | 2021-05-03 13:54 | 26.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.9709 | μmol/L | 30.5215 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.904 | 87239.3141 | 287855.0659 | 28.7 | 67.6
124351 | 2021-05-03 13:55 | 26.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.8859 | μmol/L | 30.5215 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.909 | 87240.7593 | 287836.7653 | 28.7 | 67.6
124361 | 2021-05-03 13:55 | 27.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.8848 | μmol/L | 30.5276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.907 | 87235.3247 | 287848.5182 | 28.7 | 67.6
124371 | 2021-05-03 13:55 | 27.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.057 | μmol/L | 30.5154 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.901 | 87210.0809 | 287844.986 | 28.7 | 67.6
124381 | 2021-05-03 13:56 | 27.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2124 | μmol/L | 30.5032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.896 | 87188.8653 | 287833.8683 | 28.7 | 67.6
124391 | 2021-05-03 13:56 | 28.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.1115 | μmol/L | 30.4971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.904 | 87213.165 | 287833.7025 | 28.7 | 67.6
124401 | 2021-05-03 13:56 | 28.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.132 | μmol/L | 30.4788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.909 | 87241.0959 | 287826.6803 | 28.7 | 67.6
124411 | 2021-05-03 13:57 | 28.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.8034 | μmol/L | 30.5093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.918 | 87269.8243 | 287821.8456 | 28.7 | 67.6
124421 | 2021-05-03 13:57 | 29.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.7174 | μmol/L | 30.5154 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.921 | 87306.2054 | 287816.5706 | 28.7 | 67.6
124431 | 2021-05-03 13:57 | 29.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.4948 | μmol/L | 30.5276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.93 | 87336.8579 | 287815.0818 | 28.7 | 67.6
124441 | 2021-05-03 13:58 | 29.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.7731 | μmol/L | 30.491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.926 | 87336.4896 | 287813.8861 | 28.7 | 67.6
124451 | 2021-05-03 13:58 | 30.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.9849 | μmol/L | 30.4483 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.928 | 87338.1616 | 287819.2041 | 28.7 | 67.6
124461 | 2021-05-03 13:58 | 30.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.7064 | μmol/L | 30.4849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.932 | 87348.5425 | 287805.5067 | 28.7 | 67.6