## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
123553 | 2021-05-03 13:28 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7567 | μmol/L | 31.2954 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.368 | 91900.7541 | 291254.8405 | 30.45 | 114.2
123563 | 2021-05-03 13:28 | 0.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3527 | μmol/L | 31.3633 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.425 | 92191.8711 | 291246.2953 | 30.45 | 114.2
123573 | 2021-05-03 13:29 | 0.67489 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9164 | μmol/L | 31.3633 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.45 | 92354.2043 | 291247.1509 | 30.45 | 114.2
123583 | 2021-05-03 13:29 | 1.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5527 | μmol/L | 31.3571 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.473 | 92467.1444 | 291239.4174 | 30.45 | 114.2
123593 | 2021-05-03 13:29 | 1.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.9438 | μmol/L | 31.3633 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.506 | 92610.5266 | 291248.8798 | 30.45 | 114.2
123603 | 2021-05-03 13:30 | 1.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.5669 | μmol/L | 31.3509 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.532 | 92746.8488 | 291227.359 | 30.45 | 114.2
123613 | 2021-05-03 13:30 | 2.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1754 | μmol/L | 31.3324 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.561 | 92885.1148 | 291239.417 | 30.45 | 114.2
123623 | 2021-05-03 13:30 | 2.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.8812 | μmol/L | 31.3386 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.576 | 92999.907 | 291233.1038 | 30.45 | 114.2
123633 | 2021-05-03 13:31 | 2.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5466 | μmol/L | 31.3078 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.606 | 93102.0207 | 291229.0862 | 30.45 | 114.2
123643 | 2021-05-03 13:31 | 3.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.3599 | μmol/L | 31.3016 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.619 | 93167.6255 | 291218.673 | 30.45 | 114.2
123653 | 2021-05-03 13:31 | 3.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.105 | μmol/L | 31.2954 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.636 | 93235.6006 | 291216.3181 | 30.45 | 114.2
123663 | 2021-05-03 13:32 | 3.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0796 | μmol/L | 31.2646 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.648 | 93296.3746 | 291201.2142 | 30.45 | 114.2
123673 | 2021-05-03 13:32 | 4.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.7571 | μmol/L | 31.2584 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.669 | 93363.5315 | 291190.0578 | 30.45 | 114.2
123683 | 2021-05-03 13:32 | 4.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6771 | μmol/L | 31.2399 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.68 | 93417.8782 | 291196.7531 | 30.45 | 114.2
123693 | 2021-05-03 13:33 | 4.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.5649 | μmol/L | 31.2153 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.695 | 93477.6671 | 291198.9009 | 30.45 | 114.2
123703 | 2021-05-03 13:33 | 5.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.3456 | μmol/L | 31.2091 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.71 | 93533.3929 | 291202.0471 | 30.45 | 114.2
123713 | 2021-05-03 13:33 | 5.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2589 | μmol/L | 31.2153 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.713 | 93573.9257 | 291199.1049 | 30.45 | 114.2
123723 | 2021-05-03 13:34 | 5.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1471 | μmol/L | 31.1906 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.728 | 93619.7634 | 291197.7565 | 30.45 | 114.2
123733 | 2021-05-03 13:34 | 6.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4227 | μmol/L | 31.1166 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.737 | 93663.7694 | 291190.5924 | 30.45 | 114.2
123743 | 2021-05-03 13:34 | 6.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1254 | μmol/L | 31.1474 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.744 | 93691.463 | 291186.5325 | 30.45 | 114.2
123753 | 2021-05-03 13:35 | 6.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.922 | μmol/L | 31.1474 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.756 | 93706.9517 | 291180.4486 | 30.45 | 114.2
123763 | 2021-05-03 13:35 | 7.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6681 | μmol/L | 31.1474 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.771 | 93747.472 | 291176.5179 | 30.45 | 114.2
123773 | 2021-05-03 13:35 | 7.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0089 | μmol/L | 31.0796 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.774 | 93763.1205 | 291181.2284 | 30.45 | 114.2
123783 | 2021-05-03 13:36 | 7.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.5621 | μmol/L | 31.1043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.792 | 93832.6814 | 291166.805 | 30.45 | 114.2
123793 | 2021-05-03 13:36 | 8.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3054 | μmol/L | 31.1166 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.803 | 93858.0418 | 291159.3226 | 30.45 | 114.2
123803 | 2021-05-03 13:36 | 8.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4288 | μmol/L | 31.0981 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.802 | 93883.8188 | 291153.296 | 30.45 | 114.2
123813 | 2021-05-03 13:37 | 8.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4661 | μmol/L | 31.0858 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.804 | 93926.7624 | 291155.1647 | 30.45 | 114.2
123823 | 2021-05-03 13:37 | 9.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3905 | μmol/L | 31.055 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.819 | 93988.2876 | 291161.9661 | 30.45 | 114.2
123833 | 2021-05-03 13:37 | 9.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2051 | μmol/L | 31.055 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.83 | 94024.5531 | 291152.1627 | 30.45 | 114.2
123843 | 2021-05-03 13:38 | 9.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.5782 | μmol/L | 30.9871 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.831 | 94028.7329 | 291148.5845 | 30.45 | 114.2
123853 | 2021-05-03 13:38 | 10.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3067 | μmol/L | 30.9933 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.845 | 94073.3079 | 291151.7417 | 30.45 | 114.2
123863 | 2021-05-03 13:38 | 10.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1702 | μmol/L | 30.9995 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.851 | 94093.2163 | 291151.4567 | 30.45 | 114.2
123873 | 2021-05-03 13:39 | 10.6748 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2665 | μmol/L | 30.9563 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.86 | 94133.1934 | 291135.4934 | 30.45 | 114.2
123883 | 2021-05-03 13:39 | 11.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2026 | μmol/L | 30.944 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.868 | 94159.4368 | 291143.6578 | 30.45 | 114.2
123893 | 2021-05-03 13:39 | 11.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.0193 | μmol/L | 30.9378 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.881 | 94176.1719 | 291138.0623 | 30.45 | 114.2
123903 | 2021-05-03 13:40 | 11.6746 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3207 | μmol/L | 30.8823 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.882 | 94215.8252 | 291140.5154 | 30.45 | 114.2
123913 | 2021-05-03 13:40 | 12.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9724 | μmol/L | 30.9255 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.888 | 94235.1367 | 291137.3224 | 30.45 | 114.2
123923 | 2021-05-03 13:40 | 12.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6315 | μmol/L | 30.944 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.902 | 94272.5057 | 291126.2349 | 30.45 | 114.2
123933 | 2021-05-03 13:41 | 12.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5662 | μmol/L | 30.9378 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.908 | 94315.6184 | 291128.4332 | 30.45 | 114.2
123943 | 2021-05-03 13:41 | 13.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4542 | μmol/L | 30.9193 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.921 | 94347.9631 | 291133.607 | 30.45 | 114.2
123953 | 2021-05-03 13:41 | 13.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6084 | μmol/L | 30.907 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.916 | 94355.4212 | 291127.7144 | 30.45 | 114.2
123963 | 2021-05-03 13:42 | 13.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4594 | μmol/L | 30.9008 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.927 | 94385.0057 | 291103.1992 | 30.45 | 114.2
123973 | 2021-05-03 13:42 | 14.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4195 | μmol/L | 30.8638 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.942 | 94422.3396 | 291124.9439 | 30.45 | 114.2
123983 | 2021-05-03 13:42 | 14.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3007 | μmol/L | 30.87 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.947 | 94445.7993 | 291113.821 | 30.45 | 114.2
123993 | 2021-05-03 13:43 | 14.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.7783 | μmol/L | 30.7775 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.95 | 94473.3749 | 291131.9061 | 30.45 | 114.2
124003 | 2021-05-03 13:43 | 15.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6224 | μmol/L | 30.796 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.953 | 94501.0392 | 291132.702 | 30.45 | 114.2
124013 | 2021-05-03 13:43 | 15.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1273 | μmol/L | 30.833 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.97 | 94539.9521 | 291110.6171 | 30.45 | 114.2
124023 | 2021-05-03 13:44 | 15.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0105 | μmol/L | 30.833 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.977 | 94560.3585 | 291115.6051 | 30.45 | 114.2
124033 | 2021-05-03 13:44 | 16.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2446 | μmol/L | 30.7713 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.984 | 94584.935 | 291111.9815 | 30.45 | 114.2
124043 | 2021-05-03 13:44 | 16.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1727 | μmol/L | 30.7898 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.982 | 94583.5254 | 291103.1097 | 30.45 | 114.2
124053 | 2021-05-03 13:45 | 16.675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0709 | μmol/L | 30.796 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.986 | 94584.9833 | 291097.5822 | 30.45 | 114.2
124063 | 2021-05-03 13:45 | 17.0081 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1244 | μmol/L | 30.7837 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.987 | 94606.886 | 291114.4942 | 30.45 | 114.2
124073 | 2021-05-03 13:45 | 17.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1329 | μmol/L | 30.7528 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.997 | 94632.9601 | 291104.4074 | 30.45 | 114.2
124083 | 2021-05-03 13:46 | 17.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.168 | μmol/L | 30.7467 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 20.997 | 94594.4315 | 291115.3136 | 30.45 | 114.2
124093 | 2021-05-03 13:46 | 18.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.078 | μmol/L | 30.7097 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.015 | 94626.2259 | 291102.7617 | 30.45 | 114.2
124103 | 2021-05-03 13:46 | 18.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.8897 | μmol/L | 30.7282 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.02 | 94652.7558 | 291097.9394 | 30.45 | 114.2
124113 | 2021-05-03 13:47 | 18.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.8231 | μmol/L | 30.7282 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.024 | 94683.7384 | 291106.9066 | 30.45 | 114.2
124123 | 2021-05-03 13:47 | 19.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7616 | μmol/L | 30.7097 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.034 | 94725.2332 | 291104.0496 | 30.45 | 114.2
124133 | 2021-05-03 13:47 | 19.3413 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.71 | μmol/L | 30.7159 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.035 | 94748.7683 | 291089.0803 | 30.45 | 114.2
124143 | 2021-05-03 13:48 | 19.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4476 | μmol/L | 30.7035 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.055 | 94784.7857 | 291102.6133 | 30.45 | 114.2
124153 | 2021-05-03 13:48 | 20.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.915 | μmol/L | 30.6357 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.05 | 94804.4768 | 291100.626 | 30.45 | 114.2
124163 | 2021-05-03 13:48 | 20.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.6072 | μmol/L | 30.6665 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.058 | 94825.4334 | 291093.9174 | 30.45 | 114.2
124173 | 2021-05-03 13:49 | 20.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.6937 | μmol/L | 30.6542 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.057 | 94825.5792 | 291096.8348 | 30.45 | 114.2
124183 | 2021-05-03 13:49 | 21.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.9616 | μmol/L | 30.5864 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.064 | 94812.2295 | 291090.1204 | 30.45 | 114.2
124193 | 2021-05-03 13:49 | 21.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4033 | μmol/L | 30.6234 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.085 | 94879.9221 | 291087.3111 | 30.45 | 114.2
124203 | 2021-05-03 13:50 | 21.6748 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4232 | μmol/L | 30.6111 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.088 | 94897.272 | 291082.4031 | 30.45 | 114.2
124213 | 2021-05-03 13:50 | 22.0079 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3552 | μmol/L | 30.6172 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.09 | 94926.2604 | 291087.6838 | 30.45 | 114.2
124223 | 2021-05-03 13:50 | 22.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1713 | μmol/L | 30.6234 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.099 | 94959.5447 | 291086.9524 | 30.45 | 114.2
124233 | 2021-05-03 13:51 | 22.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2609 | μmol/L | 30.5987 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.102 | 94988.6868 | 291065.9954 | 30.45 | 114.2
124243 | 2021-05-03 13:51 | 23.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1483 | μmol/L | 30.5864 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.113 | 95035.4634 | 291071.3894 | 30.45 | 114.2
124253 | 2021-05-03 13:51 | 23.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9795 | μmol/L | 30.5987 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.119 | 95072.6256 | 291073.221 | 30.45 | 114.2
124263 | 2021-05-03 13:52 | 23.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2429 | μmol/L | 30.5432 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.122 | 95077.8363 | 291072.7285 | 30.45 | 114.2
124273 | 2021-05-03 13:52 | 24.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.654 | μmol/L | 30.4939 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.114 | 95053.2709 | 291069.3722 | 30.45 | 114.2
124283 | 2021-05-03 13:52 | 24.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2611 | μmol/L | 30.5371 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.123 | 95119.1239 | 291076.7964 | 30.45 | 114.2
124293 | 2021-05-03 13:53 | 24.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3091 | μmol/L | 30.5432 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.118 | 95075.8757 | 291068.9111 | 30.45 | 114.2
124303 | 2021-05-03 13:53 | 25.008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3754 | μmol/L | 30.5432 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.114 | 95065.8699 | 291061.7171 | 30.45 | 114.2
124313 | 2021-05-03 13:53 | 25.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3091 | μmol/L | 30.5432 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.118 | 95069.5206 | 291068.8594 | 30.45 | 114.2
124323 | 2021-05-03 13:54 | 25.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3919 | μmol/L | 30.5432 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.113 | 95072.2215 | 291077.26 | 30.45 | 114.2
124333 | 2021-05-03 13:54 | 26.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0791 | μmol/L | 30.5371 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.134 | 95119.0827 | 291068.4569 | 30.45 | 114.2
124343 | 2021-05-03 13:54 | 26.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0146 | μmol/L | 30.5309 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.14 | 95140.4882 | 291073.9628 | 30.45 | 114.2
124353 | 2021-05-03 13:55 | 26.6747 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2926 | μmol/L | 30.4816 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.14 | 95157.919 | 291066.8704 | 30.45 | 114.2
124363 | 2021-05-03 13:55 | 27.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7554 | μmol/L | 30.5124 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.162 | 95205.1854 | 291062.2325 | 30.45 | 114.2
124373 | 2021-05-03 13:55 | 27.3416 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7918 | μmol/L | 30.5001 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.164 | 95233.1917 | 291056.845 | 30.45 | 114.2
124383 | 2021-05-03 13:56 | 27.6749 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1007 | μmol/L | 30.4569 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.16 | 95247.8303 | 291056.5666 | 30.45 | 114.2
124393 | 2021-05-03 13:56 | 28.0082 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9752 | μmol/L | 30.4323 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.176 | 95290.073 | 291058.5032 | 30.45 | 114.2
124403 | 2021-05-03 13:56 | 28.3414 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9702 | μmol/L | 30.4508 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.17 | 95290.4833 | 291050.662 | 30.45 | 114.2
124413 | 2021-05-03 13:57 | 28.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7473 | μmol/L | 30.4816 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.173 | 95318.5454 | 291057.6746 | 30.45 | 114.2
124423 | 2021-05-03 13:57 | 29.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7029 | μmol/L | 30.4631 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.182 | 95354.853 | 291054.7447 | 30.45 | 114.2
124433 | 2021-05-03 13:57 | 29.3415 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.4904 | μmol/L | 30.4569 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.197 | 95387.7982 | 291052.1851 | 30.45 | 114.2
124443 | 2021-05-03 13:58 | 29.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.2154 | μmol/L | 30.5001 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.199 | 95416.9184 | 291051.1238 | 30.45 | 114.2
124453 | 2021-05-03 13:58 | 30.0083 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0018 | μmol/L | 30.5001 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.212 | 95470.3242 | 291043.0086 | 30.45 | 114.2
124463 | 2021-05-03 13:58 | 30.3412 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.8525 | μmol/L | 30.5062 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 21.219 | 95483.858 | 291037.1264 | 30.45 | 114.2