## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
123554 | 2021-05-03 13:28 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.1301 | μmol/L | 31.2816 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.334 | 132097.5996 | 288878.1016 | 59.9307 | 49.4
123564 | 2021-05-03 13:29 | 0.32884 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7244 | μmol/L | 31.3373 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.338 | 132605.4778 | 288868.7122 | 59.9307 | 49.4
123574 | 2021-05-03 13:29 | 0.66196 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2434 | μmol/L | 31.3497 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.361 | 132781.2243 | 288866.9548 | 59.9307 | 49.4
123584 | 2021-05-03 13:29 | 0.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.0017 | μmol/L | 31.3312 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.381 | 132830.9354 | 288858.8469 | 59.9307 | 49.4
123594 | 2021-05-03 13:30 | 1.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.291 | μmol/L | 31.3559 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.413 | 132797.5263 | 288866.5487 | 59.9307 | 49.4
123604 | 2021-05-03 13:30 | 1.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.4072 | μmol/L | 31.3188 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.419 | 132945.9983 | 288851.5806 | 59.9307 | 49.4
123614 | 2021-05-03 13:30 | 1.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.5656 | μmol/L | 31.2568 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.431 | 133051.2332 | 288866.0742 | 59.9307 | 49.4
123624 | 2021-05-03 13:31 | 2.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.0709 | μmol/L | 31.2692 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.455 | 133034.239 | 288856.9514 | 59.9307 | 49.4
123634 | 2021-05-03 13:31 | 2.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.8085 | μmol/L | 31.2692 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.47 | 133113.1917 | 288847.4818 | 59.9307 | 49.4
123644 | 2021-05-03 13:31 | 2.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6705 | μmol/L | 31.263 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.48 | 133167.3226 | 288827.4707 | 59.9307 | 49.4
123654 | 2021-05-03 13:32 | 3.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4785 | μmol/L | 31.263 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.491 | 133190.3949 | 288843.619 | 59.9307 | 49.4
123664 | 2021-05-03 13:32 | 3.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4876 | μmol/L | 31.232 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.501 | 133250.7052 | 288841.9866 | 59.9307 | 49.4
123674 | 2021-05-03 13:32 | 3.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7095 | μmol/L | 31.1887 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.503 | 133334.9137 | 288857.2637 | 59.9307 | 49.4
123684 | 2021-05-03 13:33 | 4.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.79 | μmol/L | 31.1515 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.511 | 133358.2851 | 288824.255 | 59.9307 | 49.4
123694 | 2021-05-03 13:33 | 4.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6294 | μmol/L | 31.1639 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.516 | 133375.1067 | 288822.9808 | 59.9307 | 49.4
123704 | 2021-05-03 13:33 | 4.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.3612 | μmol/L | 31.1268 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.544 | 133199.5311 | 288842.624 | 59.9307 | 49.4
123714 | 2021-05-03 13:34 | 5.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9871 | μmol/L | 31.1577 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.555 | 133245.5405 | 288824.2669 | 59.9307 | 49.4
123724 | 2021-05-03 13:34 | 5.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9212 | μmol/L | 31.1453 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.563 | 133261.6035 | 288834.8433 | 59.9307 | 49.4
123734 | 2021-05-03 13:34 | 5.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.156 | μmol/L | 31.1144 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.56 | 133329.7811 | 288820.0129 | 59.9307 | 49.4
123744 | 2021-05-03 13:35 | 6.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9463 | μmol/L | 31.0586 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.591 | 133092.865 | 288818.8802 | 59.9307 | 49.4
123754 | 2021-05-03 13:35 | 6.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9463 | μmol/L | 31.0586 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.591 | 133234.2045 | 288827.527 | 59.9307 | 49.4
123764 | 2021-05-03 13:35 | 6.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.8892 | μmol/L | 31.0153 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.609 | 133073.2982 | 288805.2517 | 59.9307 | 49.4
123774 | 2021-05-03 13:36 | 7.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5894 | μmol/L | 31.0339 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.62 | 133035.3192 | 288797.46 | 59.9307 | 49.4
123784 | 2021-05-03 13:36 | 7.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5566 | μmol/L | 31.0277 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.624 | 133015.6706 | 288797.0445 | 59.9307 | 49.4
123794 | 2021-05-03 13:36 | 7.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5291 | μmol/L | 31.0029 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.634 | 133006.5053 | 288792.4578 | 59.9307 | 49.4
123804 | 2021-05-03 13:37 | 8.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5619 | μmol/L | 31.0091 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.63 | 133125.0734 | 288801.9703 | 59.9307 | 49.4
123814 | 2021-05-03 13:37 | 8.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5517 | μmol/L | 30.9843 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.639 | 133158.3226 | 288791.7399 | 59.9307 | 49.4
123824 | 2021-05-03 13:37 | 8.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9137 | μmol/L | 30.9286 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.637 | 133329.3937 | 288789.4698 | 59.9307 | 49.4
123834 | 2021-05-03 13:38 | 9.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5898 | μmol/L | 30.9719 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.641 | 133280.56 | 288792.6316 | 59.9307 | 49.4
123844 | 2021-05-03 13:38 | 9.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.6141 | μmol/L | 30.9471 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.648 | 133271.3004 | 288797.2244 | 59.9307 | 49.4
123854 | 2021-05-03 13:38 | 9.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5294 | μmol/L | 30.941 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.655 | 132965.2846 | 288804.5073 | 59.9307 | 49.4
123864 | 2021-05-03 13:39 | 10.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.2256 | μmol/L | 30.9162 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.681 | 132856.1771 | 288800.4192 | 59.9307 | 49.4
123874 | 2021-05-03 13:39 | 10.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.3896 | μmol/L | 30.8852 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.682 | 133008.605 | 288791.2358 | 59.9307 | 49.4
123884 | 2021-05-03 13:39 | 10.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1309 | μmol/L | 30.8852 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.697 | 132968.0819 | 288782.6772 | 59.9307 | 49.4
123894 | 2021-05-03 13:40 | 11.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.2378 | μmol/L | 30.8728 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.695 | 132965.2615 | 288789.0175 | 59.9307 | 49.4
123904 | 2021-05-03 13:40 | 11.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8364 | μmol/L | 30.8914 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.712 | 132888.959 | 288777.473 | 59.9307 | 49.4
123914 | 2021-05-03 13:40 | 11.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.169 | μmol/L | 30.8109 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.72 | 132742.9622 | 288780.4134 | 59.9307 | 49.4
123924 | 2021-05-03 13:41 | 12.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8883 | μmol/L | 30.8295 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.73 | 132626.8852 | 288763.2962 | 59.9307 | 49.4
123934 | 2021-05-03 13:41 | 12.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.646 | μmol/L | 30.8357 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.742 | 132583.6373 | 288769.3192 | 59.9307 | 49.4
123944 | 2021-05-03 13:41 | 12.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.543 | μmol/L | 30.8357 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.748 | 132481.2486 | 288772.6528 | 59.9307 | 49.4
123954 | 2021-05-03 13:42 | 13.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.634 | μmol/L | 30.8171 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.749 | 132557.452 | 288781.3378 | 59.9307 | 49.4
123964 | 2021-05-03 13:42 | 13.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.983 | μmol/L | 30.7366 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.756 | 132563.3094 | 288761.243 | 59.9307 | 49.4
123974 | 2021-05-03 13:42 | 13.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1619 | μmol/L | 30.7118 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.754 | 132723.0127 | 288769.0555 | 59.9307 | 49.4
123984 | 2021-05-03 13:43 | 14.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.7543 | μmol/L | 30.6251 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.749 | 132991.7066 | 288761.1588 | 59.9307 | 49.4
123994 | 2021-05-03 13:43 | 14.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.3253 | μmol/L | 30.6808 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.755 | 132906.2185 | 288774.3966 | 59.9307 | 49.4
124004 | 2021-05-03 13:43 | 14.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.9555 | μmol/L | 30.7118 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.766 | 132650.6594 | 288783.6342 | 59.9307 | 49.4
124014 | 2021-05-03 13:44 | 15.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.7905 | μmol/L | 30.687 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.784 | 132290.5524 | 288774.2856 | 59.9307 | 49.4
124024 | 2021-05-03 13:44 | 15.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.9158 | μmol/L | 30.6685 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.783 | 132506.5257 | 288781.357 | 59.9307 | 49.4
124034 | 2021-05-03 13:44 | 15.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8282 | μmol/L | 30.6747 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.786 | 132521.5288 | 288755.8024 | 59.9307 | 49.4
124044 | 2021-05-03 13:45 | 16.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1316 | μmol/L | 30.5694 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.804 | 132315.1568 | 288765.7254 | 59.9307 | 49.4
124054 | 2021-05-03 13:45 | 16.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.9104 | μmol/L | 30.6251 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.798 | 132620.6856 | 288754.7431 | 59.9307 | 49.4
124064 | 2021-05-03 13:45 | 16.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.444 | μmol/L | 30.6375 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.821 | 131604.9097 | 288770.27 | 59.9307 | 49.4
124074 | 2021-05-03 13:46 | 17.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.4646 | μmol/L | 30.6251 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.824 | 131743.7989 | 288752.2989 | 59.9307 | 49.4
124084 | 2021-05-03 13:46 | 17.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.4081 | μmol/L | 30.6437 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.821 | 131946.4352 | 288753.7111 | 59.9307 | 49.4
124094 | 2021-05-03 13:46 | 17.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8485 | μmol/L | 30.6003 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.81 | 131831.7576 | 288741.2402 | 59.9307 | 49.4
124104 | 2021-05-03 13:47 | 18.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.0784 | μmol/L | 30.5756 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.805 | 132122.3713 | 288758.6328 | 59.9307 | 49.4
124114 | 2021-05-03 13:47 | 18.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.9786 | μmol/L | 30.5632 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.815 | 132127.718 | 288756.0276 | 59.9307 | 49.4
124124 | 2021-05-03 13:47 | 18.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.7539 | μmol/L | 30.5694 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.826 | 131637.6312 | 288744.6626 | 59.9307 | 49.4
124134 | 2021-05-03 13:48 | 19.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.0434 | μmol/L | 30.5136 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.828 | 132060.5467 | 288746.5029 | 59.9307 | 49.4
124144 | 2021-05-03 13:48 | 19.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.347 | μmol/L | 30.4703 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.825 | 132289.1542 | 288737.0134 | 59.9307 | 49.4
124154 | 2021-05-03 13:48 | 19.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1906 | μmol/L | 30.4765 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.832 | 132413.4556 | 288745.3117 | 59.9307 | 49.4
124164 | 2021-05-03 13:49 | 20.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8325 | μmol/L | 30.5322 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.834 | 132454.7834 | 288733.4861 | 59.9307 | 49.4
124174 | 2021-05-03 13:49 | 20.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.6218 | μmol/L | 30.5508 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.84 | 132324.3403 | 288748.7773 | 59.9307 | 49.4
124184 | 2021-05-03 13:49 | 20.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5395 | μmol/L | 30.5384 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.849 | 131686.849 | 288744.0713 | 59.9307 | 49.4
124194 | 2021-05-03 13:50 | 21.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5169 | μmol/L | 30.4951 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.865 | 130987.8492 | 288748.4619 | 59.9307 | 49.4
124204 | 2021-05-03 13:50 | 21.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.0489 | μmol/L | 30.5198 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.884 | 130979.6565 | 288735.9059 | 59.9307 | 49.4
124214 | 2021-05-03 13:50 | 21.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.6791 | μmol/L | 30.5013 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.912 | 131562.3056 | 288755.1565 | 59.9307 | 49.4
124224 | 2021-05-03 13:51 | 22.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8357 | μmol/L | 30.4889 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.907 | 131214.4191 | 288737.6609 | 59.9307 | 49.4
124234 | 2021-05-03 13:51 | 22.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.7896 | μmol/L | 30.4703 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.916 | 131311.5344 | 288733.8881 | 59.9307 | 49.4
124244 | 2021-05-03 13:51 | 22.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8083 | μmol/L | 30.4641 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.917 | 131203.7476 | 288740.1912 | 59.9307 | 49.4
124254 | 2021-05-03 13:52 | 23.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.7045 | μmol/L | 30.4703 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.921 | 131294.8941 | 288742.0355 | 59.9307 | 49.4
124264 | 2021-05-03 13:52 | 23.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.0041 | μmol/L | 30.4331 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.916 | 131289.1659 | 288720.006 | 59.9307 | 49.4
124274 | 2021-05-03 13:52 | 23.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.6925 | μmol/L | 30.4517 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.928 | 131467.6304 | 288729.46 | 59.9307 | 49.4
124284 | 2021-05-03 13:53 | 24.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.5462 | μmol/L | 30.427 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.945 | 131953.466 | 288738.7814 | 59.9307 | 49.4
124294 | 2021-05-03 13:53 | 24.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.1878 | μmol/L | 30.3836 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.922 | 131311.7018 | 288738.7858 | 59.9307 | 49.4
124304 | 2021-05-03 13:53 | 24.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.975 | μmol/L | 30.4146 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.924 | 131349.609 | 288734.3828 | 59.9307 | 49.4
124314 | 2021-05-03 13:54 | 25.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.1075 | μmol/L | 30.365 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.933 | 131703.9733 | 288723.722 | 59.9307 | 49.4
124324 | 2021-05-03 13:54 | 25.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9728 | μmol/L | 30.3588 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.943 | 131815.4163 | 288731.8749 | 59.9307 | 49.4
124334 | 2021-05-03 13:54 | 25.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.6736 | μmol/L | 30.396 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.948 | 131963.9935 | 288734.4113 | 59.9307 | 49.4
124344 | 2021-05-03 13:55 | 26.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.7296 | μmol/L | 30.3774 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.951 | 131822.8173 | 288723.9025 | 59.9307 | 49.4
124354 | 2021-05-03 13:55 | 26.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.4391 | μmol/L | 30.3836 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.966 | 132144.3328 | 288729.9002 | 59.9307 | 49.4
124364 | 2021-05-03 13:55 | 26.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.305 | μmol/L | 30.3774 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.976 | 132549.0124 | 288705.8947 | 59.9307 | 49.4
124374 | 2021-05-03 13:56 | 27.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.461 | μmol/L | 30.365 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.971 | 132335.2188 | 288718.7894 | 59.9307 | 49.4
124384 | 2021-05-03 13:56 | 27.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.2066 | μmol/L | 30.365 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.986 | 132289.8935 | 288727.4616 | 59.9307 | 49.4
124394 | 2021-05-03 13:56 | 27.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.2864 | μmol/L | 30.3836 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.975 | 131662.2618 | 288712.5219 | 59.9307 | 49.4
124404 | 2021-05-03 13:57 | 28.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.3522 | μmol/L | 30.3279 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.99 | 132305.5212 | 288717.912 | 59.9307 | 49.4
124414 | 2021-05-03 13:57 | 28.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.3353 | μmol/L | 30.3279 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.991 | 131923.933 | 288709.2456 | 59.9307 | 49.4
124424 | 2021-05-03 13:57 | 28.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.1778 | μmol/L | 30.3465 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.994 | 132240.5949 | 288711.8318 | 59.9307 | 49.4
124434 | 2021-05-03 13:58 | 29.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.3862 | μmol/L | 30.3279 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.988 | 131876.4607 | 288704.4761 | 59.9307 | 49.4
124444 | 2021-05-03 13:58 | 29.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.9796 | μmol/L | 30.3279 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.012 | 132422.1829 | 288714.4448 | 59.9307 | 49.4
124454 | 2021-05-03 13:58 | 29.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.8393 | μmol/L | 30.3465 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.014 | 132556.0217 | 288703.8493 | 59.9307 | 49.4
124464 | 2021-05-03 13:59 | 30.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.5657 | μmol/L | 30.3588 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.026 | 132965.0517 | 288703.3395 | 59.9307 | 49.4