## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
123557 | 2021-05-03 13:28 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.9829 | μmol/L | 31.3675 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.121 | 118054.9862 | 266939.9081 | 32.55 | 27.7
123567 | 2021-05-03 13:29 | 0.33078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.6924 | μmol/L | 31.4903 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.151 | 118486.1914 | 266912.9579 | 32.55 | 27.7
123577 | 2021-05-03 13:29 | 0.66404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4775 | μmol/L | 31.5578 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.196 | 118799.7043 | 266895.4822 | 32.55 | 27.7
123587 | 2021-05-03 13:29 | 0.99718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.7638 | μmol/L | 31.5701 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.232 | 119035.882 | 266893.6447 | 32.55 | 27.7
123597 | 2021-05-03 13:30 | 1.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1538 | μmol/L | 31.6008 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.256 | 119220.4609 | 266871.8633 | 32.55 | 27.7
123607 | 2021-05-03 13:30 | 1.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7607 | μmol/L | 31.6192 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.272 | 119329.2026 | 266851.5415 | 32.55 | 27.7
123617 | 2021-05-03 13:30 | 1.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5567 | μmol/L | 31.5947 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.292 | 119434.8988 | 266854.5934 | 32.55 | 27.7
123627 | 2021-05-03 13:31 | 2.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.2599 | μmol/L | 31.5885 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.311 | 119540.8822 | 266834.699 | 32.55 | 27.7
123637 | 2021-05-03 13:31 | 2.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.1092 | μmol/L | 31.564 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.328 | 119647.0607 | 266834.6178 | 32.55 | 27.7
123647 | 2021-05-03 13:31 | 2.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8833 | μmol/L | 31.5578 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.343 | 119732.355 | 266826.9082 | 32.55 | 27.7
123657 | 2021-05-03 13:32 | 3.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.7699 | μmol/L | 31.5271 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.36 | 119826.713 | 266820.4066 | 32.55 | 27.7
123667 | 2021-05-03 13:32 | 3.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.618 | μmol/L | 31.5087 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.375 | 119910.5631 | 266804.052 | 32.55 | 27.7
123677 | 2021-05-03 13:32 | 3.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4315 | μmol/L | 31.4903 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.392 | 120043.366 | 266809.1649 | 32.55 | 27.7
123687 | 2021-05-03 13:33 | 4.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.181 | μmol/L | 31.4535 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.419 | 120177.1271 | 266793.5095 | 32.55 | 27.7
123697 | 2021-05-03 13:33 | 4.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.1047 | μmol/L | 31.4166 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.436 | 120289.2572 | 266791.2309 | 32.55 | 27.7
123707 | 2021-05-03 13:33 | 4.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.7366 | μmol/L | 31.4289 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.453 | 120362.4276 | 266803.0468 | 32.55 | 27.7
123717 | 2021-05-03 13:34 | 5.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.5305 | μmol/L | 31.4228 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.467 | 120462.5458 | 266797.7533 | 32.55 | 27.7
123727 | 2021-05-03 13:34 | 5.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.4512 | μmol/L | 31.3982 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.48 | 120560.6234 | 266797.6074 | 32.55 | 27.7
123737 | 2021-05-03 13:34 | 5.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.2264 | μmol/L | 31.3982 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.493 | 120622.1467 | 266789.0971 | 32.55 | 27.7
123747 | 2021-05-03 13:35 | 6.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.2027 | μmol/L | 31.3614 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.507 | 120687.2918 | 266765.8626 | 32.55 | 27.7
123757 | 2021-05-03 13:35 | 6.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.8787 | μmol/L | 31.3491 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.53 | 120817.6238 | 266770.2669 | 32.55 | 27.7
123767 | 2021-05-03 13:35 | 6.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.6142 | μmol/L | 31.3123 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.558 | 120983.4351 | 266773.6929 | 32.55 | 27.7
123777 | 2021-05-03 13:36 | 7.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.2862 | μmol/L | 31.3184 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.575 | 121099.4863 | 266758.6211 | 32.55 | 27.7
123787 | 2021-05-03 13:36 | 7.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1337 | μmol/L | 31.3123 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.586 | 121161.5335 | 266758.5172 | 32.55 | 27.7
123797 | 2021-05-03 13:36 | 7.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.0383 | μmol/L | 31.2877 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.6 | 121253.659 | 266764.3215 | 32.55 | 27.7
123807 | 2021-05-03 13:37 | 8.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1627 | μmol/L | 31.2141 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.618 | 121350.6661 | 266765.2833 | 32.55 | 27.7
123817 | 2021-05-03 13:37 | 8.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1563 | μmol/L | 31.1773 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.631 | 121430.837 | 266753.8954 | 32.55 | 27.7
123827 | 2021-05-03 13:37 | 8.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.5118 | μmol/L | 31.2202 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.654 | 121557.1885 | 266744.7596 | 32.55 | 27.7
123837 | 2021-05-03 13:38 | 9.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2885 | μmol/L | 31.2264 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.665 | 121628.905 | 266743.0944 | 32.55 | 27.7
123847 | 2021-05-03 13:38 | 9.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.5756 | μmol/L | 31.1773 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.665 | 121636.1146 | 266742.4189 | 32.55 | 27.7
123857 | 2021-05-03 13:38 | 9.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2126 | μmol/L | 31.1957 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.68 | 121720.3217 | 266745.649 | 32.55 | 27.7
123867 | 2021-05-03 13:39 | 10.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.0578 | μmol/L | 31.2018 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.687 | 121739.1466 | 266741.653 | 32.55 | 27.7
123877 | 2021-05-03 13:39 | 10.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2011 | μmol/L | 31.1773 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.687 | 121713.0297 | 266746.415 | 32.55 | 27.7
123887 | 2021-05-03 13:39 | 10.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2648 | μmol/L | 31.1343 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.698 | 121762.636 | 266753.8621 | 32.55 | 27.7
123897 | 2021-05-03 13:40 | 11.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.8065 | μmol/L | 31.1343 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.725 | 121946.2546 | 266745.0448 | 32.55 | 27.7
123907 | 2021-05-03 13:40 | 11.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.3345 | μmol/L | 31.1281 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.755 | 122106.9304 | 266738.5062 | 32.55 | 27.7
123917 | 2021-05-03 13:40 | 11.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.1712 | μmol/L | 31.1097 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.771 | 122210.1567 | 266742.0601 | 32.55 | 27.7
123927 | 2021-05-03 13:41 | 12.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.0382 | μmol/L | 31.1036 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.781 | 122271.9745 | 266745.3871 | 32.55 | 27.7
123937 | 2021-05-03 13:41 | 12.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.8884 | μmol/L | 31.0975 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.792 | 122331.2102 | 266738.2614 | 32.55 | 27.7
123947 | 2021-05-03 13:41 | 12.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.98 | μmol/L | 31.0729 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.795 | 122365.824 | 266728.6437 | 32.55 | 27.7
123957 | 2021-05-03 13:42 | 13.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.9501 | μmol/L | 31.0606 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.801 | 122390.5317 | 266722.4191 | 32.55 | 27.7
123967 | 2021-05-03 13:42 | 13.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.8491 | μmol/L | 31.0606 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.807 | 122405.5129 | 266726.804 | 32.55 | 27.7
123977 | 2021-05-03 13:42 | 13.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.9893 | μmol/L | 31.0422 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.805 | 122407.1148 | 266725.8651 | 32.55 | 27.7
123987 | 2021-05-03 13:43 | 14.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.7051 | μmol/L | 31.0361 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.824 | 122500.7543 | 266723.8102 | 32.55 | 27.7
123997 | 2021-05-03 13:43 | 14.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.2725 | μmol/L | 31.0238 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.854 | 122686.3384 | 266712.3107 | 32.55 | 27.7
124007 | 2021-05-03 13:43 | 14.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.7931 | μmol/L | 31.0054 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.889 | 122894.5357 | 266716.4485 | 32.55 | 27.7
124017 | 2021-05-03 13:44 | 15.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.3505 | μmol/L | 30.9808 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.924 | 123122.0409 | 266725.1817 | 32.55 | 27.7
124027 | 2021-05-03 13:44 | 15.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.131 | μmol/L | 30.9379 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.952 | 123329.1622 | 266707.5958 | 32.55 | 27.7
124037 | 2021-05-03 13:44 | 15.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.6704 | μmol/L | 30.9256 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.984 | 123516.0261 | 266701.3228 | 32.55 | 27.7
124047 | 2021-05-03 13:45 | 16.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.3193 | μmol/L | 30.9379 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.001 | 123638.6771 | 266695.8613 | 32.55 | 27.7
124057 | 2021-05-03 13:45 | 16.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.3823 | μmol/L | 30.8949 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.012 | 123699.953 | 266713.5129 | 32.55 | 27.7
124067 | 2021-05-03 13:45 | 16.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.4045 | μmol/L | 30.8765 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.017 | 123721.1463 | 266695.3145 | 32.55 | 27.7
124077 | 2021-05-03 13:46 | 17.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.2559 | μmol/L | 30.8765 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.026 | 123758.8894 | 266702.5916 | 32.55 | 27.7
124087 | 2021-05-03 13:46 | 17.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.155 | μmol/L | 30.8826 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.03 | 123803.8589 | 266697.2147 | 32.55 | 27.7
124097 | 2021-05-03 13:46 | 17.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.9446 | μmol/L | 30.8704 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.047 | 123897.4332 | 266684.9705 | 32.55 | 27.7
124107 | 2021-05-03 13:47 | 18.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.5539 | μmol/L | 30.8581 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.075 | 124046.4647 | 266689.7924 | 32.55 | 27.7
124117 | 2021-05-03 13:47 | 18.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.2239 | μmol/L | 30.8642 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.093 | 124158.2188 | 266693.0671 | 32.55 | 27.7
124127 | 2021-05-03 13:47 | 18.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.0275 | μmol/L | 30.8642 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.105 | 124213.0279 | 266678.8537 | 32.55 | 27.7
124137 | 2021-05-03 13:48 | 19.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.303 | μmol/L | 30.8213 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.103 | 124196.7701 | 266686.428 | 32.55 | 27.7
124147 | 2021-05-03 13:48 | 19.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.383 | μmol/L | 30.8274 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.096 | 124145.1824 | 266685.7406 | 32.55 | 27.7
124157 | 2021-05-03 13:48 | 19.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.6609 | μmol/L | 30.7783 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.096 | 124128.6735 | 266668.2266 | 32.55 | 27.7
124167 | 2021-05-03 13:49 | 20.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.7411 | μmol/L | 30.7844 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.089 | 124085.6443 | 266679.4607 | 32.55 | 27.7
124177 | 2021-05-03 13:49 | 20.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.2616 | μmol/L | 30.7967 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.114 | 124216.8189 | 266670.2861 | 32.55 | 27.7
124187 | 2021-05-03 13:49 | 20.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.1634 | μmol/L | 30.7967 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.12 | 124239.198 | 266669.2461 | 32.55 | 27.7
124197 | 2021-05-03 13:50 | 21.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.3473 | μmol/L | 30.7844 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.113 | 124231.5646 | 266677.292 | 32.55 | 27.7
124207 | 2021-05-03 13:50 | 21.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.6192 | μmol/L | 30.7538 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.107 | 124172.0742 | 266654.5084 | 32.55 | 27.7
124217 | 2021-05-03 13:50 | 21.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.7525 | μmol/L | 30.7476 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.101 | 124121.2913 | 266656.7027 | 32.55 | 27.7
124227 | 2021-05-03 13:51 | 22.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.8529 | μmol/L | 30.7415 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.097 | 124108.9053 | 266665.4679 | 32.55 | 27.7
124237 | 2021-05-03 13:51 | 22.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.3194 | μmol/L | 30.7231 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.075 | 123971.4976 | 266661.5407 | 32.55 | 27.7
124247 | 2021-05-03 13:51 | 22.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.4112 | μmol/L | 30.6924 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.08 | 123982.8063 | 266652.7016 | 32.55 | 27.7
124257 | 2021-05-03 13:52 | 23.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.4094 | μmol/L | 30.6433 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.097 | 124087.7191 | 266658.2308 | 32.55 | 27.7
124267 | 2021-05-03 13:52 | 23.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.3856 | μmol/L | 30.6678 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.09 | 124089.107 | 266657.1265 | 32.55 | 27.7
124277 | 2021-05-03 13:52 | 23.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.4314 | μmol/L | 30.6249 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.102 | 124142.93 | 266670.8293 | 32.55 | 27.7
124287 | 2021-05-03 13:53 | 24.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.3618 | μmol/L | 30.6371 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.102 | 124133.4816 | 266660.4368 | 32.55 | 27.7
124297 | 2021-05-03 13:53 | 24.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.5193 | μmol/L | 30.6617 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.084 | 124028.6087 | 266657.2503 | 32.55 | 27.7
124307 | 2021-05-03 13:53 | 24.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.4863 | μmol/L | 30.6617 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.086 | 124015.6478 | 266653.952 | 32.55 | 27.7
124317 | 2021-05-03 13:54 | 25.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.9231 | μmol/L | 30.6371 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.068 | 123906.3634 | 266652.5917 | 32.55 | 27.7
124327 | 2021-05-03 13:54 | 25.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.0998 | μmol/L | 30.6556 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.051 | 123789.1609 | 266644.6147 | 32.55 | 27.7
124337 | 2021-05-03 13:54 | 25.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.2453 | μmol/L | 30.6678 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.038 | 123711.4696 | 266650.4452 | 32.55 | 27.7
124347 | 2021-05-03 13:55 | 26.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.7133 | μmol/L | 30.6003 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.033 | 123658.0739 | 266652.4395 | 32.55 | 27.7
124357 | 2021-05-03 13:55 | 26.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.8446 | μmol/L | 30.6065 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.023 | 123603.0221 | 266651.1685 | 32.55 | 27.7
124367 | 2021-05-03 13:55 | 26.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.9629 | μmol/L | 30.6003 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.018 | 123548.8697 | 266644.47 | 32.55 | 27.7
124377 | 2021-05-03 13:56 | 27.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.3989 | μmol/L | 30.5328 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.015 | 123499.2303 | 266646.7981 | 32.55 | 27.7
124387 | 2021-05-03 13:56 | 27.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.3033 | μmol/L | 30.5758 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.006 | 123483.3801 | 266636.7106 | 32.55 | 27.7
124397 | 2021-05-03 13:56 | 27.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.1963 | μmol/L | 30.6003 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.004 | 123463.5117 | 266644.8951 | 32.55 | 27.7
124407 | 2021-05-03 13:57 | 28.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.0927 | μmol/L | 30.6126 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.006 | 123465.0772 | 266642.8239 | 32.55 | 27.7
124417 | 2021-05-03 13:57 | 28.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.4035 | μmol/L | 30.5758 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21 | 123452.6618 | 266633.3822 | 32.55 | 27.7
124427 | 2021-05-03 13:57 | 28.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.6126 | μmol/L | 30.5451 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.998 | 123424.3801 | 266632.7276 | 32.55 | 27.7
124437 | 2021-05-03 13:58 | 29.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.4519 | μmol/L | 30.5819 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.995 | 123404.5773 | 266629.5379 | 32.55 | 27.7
124447 | 2021-05-03 13:58 | 29.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.4421 | μmol/L | 30.5574 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.004 | 123423.0152 | 266640.5698 | 32.55 | 27.7
124457 | 2021-05-03 13:58 | 29.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.3517 | μmol/L | 30.5819 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.001 | 123429.8929 | 266640.6283 | 32.55 | 27.7
124467 | 2021-05-03 13:59 | 30.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.091 | μmol/L | 30.6187 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.004 | 123480.3175 | 266628.987 | 32.55 | 27.7