## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
129767 | 2021-05-07 13:54 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.0221 | μmol/L | 29.7974 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.033 | 95186.2864 | 293777.5579 | 30.45 | 114.2
129777 | 2021-05-07 13:55 | 0.33323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.6533 | μmol/L | 29.9083 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.076 | 95323.9427 | 293782.9986 | 30.45 | 114.2
129787 | 2021-05-07 13:55 | 0.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.5701 | μmol/L | 29.9145 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.138 | 95665.8394 | 293789.7795 | 30.45 | 114.2
129797 | 2021-05-07 13:55 | 1.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4582 | μmol/L | 29.933 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.198 | 95970.5305 | 293782.6002 | 30.45 | 114.2
129807 | 2021-05-07 13:56 | 1.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6548 | μmol/L | 29.9453 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.242 | 96197.4046 | 293782.2376 | 30.45 | 114.2
129817 | 2021-05-07 13:56 | 1.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.9728 | μmol/L | 29.9515 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.281 | 96407.9654 | 293790.8957 | 30.45 | 114.2
129827 | 2021-05-07 13:56 | 2 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2429 | μmol/L | 29.9638 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.321 | 96622.0703 | 293799.8824 | 30.45 | 114.2
129837 | 2021-05-07 13:57 | 2.3331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5984 | μmol/L | 29.9761 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.356 | 96810.6263 | 293800.9852 | 30.45 | 114.2
129847 | 2021-05-07 13:57 | 2.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0056 | μmol/L | 29.9884 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.388 | 96955.8026 | 293801.8468 | 30.45 | 114.2
129857 | 2021-05-07 13:57 | 2.9998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6642 | μmol/L | 29.9823 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.411 | 97074.8026 | 293800.0247 | 30.45 | 114.2
129867 | 2021-05-07 13:58 | 3.3335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2571 | μmol/L | 29.9823 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.436 | 97190.5004 | 293796.7423 | 30.45 | 114.2
129877 | 2021-05-07 13:58 | 3.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.8007 | μmol/L | 29.9884 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.462 | 97329.9919 | 293806.4434 | 30.45 | 114.2
129887 | 2021-05-07 13:58 | 3.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.6403 | μmol/L | 29.9823 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.474 | 97418.8894 | 293803.1516 | 30.45 | 114.2
129897 | 2021-05-07 13:59 | 4.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.3797 | μmol/L | 29.9884 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.488 | 97502.3351 | 293809.1847 | 30.45 | 114.2
129907 | 2021-05-07 13:59 | 4.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.3652 | μmol/L | 29.9206 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.512 | 97630.1984 | 293794.937 | 30.45 | 114.2
129917 | 2021-05-07 13:59 | 4.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.3231 | μmol/L | 29.896 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.523 | 97675.7703 | 293793.4859 | 30.45 | 114.2
129927 | 2021-05-07 14:00 | 5.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.6202 | μmol/L | 29.8097 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.534 | 97785.0397 | 293798.6803 | 30.45 | 114.2
129937 | 2021-05-07 14:00 | 5.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.5681 | μmol/L | 29.7604 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.554 | 97879.8317 | 293781.2064 | 30.45 | 114.2
129947 | 2021-05-07 14:00 | 5.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.7896 | μmol/L | 29.8405 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.575 | 97991.6072 | 293781.9896 | 30.45 | 114.2
129957 | 2021-05-07 14:01 | 6.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.9263 | μmol/L | 29.8097 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.577 | 98048.4768 | 293782.1525 | 30.45 | 114.2
129967 | 2021-05-07 14:01 | 6.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.8523 | μmol/L | 29.785 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.59 | 98082.5579 | 293757.9842 | 30.45 | 114.2
129977 | 2021-05-07 14:01 | 6.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.9262 | μmol/L | 29.8898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.612 | 98169.3879 | 293761.818 | 30.45 | 114.2
129987 | 2021-05-07 14:02 | 7.3335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.773 | μmol/L | 29.8652 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.63 | 98235.608 | 293785.3787 | 30.45 | 114.2
129997 | 2021-05-07 14:02 | 7.6664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.5032 | μmol/L | 29.859 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.649 | 98326.119 | 293768.2047 | 30.45 | 114.2
130007 | 2021-05-07 14:02 | 8.0002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.4395 | μmol/L | 29.859 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.653 | 98361.024 | 293769.195 | 30.45 | 114.2
130017 | 2021-05-07 14:03 | 8.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.2884 | μmol/L | 29.8282 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.673 | 98439.0755 | 293756.2608 | 30.45 | 114.2
130027 | 2021-05-07 14:03 | 8.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.1595 | μmol/L | 29.8344 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.679 | 98469.1426 | 293756.2894 | 30.45 | 114.2
130037 | 2021-05-07 14:03 | 9.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.8633 | μmol/L | 29.8713 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.685 | 98517.2674 | 293757.7374 | 30.45 | 114.2
130047 | 2021-05-07 14:04 | 9.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.546 | μmol/L | 29.8713 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.705 | 98603.8896 | 293745.6722 | 30.45 | 114.2
130057 | 2021-05-07 14:04 | 9.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3295 | μmol/L | 29.8528 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.725 | 98693.5832 | 293740.8703 | 30.45 | 114.2
130067 | 2021-05-07 14:04 | 10.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.6547 | μmol/L | 29.822 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.715 | 98685.9934 | 293741.317 | 30.45 | 114.2
130077 | 2021-05-07 14:05 | 10.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.7198 | μmol/L | 29.8159 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.713 | 98671.4511 | 293735.6959 | 30.45 | 114.2
130087 | 2021-05-07 14:05 | 10.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.1381 | μmol/L | 29.859 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.735 | 98778.3296 | 293733.6189 | 30.45 | 114.2
130097 | 2021-05-07 14:05 | 10.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.9222 | μmol/L | 29.8405 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.755 | 98852.3672 | 293733.8641 | 30.45 | 114.2
130107 | 2021-05-07 14:06 | 11.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.7505 | μmol/L | 29.8344 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.768 | 98938.0701 | 293727.1748 | 30.45 | 114.2
130117 | 2021-05-07 14:06 | 11.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.338 | μmol/L | 29.9022 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.771 | 98965.4859 | 293720.997 | 30.45 | 114.2
130127 | 2021-05-07 14:06 | 12.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.3887 | μmol/L | 29.8898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.772 | 98982.6288 | 293697.6583 | 30.45 | 114.2
130137 | 2021-05-07 14:07 | 12.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.1949 | μmol/L | 29.9083 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.778 | 99033.815 | 293705.8236 | 30.45 | 114.2
130147 | 2021-05-07 14:07 | 12.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.003 | μmol/L | 29.9206 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.786 | 99107.3032 | 293698.7119 | 30.45 | 114.2
130157 | 2021-05-07 14:07 | 13.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.6861 | μmol/L | 29.933 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.802 | 99173.0009 | 293698.7121 | 30.45 | 114.2
130167 | 2021-05-07 14:08 | 13.3335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.448 | μmol/L | 29.9453 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.813 | 99202.0085 | 293700.1698 | 30.45 | 114.2
130177 | 2021-05-07 14:08 | 13.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.3123 | μmol/L | 29.9823 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.809 | 99224.3827 | 293701.0795 | 30.45 | 114.2
130187 | 2021-05-07 14:08 | 14.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8905 | μmol/L | 30.0378 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.817 | 99241.7284 | 293691.9549 | 30.45 | 114.2
130197 | 2021-05-07 14:09 | 14.3334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.6615 | μmol/L | 30.0747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.819 | 99243.6593 | 293691.9304 | 30.45 | 114.2
130207 | 2021-05-07 14:09 | 14.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.71 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.818 | 99241.7251 | 293691.6569 | 30.45 | 114.2
130217 | 2021-05-07 14:09 | 15.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7467 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.822 | 99282.5407 | 293682.7567 | 30.45 | 114.2
130227 | 2021-05-07 14:10 | 15.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7558 | μmol/L | 30.0193 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.832 | 99346.3321 | 293673.8657 | 30.45 | 114.2
130237 | 2021-05-07 14:10 | 15.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.5189 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.843 | 99414.1531 | 293691.0266 | 30.45 | 114.2
130247 | 2021-05-07 14:10 | 15.9998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.2403 | μmol/L | 30.0809 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.844 | 99432.6731 | 293671.5283 | 30.45 | 114.2
130257 | 2021-05-07 14:11 | 16.3335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1026 | μmol/L | 30.0747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.855 | 99472.8087 | 293668.871 | 30.45 | 114.2
130267 | 2021-05-07 14:11 | 16.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.0115 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.863 | 99525.3763 | 293671.5876 | 30.45 | 114.2
130277 | 2021-05-07 14:11 | 17.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.8375 | μmol/L | 30.0809 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.87 | 99562.783 | 293661.5445 | 30.45 | 114.2
130287 | 2021-05-07 14:12 | 17.3335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.6829 | μmol/L | 30.0809 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.88 | 99611.5227 | 293673.3111 | 30.45 | 114.2
130297 | 2021-05-07 14:12 | 17.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.5902 | μmol/L | 30.0809 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.886 | 99649.2421 | 293664.9081 | 30.45 | 114.2
130307 | 2021-05-07 14:12 | 18.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.4013 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.894 | 99704.1717 | 293655.014 | 30.45 | 114.2
130317 | 2021-05-07 14:13 | 18.3335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.3242 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.899 | 99737.2611 | 293670.9395 | 30.45 | 114.2
130327 | 2021-05-07 14:13 | 18.6664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.2934 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.901 | 99766.3542 | 293661.9668 | 30.45 | 114.2
130337 | 2021-05-07 14:13 | 19.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.1547 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.91 | 99799.7042 | 293659.6432 | 30.45 | 114.2
130347 | 2021-05-07 14:14 | 19.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.9029 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.92 | 99838.5132 | 293651.062 | 30.45 | 114.2
130357 | 2021-05-07 14:14 | 19.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.9067 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.924 | 99868.6028 | 293646.7272 | 30.45 | 114.2
130367 | 2021-05-07 14:14 | 19.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.6994 | μmol/L | 30.1241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.929 | 99907.9168 | 293642.7969 | 30.45 | 114.2
130377 | 2021-05-07 14:15 | 20.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.4234 | μmol/L | 30.1241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.947 | 99959.1638 | 293631.6862 | 30.45 | 114.2
130387 | 2021-05-07 14:15 | 20.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.3199 | μmol/L | 30.161 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.941 | 99968.6314 | 293638.8386 | 30.45 | 114.2
130397 | 2021-05-07 14:15 | 20.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.3276 | μmol/L | 30.1364 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.949 | 99996.2671 | 293628.3965 | 30.45 | 114.2
130407 | 2021-05-07 14:16 | 21.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.2511 | μmol/L | 30.1364 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.954 | 100030.9562 | 293628.2151 | 30.45 | 114.2
130417 | 2021-05-07 14:16 | 21.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.1382 | μmol/L | 30.1549 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.955 | 100045.4477 | 293626.4264 | 30.45 | 114.2
130427 | 2021-05-07 14:16 | 21.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.9356 | μmol/L | 30.1672 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.964 | 100083.2658 | 293631.706 | 30.45 | 114.2
130437 | 2021-05-07 14:17 | 22.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.9853 | μmol/L | 30.1549 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.965 | 100098.1059 | 293618.219 | 30.45 | 114.2
130447 | 2021-05-07 14:17 | 22.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.844 | μmol/L | 30.1672 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.97 | 100124.2969 | 293618.4483 | 30.45 | 114.2
130457 | 2021-05-07 14:17 | 22.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.783 | μmol/L | 30.1672 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.974 | 100161.3538 | 293614.9459 | 30.45 | 114.2
130467 | 2021-05-07 14:18 | 23.3334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.6743 | μmol/L | 30.1734 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.979 | 100168.1755 | 293615.1412 | 30.45 | 114.2
130477 | 2021-05-07 14:18 | 23.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.5484 | μmol/L | 30.1857 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.983 | 100205.2539 | 293615.0179 | 30.45 | 114.2
130487 | 2021-05-07 14:18 | 23.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.4094 | μmol/L | 30.1919 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.99 | 100221.2519 | 293608.0856 | 30.45 | 114.2
130497 | 2021-05-07 14:19 | 24.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.2553 | μmol/L | 30.198 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.998 | 100257.5816 | 293600.5347 | 30.45 | 114.2
130507 | 2021-05-07 14:19 | 24.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.143 | μmol/L | 30.2165 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.999 | 100266.7336 | 293599.4816 | 30.45 | 114.2
130517 | 2021-05-07 14:19 | 25.0002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.0043 | μmol/L | 30.2227 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.006 | 100298.0084 | 293608.9604 | 30.45 | 114.2
130527 | 2021-05-07 14:20 | 25.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.9871 | μmol/L | 30.2288 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.005 | 100316.4076 | 293597.7291 | 30.45 | 114.2
130537 | 2021-05-07 14:20 | 25.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.8809 | μmol/L | 30.2288 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.012 | 100352.9712 | 293583.9372 | 30.45 | 114.2
130547 | 2021-05-07 14:20 | 26 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.7102 | μmol/L | 30.2412 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.019 | 100373.2797 | 293603.525 | 30.45 | 114.2
130557 | 2021-05-07 14:21 | 26.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.6042 | μmol/L | 30.2412 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.026 | 100398.942 | 293595.5313 | 30.45 | 114.2
130567 | 2021-05-07 14:21 | 26.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.6002 | μmol/L | 30.2535 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.022 | 100412.5732 | 293600.0707 | 30.45 | 114.2
130577 | 2021-05-07 14:21 | 27 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.5265 | μmol/L | 30.2473 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.029 | 100419.6078 | 293604.3231 | 30.45 | 114.2
130587 | 2021-05-07 14:22 | 27.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.4963 | μmol/L | 30.2473 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.031 | 100434.4518 | 293594.5076 | 30.45 | 114.2
130597 | 2021-05-07 14:22 | 27.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.4529 | μmol/L | 30.2412 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.036 | 100458.9621 | 293590.8202 | 30.45 | 114.2
130607 | 2021-05-07 14:22 | 27.9998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.4055 | μmol/L | 30.2473 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.037 | 100484.5714 | 293596.3224 | 30.45 | 114.2
130617 | 2021-05-07 14:23 | 28.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.2031 | μmol/L | 30.2658 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.044 | 100502.5743 | 293584.9319 | 30.45 | 114.2
130627 | 2021-05-07 14:23 | 28.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.1256 | μmol/L | 30.272 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.047 | 100520.1903 | 293582.4332 | 30.45 | 114.2
130637 | 2021-05-07 14:23 | 28.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.1256 | μmol/L | 30.272 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.047 | 100527.1806 | 293585.7216 | 30.45 | 114.2
130647 | 2021-05-07 14:24 | 29.3331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.0069 | μmol/L | 30.2658 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.057 | 100567.4667 | 293588.0014 | 30.45 | 114.2
130657 | 2021-05-07 14:24 | 29.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.9426 | μmol/L | 30.2782 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.057 | 100577.4777 | 293567.2754 | 30.45 | 114.2
130667 | 2021-05-07 14:24 | 30 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.9466 | μmol/L | 30.2658 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.061 | 100594.218 | 293579.5731 | 30.45 | 114.2
130677 | 2021-05-07 14:25 | 30.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.7618 | μmol/L | 30.2782 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.069 | 100631.7736 | 293583.8446 | 30.45 | 114.2
130687 | 2021-05-07 14:25 | 30.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.7639 | μmol/L | 30.272 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.071 | 100625.7367 | 293574.6236 | 30.45 | 114.2
130697 | 2021-05-07 14:25 | 31.0002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.7317 | μmol/L | 30.2782 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.071 | 100658.2478 | 293572.1687 | 30.45 | 114.2
130707 | 2021-05-07 14:26 | 31.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.5212 | μmol/L | 30.2782 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.085 | 100679.431 | 293579.2102 | 30.45 | 114.2
130717 | 2021-05-07 14:26 | 31.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.4912 | μmol/L | 30.2782 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.087 | 100706.173 | 293568.0962 | 30.45 | 114.2
130727 | 2021-05-07 14:26 | 32.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.324 | μmol/L | 30.2843 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.096 | 100760.3248 | 293568.2971 | 30.45 | 114.2
130737 | 2021-05-07 14:27 | 32.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.221 | μmol/L | 30.2782 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.105 | 100800.0345 | 293547.829 | 30.45 | 114.2
130747 | 2021-05-07 14:27 | 32.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.9772 | μmol/L | 30.2905 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.117 | 100881.0827 | 293557.0881 | 30.45 | 114.2
130757 | 2021-05-07 14:27 | 33.0002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.8147 | μmol/L | 30.2843 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.13 | 100927.8816 | 293556.8971 | 30.45 | 114.2
130767 | 2021-05-07 14:28 | 33.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.6632 | μmol/L | 30.2905 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.138 | 100976.3603 | 293547.8256 | 30.45 | 114.2
130777 | 2021-05-07 14:28 | 33.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.5906 | μmol/L | 30.2843 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.145 | 101019.8742 | 293553.8189 | 30.45 | 114.2
130787 | 2021-05-07 14:28 | 34.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.3818 | μmol/L | 30.2843 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.159 | 101078.6101 | 293563.3168 | 30.45 | 114.2
130797 | 2021-05-07 14:29 | 34.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.3094 | μmol/L | 30.2782 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.166 | 101128.8097 | 293556.9949 | 30.45 | 114.2
130807 | 2021-05-07 14:29 | 34.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.9948 | μmol/L | 30.2843 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.185 | 101187.9251 | 293567.5644 | 30.45 | 114.2
130817 | 2021-05-07 14:29 | 35.0002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.9524 | μmol/L | 30.2782 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.19 | 101227.9361 | 293549.8911 | 30.45 | 114.2
130827 | 2021-05-07 14:30 | 35.3331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7848 | μmol/L | 30.2905 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.197 | 101270.5306 | 293549.0808 | 30.45 | 114.2
130837 | 2021-05-07 14:30 | 35.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.6047 | μmol/L | 30.2967 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.207 | 101320.3412 | 293545.1003 | 30.45 | 114.2
130847 | 2021-05-07 14:30 | 35.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5052 | μmol/L | 30.2843 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.218 | 101379.3448 | 293537.2789 | 30.45 | 114.2
130857 | 2021-05-07 14:31 | 36.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.3424 | μmol/L | 30.2843 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.229 | 101420.9438 | 293546.4068 | 30.45 | 114.2
130867 | 2021-05-07 14:31 | 36.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.2389 | μmol/L | 30.2843 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.236 | 101452.0085 | 293549.1807 | 30.45 | 114.2