## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
129771 | 2021-05-07 13:54 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4826 | μmol/L | 29.7597 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.053 | 125116.0744 | 268251.8334 | 32.55 | 27.7
129781 | 2021-05-07 13:55 | 0.32988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.5034 | μmol/L | 29.7903 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.1 | 125473.6634 | 268242.3111 | 32.55 | 27.7
129791 | 2021-05-07 13:55 | 0.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.0628 | μmol/L | 29.7842 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.128 | 125694.8909 | 268224.331 | 32.55 | 27.7
129801 | 2021-05-07 13:55 | 0.99691 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1858 | μmol/L | 29.7719 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.184 | 126067.7324 | 268216.9336 | 32.55 | 27.7
129811 | 2021-05-07 13:56 | 1.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3462 | μmol/L | 29.7658 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.236 | 126363.12 | 268193.4559 | 32.55 | 27.7
129821 | 2021-05-07 13:56 | 1.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.4712 | μmol/L | 29.7903 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.28 | 126706.1752 | 268194.8539 | 32.55 | 27.7
129831 | 2021-05-07 13:56 | 1.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.8014 | μmol/L | 29.8088 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.314 | 126962.2548 | 268187.4738 | 32.55 | 27.7
129841 | 2021-05-07 13:57 | 2.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.5389 | μmol/L | 29.7965 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.334 | 127104.6727 | 268180.212 | 32.55 | 27.7
129851 | 2021-05-07 13:57 | 2.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.1734 | μmol/L | 29.8026 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.354 | 127238.0049 | 268176.3605 | 32.55 | 27.7
129861 | 2021-05-07 13:57 | 2.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.6318 | μmol/L | 29.7903 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.391 | 127478.7915 | 268174.4851 | 32.55 | 27.7
129871 | 2021-05-07 13:58 | 3.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.1013 | μmol/L | 29.8088 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.417 | 127661.911 | 268167.7958 | 32.55 | 27.7
129881 | 2021-05-07 13:58 | 3.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.7526 | μmol/L | 29.8272 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.432 | 127808.9077 | 268153.1183 | 32.55 | 27.7
129891 | 2021-05-07 13:58 | 3.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.1325 | μmol/L | 29.8885 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.449 | 127976.3617 | 268168.2353 | 32.55 | 27.7
129901 | 2021-05-07 13:59 | 4.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.6261 | μmol/L | 29.8946 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.478 | 128150.5504 | 268174.535 | 32.55 | 27.7
129911 | 2021-05-07 13:59 | 4.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.4585 | μmol/L | 29.8517 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.503 | 128308.9348 | 268173.6434 | 32.55 | 27.7
129921 | 2021-05-07 13:59 | 4.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.9579 | μmol/L | 29.9069 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.515 | 128436.4947 | 268164.7136 | 32.55 | 27.7
129931 | 2021-05-07 14:00 | 5.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.767 | μmol/L | 29.8946 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.531 | 128589.0406 | 268167.4979 | 32.55 | 27.7
129941 | 2021-05-07 14:00 | 5.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.196 | μmol/L | 29.9192 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.558 | 128737.7109 | 268175.9912 | 32.55 | 27.7
129951 | 2021-05-07 14:00 | 5.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9419 | μmol/L | 29.9069 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.578 | 128898.4534 | 268152.0414 | 32.55 | 27.7
129961 | 2021-05-07 14:01 | 6.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.4969 | μmol/L | 29.9499 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.591 | 128984.4602 | 268154.426 | 32.55 | 27.7
129971 | 2021-05-07 14:01 | 6.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.186 | μmol/L | 29.9744 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.602 | 129060.8749 | 268156.1608 | 32.55 | 27.7
129981 | 2021-05-07 14:01 | 6.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.3511 | μmol/L | 29.956 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.598 | 129061.271 | 268149.2971 | 32.55 | 27.7
129991 | 2021-05-07 14:02 | 7.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.1767 | μmol/L | 29.9499 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.611 | 129145.3666 | 268140.3385 | 32.55 | 27.7
130001 | 2021-05-07 14:02 | 7.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.6414 | μmol/L | 29.9805 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.634 | 129311.7528 | 268151.4906 | 32.55 | 27.7
130011 | 2021-05-07 14:02 | 7.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3231 | μmol/L | 29.9805 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.654 | 129406.0392 | 268145.2891 | 32.55 | 27.7
130021 | 2021-05-07 14:03 | 8.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4129 | μmol/L | 29.9437 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.661 | 129454.6666 | 268147.7439 | 32.55 | 27.7
130031 | 2021-05-07 14:03 | 8.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5983 | μmol/L | 29.9069 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.662 | 129451.9515 | 268137.2473 | 32.55 | 27.7
130041 | 2021-05-07 14:03 | 8.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4357 | μmol/L | 29.9192 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.668 | 129502.3389 | 268140.4004 | 32.55 | 27.7
130051 | 2021-05-07 14:04 | 9.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.2768 | μmol/L | 29.9192 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.678 | 129559.1515 | 268139.5676 | 32.55 | 27.7
130061 | 2021-05-07 14:04 | 9.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7377 | μmol/L | 29.9744 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.693 | 129628.2388 | 268139.9369 | 32.55 | 27.7
130071 | 2021-05-07 14:04 | 9.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7254 | μmol/L | 29.9621 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.698 | 129687.0665 | 268122.8733 | 32.55 | 27.7
130081 | 2021-05-07 14:05 | 10.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.6111 | μmol/L | 29.9744 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.701 | 129708.0825 | 268138.6866 | 32.55 | 27.7
130091 | 2021-05-07 14:05 | 10.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.3108 | μmol/L | 29.9744 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.72 | 129808.0118 | 268138.4924 | 32.55 | 27.7
130101 | 2021-05-07 14:05 | 10.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.2793 | μmol/L | 29.9744 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.722 | 129851.8039 | 268112.9337 | 32.55 | 27.7
130111 | 2021-05-07 14:06 | 11.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.8079 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.735 | 129930.6384 | 268108.9035 | 32.55 | 27.7
130121 | 2021-05-07 14:06 | 11.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.6313 | μmol/L | 30.0358 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.742 | 129990.9115 | 268107.7175 | 32.55 | 27.7
130131 | 2021-05-07 14:06 | 11.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.0813 | μmol/L | 29.9499 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.743 | 130009.265 | 268109.1155 | 32.55 | 27.7
130141 | 2021-05-07 14:07 | 12.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.0778 | μmol/L | 29.9621 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.739 | 129989.9184 | 268103.9473 | 32.55 | 27.7
130151 | 2021-05-07 14:07 | 12.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7679 | μmol/L | 29.999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.746 | 130006.9852 | 268103.3288 | 32.55 | 27.7
130161 | 2021-05-07 14:07 | 12.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.511 | μmol/L | 30.0174 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.756 | 130057.196 | 268103.327 | 32.55 | 27.7
130171 | 2021-05-07 14:08 | 13.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4603 | μmol/L | 30.0296 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.755 | 130065.4368 | 268102.9337 | 32.55 | 27.7
130181 | 2021-05-07 14:08 | 13.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4132 | μmol/L | 30.0296 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.758 | 130092.1424 | 268096.9006 | 32.55 | 27.7
130191 | 2021-05-07 14:08 | 13.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.0279 | μmol/L | 30.0603 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.772 | 130168.3799 | 268086.0824 | 32.55 | 27.7
130201 | 2021-05-07 14:09 | 14.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9634 | μmol/L | 30.0665 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.774 | 130204.4525 | 268086.4621 | 32.55 | 27.7
130211 | 2021-05-07 14:09 | 14.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.096 | μmol/L | 30.0419 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.774 | 130198.8194 | 268093.3694 | 32.55 | 27.7
130221 | 2021-05-07 14:09 | 14.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9606 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.789 | 130278.7801 | 268092.2095 | 32.55 | 27.7
130231 | 2021-05-07 14:10 | 15.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.327 | μmol/L | 30.0542 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.819 | 130488.1712 | 268076.7922 | 32.55 | 27.7
130241 | 2021-05-07 14:10 | 15.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.1806 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.839 | 130606.1835 | 268083.6929 | 32.55 | 27.7
130251 | 2021-05-07 14:10 | 15.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4041 | μmol/L | 30.0051 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.831 | 130604.5182 | 268065.9675 | 32.55 | 27.7
130261 | 2021-05-07 14:11 | 16.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9554 | μmol/L | 30.048 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.845 | 130690.0931 | 268083.3928 | 32.55 | 27.7
130271 | 2021-05-07 14:11 | 16.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9822 | μmol/L | 30.0112 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.856 | 130782.7758 | 268064.2065 | 32.55 | 27.7
130281 | 2021-05-07 14:11 | 16.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.5479 | μmol/L | 30.0112 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.884 | 130937.8833 | 268083.3196 | 32.55 | 27.7
130291 | 2021-05-07 14:12 | 17.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2502 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.899 | 131024.3811 | 268066.6506 | 32.55 | 27.7
130301 | 2021-05-07 14:12 | 17.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1092 | μmol/L | 30.0296 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.906 | 131102.7866 | 268062.5124 | 32.55 | 27.7
130311 | 2021-05-07 14:12 | 17.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7546 | μmol/L | 30.0787 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.912 | 131182.9928 | 268079.0994 | 32.55 | 27.7
130321 | 2021-05-07 14:13 | 18.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7411 | μmol/L | 30.0726 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.915 | 131211.846 | 268057.5258 | 32.55 | 27.7
130331 | 2021-05-07 14:13 | 18.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3699 | μmol/L | 30.0787 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.937 | 131325.1365 | 268074.2831 | 32.55 | 27.7
130341 | 2021-05-07 14:13 | 18.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.6641 | μmol/L | 30.0726 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.92 | 131243.8498 | 268059.948 | 32.55 | 27.7
130351 | 2021-05-07 14:14 | 19.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.6776 | μmol/L | 30.0787 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.917 | 131240.4564 | 268057.052 | 32.55 | 27.7
130361 | 2021-05-07 14:14 | 19.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3429 | μmol/L | 30.1155 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.926 | 131309.322 | 268066.4929 | 32.55 | 27.7
130371 | 2021-05-07 14:14 | 19.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3026 | μmol/L | 30.0971 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.935 | 131374.4716 | 268054.9927 | 32.55 | 27.7
130381 | 2021-05-07 14:15 | 20.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.5987 | μmol/L | 30.0849 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.92 | 131274.9459 | 268048.4841 | 32.55 | 27.7
130391 | 2021-05-07 14:15 | 20.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.6564 | μmol/L | 30.0971 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.912 | 131230.8129 | 268046.4512 | 32.55 | 27.7
130401 | 2021-05-07 14:15 | 20.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8066 | μmol/L | 30.1094 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.898 | 131147.3497 | 268044.2435 | 32.55 | 27.7
130411 | 2021-05-07 14:16 | 21.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.2981 | μmol/L | 30.2076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.897 | 131134.7531 | 268038.9875 | 32.55 | 27.7
130421 | 2021-05-07 14:16 | 21.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.4908 | μmol/L | 30.1339 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.91 | 131239.5289 | 268044.5612 | 32.55 | 27.7
130431 | 2021-05-07 14:16 | 21.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.6582 | μmol/L | 30.1401 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.897 | 131166.0061 | 268043.0542 | 32.55 | 27.7
130441 | 2021-05-07 14:17 | 22.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7199 | μmol/L | 30.1401 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.893 | 131128.7795 | 268052.5166 | 32.55 | 27.7
130451 | 2021-05-07 14:17 | 22.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.5773 | μmol/L | 30.1524 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.898 | 131167.0414 | 268036.1349 | 32.55 | 27.7
130461 | 2021-05-07 14:17 | 22.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.4022 | μmol/L | 30.1708 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.903 | 131200.6929 | 268035.613 | 32.55 | 27.7
130471 | 2021-05-07 14:18 | 23.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3021 | μmol/L | 30.1953 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.901 | 131169.6766 | 268040.812 | 32.55 | 27.7
130481 | 2021-05-07 14:18 | 23.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7044 | μmol/L | 30.1401 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.894 | 131146.7017 | 268024.6924 | 32.55 | 27.7
130491 | 2021-05-07 14:18 | 23.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7199 | μmol/L | 30.1401 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.893 | 131130.2759 | 268029.6452 | 32.55 | 27.7
130501 | 2021-05-07 14:19 | 24.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.4618 | μmol/L | 30.1769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.897 | 131148.2949 | 268040.1881 | 32.55 | 27.7
130511 | 2021-05-07 14:19 | 24.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.5348 | μmol/L | 30.1892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.888 | 131091.5035 | 268024.63 | 32.55 | 27.7
130521 | 2021-05-07 14:19 | 24.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.5309 | μmol/L | 30.2014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.884 | 131097.1368 | 268017.8314 | 32.55 | 27.7
130531 | 2021-05-07 14:20 | 25.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.452 | μmol/L | 30.2076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.887 | 131107.698 | 268012.1436 | 32.55 | 27.7
130541 | 2021-05-07 14:20 | 25.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.4713 | μmol/L | 30.1953 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.89 | 131126.6768 | 268016.8803 | 32.55 | 27.7
130551 | 2021-05-07 14:20 | 25.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3829 | μmol/L | 30.183 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.9 | 131204.434 | 268016.4471 | 32.55 | 27.7
130561 | 2021-05-07 14:21 | 26.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.1405 | μmol/L | 30.2199 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.903 | 131191.4534 | 268001.1905 | 32.55 | 27.7
130571 | 2021-05-07 14:21 | 26.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.4732 | μmol/L | 30.1892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.892 | 131125.8486 | 268012.7168 | 32.55 | 27.7
130581 | 2021-05-07 14:21 | 26.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.5925 | μmol/L | 30.2014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.88 | 131062.9195 | 268013.8415 | 32.55 | 27.7
130591 | 2021-05-07 14:22 | 27.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.4058 | μmol/L | 30.2076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.89 | 131143.9817 | 268016.0618 | 32.55 | 27.7
130601 | 2021-05-07 14:22 | 27.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.1445 | μmol/L | 30.2076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.907 | 131238.6109 | 268018.5934 | 32.55 | 27.7
130611 | 2021-05-07 14:22 | 27.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.1559 | μmol/L | 30.2199 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.902 | 131229.3915 | 268009.0713 | 32.55 | 27.7
130621 | 2021-05-07 14:23 | 28.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3924 | μmol/L | 30.2014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.893 | 131155.464 | 267995.253 | 32.55 | 27.7
130631 | 2021-05-07 14:23 | 28.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.4425 | μmol/L | 30.1892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.894 | 131189.7408 | 268012.0296 | 32.55 | 27.7
130641 | 2021-05-07 14:23 | 28.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3253 | μmol/L | 30.1708 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.908 | 131234.8592 | 267990.0594 | 32.55 | 27.7
130651 | 2021-05-07 14:24 | 29.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.2118 | μmol/L | 30.1892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.909 | 131285.2865 | 267987.5206 | 32.55 | 27.7
130661 | 2021-05-07 14:24 | 29.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.1618 | μmol/L | 30.2014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.908 | 131279.7457 | 267998.4562 | 32.55 | 27.7
130671 | 2021-05-07 14:24 | 29.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3753 | μmol/L | 30.1585 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.909 | 131227.4393 | 267996.6317 | 32.55 | 27.7
130681 | 2021-05-07 14:25 | 30.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.2501 | μmol/L | 30.2137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.898 | 131181.6961 | 267996.7983 | 32.55 | 27.7
130691 | 2021-05-07 14:25 | 30.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.1311 | μmol/L | 30.2014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.91 | 131229.8002 | 267986.6822 | 32.55 | 27.7
130701 | 2021-05-07 14:25 | 30.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.9316 | μmol/L | 30.2014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.923 | 131365.4468 | 267985.2109 | 32.55 | 27.7
130711 | 2021-05-07 14:26 | 31.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.4699 | μmol/L | 30.2321 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.943 | 131489.1065 | 267984.4701 | 32.55 | 27.7
130721 | 2021-05-07 14:26 | 31.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.3537 | μmol/L | 30.2137 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.957 | 131592.1679 | 267987.8976 | 32.55 | 27.7
130731 | 2021-05-07 14:26 | 31.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.3504 | μmol/L | 30.1769 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.97 | 131671.2868 | 267991.4968 | 32.55 | 27.7
130741 | 2021-05-07 14:27 | 32.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.1996 | μmol/L | 30.1953 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.973 | 131675.0486 | 267989.8092 | 32.55 | 27.7
130751 | 2021-05-07 14:27 | 32.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.3677 | μmol/L | 30.1708 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.971 | 131675.332 | 267988.1433 | 32.55 | 27.7
130761 | 2021-05-07 14:27 | 32.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.161 | μmol/L | 30.2199 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.967 | 131634.0772 | 267972.8929 | 32.55 | 27.7
130771 | 2021-05-07 14:28 | 33.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.1112 | μmol/L | 30.2321 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.966 | 131637.009 | 267977.4662 | 32.55 | 27.7
130781 | 2021-05-07 14:28 | 33.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.8162 | μmol/L | 30.226 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.988 | 131782.9335 | 267970.6849 | 32.55 | 27.7
130791 | 2021-05-07 14:28 | 33.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.5365 | μmol/L | 30.2444 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22 | 131865.3015 | 267975.91 | 32.55 | 27.7
130801 | 2021-05-07 14:29 | 34.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7371 | μmol/L | 30.1892 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.006 | 131880.2879 | 267970.8763 | 32.55 | 27.7
130811 | 2021-05-07 14:29 | 34.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.2993 | μmol/L | 30.2505 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.013 | 131946.8881 | 267975.5858 | 32.55 | 27.7
130821 | 2021-05-07 14:29 | 34.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.4941 | μmol/L | 30.1892 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.022 | 132006.6528 | 267970.9105 | 32.55 | 27.7
130831 | 2021-05-07 14:30 | 35.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.5361 | μmol/L | 30.1769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.023 | 132004.3993 | 267976.39 | 32.55 | 27.7
130841 | 2021-05-07 14:30 | 35.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.0803 | μmol/L | 30.226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.036 | 132091.9829 | 267965.0377 | 32.55 | 27.7
130851 | 2021-05-07 14:30 | 35.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.9819 | μmol/L | 30.226 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.043 | 132174.738 | 267964.6486 | 32.55 | 27.7
130861 | 2021-05-07 14:31 | 36.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.4467 | μmol/L | 30.2689 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.063 | 132299.0362 | 267952.5475 | 32.55 | 27.7
130871 | 2021-05-07 14:31 | 36.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.3475 | μmol/L | 30.2505 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.076 | 132357.4306 | 267945.7062 | 32.55 | 27.7