## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 16:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
106748 | 2021-04-23 15:35 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9575 | μmol/L | 28.9368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.107 | 125404.3904 | 266448.5592 | 26.25 | 74
106758 | 2021-04-23 15:36 | 0.33841 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.9344 | μmol/L | 28.9796 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.151 | 125918.0524 | 266449.6033 | 26.25 | 74
106768 | 2021-04-23 15:36 | 0.67179 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8708 | μmol/L | 29.0835 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.293 | 126821.9455 | 266435.8653 | 26.25 | 74
106778 | 2021-04-23 15:36 | 1.0047 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.7607 | μmol/L | 29.0835 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.358 | 127273.8096 | 266424.0744 | 26.25 | 74
106788 | 2021-04-23 15:37 | 1.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7129 | μmol/L | 29.1507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.397 | 127560.7807 | 266409.4784 | 26.25 | 74
106798 | 2021-04-23 15:37 | 1.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.1678 | μmol/L | 29.1751 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.421 | 127772.7346 | 266384.3315 | 26.25 | 74
106808 | 2021-04-23 15:37 | 2.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6853 | μmol/L | 29.2301 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.431 | 127886.6738 | 266384.4613 | 26.25 | 74
106818 | 2021-04-23 15:38 | 2.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.909 | μmol/L | 29.2546 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.469 | 128116.7144 | 266374.8998 | 26.25 | 74
106828 | 2021-04-23 15:38 | 2.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8035 | μmol/L | 29.279 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.467 | 128150.6513 | 266362.1328 | 26.25 | 74
106838 | 2021-04-23 15:38 | 3.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.1144 | μmol/L | 29.3035 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.5 | 128342.3215 | 266360.3123 | 26.25 | 74
106848 | 2021-04-23 15:39 | 3.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.0092 | μmol/L | 29.3279 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.498 | 128358.5817 | 266346.5503 | 26.25 | 74
106858 | 2021-04-23 15:39 | 3.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.6396 | μmol/L | 29.3463 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.514 | 128482.8023 | 266353.7087 | 26.25 | 74
106868 | 2021-04-23 15:39 | 4.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.4517 | μmol/L | 29.3707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.517 | 128516.131 | 266343.2222 | 26.25 | 74
106878 | 2021-04-23 15:40 | 4.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.1012 | μmol/L | 29.3829 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.534 | 128616.902 | 266313.8134 | 26.25 | 74
106888 | 2021-04-23 15:40 | 4.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.9138 | μmol/L | 29.4074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.537 | 128640.8477 | 266314.0604 | 26.25 | 74
106898 | 2021-04-23 15:40 | 5.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.6246 | μmol/L | 29.444 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.542 | 128689.5367 | 266285.9257 | 26.25 | 74
106908 | 2021-04-23 15:41 | 5.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.2728 | μmol/L | 29.4685 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.555 | 128757.422 | 266293.2819 | 26.25 | 74
106918 | 2021-04-23 15:41 | 5.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.2385 | μmol/L | 29.4746 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.555 | 128787.0701 | 266290.1735 | 26.25 | 74
106928 | 2021-04-23 15:41 | 6.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0861 | μmol/L | 29.4929 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.558 | 128797.4972 | 266269.0856 | 26.25 | 74
106938 | 2021-04-23 15:42 | 6.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.9816 | μmol/L | 29.5174 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.556 | 128816.7391 | 266273.8524 | 26.25 | 74
106948 | 2021-04-23 15:42 | 6.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7279 | μmol/L | 29.5479 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.561 | 128851.4663 | 266264.9681 | 26.25 | 74
106958 | 2021-04-23 15:42 | 7.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.6623 | μmol/L | 29.5479 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.565 | 128870.1921 | 266250.9164 | 26.25 | 74
106968 | 2021-04-23 15:43 | 7.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.5251 | μmol/L | 29.5724 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.565 | 128879.0096 | 266252.2829 | 26.25 | 74
106978 | 2021-04-23 15:43 | 7.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.4432 | μmol/L | 29.5724 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.57 | 128918.9356 | 266251.0865 | 26.25 | 74
106988 | 2021-04-23 15:43 | 8.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.2601 | μmol/L | 29.5846 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.577 | 128956.6037 | 266246.8871 | 26.25 | 74
106998 | 2021-04-23 15:44 | 8.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.3895 | μmol/L | 29.5907 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.567 | 128911.703 | 266227.3741 | 26.25 | 74
107008 | 2021-04-23 15:44 | 8.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.2719 | μmol/L | 29.6029 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.57 | 128955.8192 | 266235.2277 | 26.25 | 74
107018 | 2021-04-23 15:44 | 9.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0548 | μmol/L | 29.6213 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.577 | 128980.8531 | 266230.0011 | 26.25 | 74
107028 | 2021-04-23 15:45 | 9.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0027 | μmol/L | 29.6335 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.576 | 128983.3739 | 266224.0465 | 26.25 | 74
107038 | 2021-04-23 15:45 | 9.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.8154 | μmol/L | 29.6641 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.577 | 129002.9435 | 266228.9034 | 26.25 | 74
107048 | 2021-04-23 15:45 | 10.0047 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.7353 | μmol/L | 29.6579 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.584 | 129049.883 | 266209.9982 | 26.25 | 74
107058 | 2021-04-23 15:46 | 10.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.6165 | μmol/L | 29.6763 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.585 | 129052.9928 | 266210.2517 | 26.25 | 74
107068 | 2021-04-23 15:46 | 10.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.3691 | μmol/L | 29.6885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.596 | 129118.0127 | 266207.8799 | 26.25 | 74
107078 | 2021-04-23 15:46 | 11.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.5971 | μmol/L | 29.6885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.582 | 129035.4195 | 266199.6174 | 26.25 | 74
107088 | 2021-04-23 15:47 | 11.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.3528 | μmol/L | 29.6885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.597 | 129133.3984 | 266192.9643 | 26.25 | 74
107098 | 2021-04-23 15:47 | 11.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.2001 | μmol/L | 29.7129 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.598 | 129153.7464 | 266185.288 | 26.25 | 74
107108 | 2021-04-23 15:47 | 12.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.9354 | μmol/L | 29.7313 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.608 | 129199.5841 | 266183.7103 | 26.25 | 74
107118 | 2021-04-23 15:48 | 12.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.9679 | μmol/L | 29.7313 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.606 | 129189.6079 | 266174.4835 | 26.25 | 74
107128 | 2021-04-23 15:48 | 12.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.838 | μmol/L | 29.7313 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.614 | 129235.1665 | 266184.4684 | 26.25 | 74
107138 | 2021-04-23 15:48 | 13.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.6533 | μmol/L | 29.7557 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.617 | 129257.0441 | 266165.3742 | 26.25 | 74
107148 | 2021-04-23 15:49 | 13.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.6873 | μmol/L | 29.7496 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.617 | 129289.0703 | 266159.3587 | 26.25 | 74
107158 | 2021-04-23 15:49 | 13.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.6889 | μmol/L | 29.7435 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.619 | 129312.484 | 266152.9149 | 26.25 | 74
107168 | 2021-04-23 15:49 | 14.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.7521 | μmol/L | 29.7496 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.613 | 129283.6385 | 266153.4825 | 26.25 | 74
107178 | 2021-04-23 15:50 | 14.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.3877 | μmol/L | 29.7802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.625 | 129332.0506 | 266142.5946 | 26.25 | 74
107188 | 2021-04-23 15:50 | 14.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.2745 | μmol/L | 29.7802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.632 | 129381.9639 | 266124.5428 | 26.25 | 74
107198 | 2021-04-23 15:50 | 15.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.4055 | μmol/L | 29.7741 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.626 | 129380.9044 | 266135.6922 | 26.25 | 74
107208 | 2021-04-23 15:51 | 15.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.0596 | μmol/L | 29.7985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.639 | 129433.4919 | 266115.8365 | 26.25 | 74
107218 | 2021-04-23 15:51 | 15.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.9111 | μmol/L | 29.8107 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.644 | 129467.9979 | 266110.5211 | 26.25 | 74
107228 | 2021-04-23 15:51 | 16.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.8515 | μmol/L | 29.7924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.654 | 129542.0826 | 266100.7005 | 26.25 | 74
107238 | 2021-04-23 15:52 | 16.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.8999 | μmol/L | 29.7924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.651 | 129517.7384 | 266094.7555 | 26.25 | 74
107248 | 2021-04-23 15:52 | 16.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.7354 | μmol/L | 29.8046 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.657 | 129552.5163 | 266095.0363 | 26.25 | 74
107258 | 2021-04-23 15:52 | 17.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.6516 | μmol/L | 29.8169 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.658 | 129582.9397 | 266073.268 | 26.25 | 74
107268 | 2021-04-23 15:53 | 17.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.5356 | μmol/L | 29.8291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.661 | 129616.6821 | 266078.1167 | 26.25 | 74
107278 | 2021-04-23 15:53 | 17.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.357 | μmol/L | 29.8352 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.67 | 129626.1516 | 266060.0671 | 26.25 | 74
107288 | 2021-04-23 15:53 | 18.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.3426 | μmol/L | 29.8291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.673 | 129645.321 | 266060.4828 | 26.25 | 74
107298 | 2021-04-23 15:54 | 18.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.1322 | μmol/L | 29.8352 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.684 | 129705.5598 | 266049.4414 | 26.25 | 74
107308 | 2021-04-23 15:54 | 18.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.1145 | μmol/L | 29.8413 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.683 | 129712.3279 | 266058.6879 | 26.25 | 74
107318 | 2021-04-23 15:54 | 19.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.9187 | μmol/L | 29.8535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.691 | 129751.2465 | 266040.3761 | 26.25 | 74
107328 | 2021-04-23 15:55 | 19.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.9026 | μmol/L | 29.8535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.692 | 129769.9066 | 266033.604 | 26.25 | 74
107338 | 2021-04-23 15:55 | 19.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.7248 | μmol/L | 29.8596 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.701 | 129808.3105 | 266019.77 | 26.25 | 74
107348 | 2021-04-23 15:55 | 20.0047 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.7105 | μmol/L | 29.8535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.704 | 129831.4283 | 266014.1519 | 26.25 | 74
107358 | 2021-04-23 15:56 | 20.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.453 | μmol/L | 29.8596 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.718 | 129903.2873 | 265989.8517 | 26.25 | 74
107368 | 2021-04-23 15:56 | 20.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.3468 | μmol/L | 29.8963 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.712 | 129884.8181 | 265995.6661 | 26.25 | 74
107378 | 2021-04-23 15:56 | 21.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.4284 | μmol/L | 29.8902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.709 | 129879.7087 | 265991.7497 | 26.25 | 74
107388 | 2021-04-23 15:57 | 21.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.2084 | μmol/L | 29.878 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.727 | 129976.2401 | 265982.0968 | 26.25 | 74
107398 | 2021-04-23 15:57 | 21.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.2209 | μmol/L | 29.8902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.722 | 129971.7371 | 265974.6073 | 26.25 | 74
107408 | 2021-04-23 15:57 | 22.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.3326 | μmol/L | 29.8902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.715 | 129949.4397 | 265977.9892 | 26.25 | 74
107418 | 2021-04-23 15:58 | 22.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.189 | μmol/L | 29.8902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.724 | 129978.2327 | 265970.4213 | 26.25 | 74
107428 | 2021-04-23 15:58 | 22.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.0916 | μmol/L | 29.8963 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.728 | 130017.9737 | 265967.1076 | 26.25 | 74
107438 | 2021-04-23 15:58 | 23.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.7661 | μmol/L | 29.9208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.74 | 130080.8543 | 265960.7551 | 26.25 | 74
107448 | 2021-04-23 15:59 | 23.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.6672 | μmol/L | 29.933 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.742 | 130093.6649 | 265951.9101 | 26.25 | 74
107458 | 2021-04-23 15:59 | 23.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.4607 | μmol/L | 29.933 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.755 | 130159.2226 | 265953.2703 | 26.25 | 74
107468 | 2021-04-23 15:59 | 24.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.5983 | μmol/L | 29.9513 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.74 | 130107.2982 | 265944.9149 | 26.25 | 74
107478 | 2021-04-23 16:00 | 24.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.7944 | μmol/L | 29.933 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.734 | 130077.7487 | 265950.489 | 26.25 | 74
107488 | 2021-04-23 16:00 | 24.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.3407 | μmol/L | 29.9635 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.752 | 130181.8198 | 265957.6329 | 26.25 | 74
107498 | 2021-04-23 16:00 | 25.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8918 | μmol/L | 29.9819 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.774 | 130289.5746 | 265950.6544 | 26.25 | 74
107508 | 2021-04-23 16:01 | 25.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.9338 | μmol/L | 30.0002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.765 | 130286.7642 | 265948.6452 | 26.25 | 74
107518 | 2021-04-23 16:01 | 25.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.7106 | μmol/L | 30.0063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.777 | 130344.9513 | 265948.0105 | 26.25 | 74
107528 | 2021-04-23 16:01 | 26.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8547 | μmol/L | 30.0002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.77 | 130306.4722 | 265942.9568 | 26.25 | 74
107538 | 2021-04-23 16:02 | 26.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8158 | μmol/L | 30.0247 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.764 | 130309.2511 | 265959.8391 | 26.25 | 74
107548 | 2021-04-23 16:02 | 26.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.5983 | μmol/L | 30.0124 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.782 | 130404.996 | 265940.2915 | 26.25 | 74
107558 | 2021-04-23 16:02 | 27.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.5825 | μmol/L | 30.0124 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.783 | 130411.7191 | 265943.0172 | 26.25 | 74
107568 | 2021-04-23 16:03 | 27.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.1402 | μmol/L | 30.0675 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.792 | 130480.1362 | 265950.3402 | 26.25 | 74
107578 | 2021-04-23 16:03 | 27.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.1912 | μmol/L | 30.0552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.793 | 130507.5622 | 265936.7228 | 26.25 | 74
107588 | 2021-04-23 16:03 | 28.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.2245 | μmol/L | 30.0491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.793 | 130493.7139 | 265949.4965 | 26.25 | 74
107598 | 2021-04-23 16:04 | 28.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.8792 | μmol/L | 30.098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.798 | 130555.0967 | 265938.113 | 26.25 | 74
107608 | 2021-04-23 16:04 | 28.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.9061 | μmol/L | 30.0613 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.809 | 130625.1622 | 265946.3518 | 26.25 | 74
107618 | 2021-04-23 16:04 | 29.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.8904 | μmol/L | 30.0613 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.81 | 130628.4224 | 265943.0018 | 26.25 | 74
107628 | 2021-04-23 16:05 | 29.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.6982 | μmol/L | 30.0736 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.818 | 130666.5551 | 265953.7706 | 26.25 | 74
107638 | 2021-04-23 16:05 | 29.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.9394 | μmol/L | 30.0552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.809 | 130653.0313 | 265966.6349 | 26.25 | 74
107648 | 2021-04-23 16:05 | 30.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5375 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.824 | 130740.5199 | 265960.0674 | 26.25 | 74
107658 | 2021-04-23 16:06 | 30.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.1697 | μmol/L | 30.1103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.839 | 130840.2113 | 265967.6869 | 26.25 | 74
107668 | 2021-04-23 16:06 | 30.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.1773 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.847 | 130880.0648 | 265966.6161 | 26.25 | 74
107678 | 2021-04-23 16:06 | 31.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.2537 | μmol/L | 30.0919 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.84 | 130893.1477 | 265971.7634 | 26.25 | 74
107688 | 2021-04-23 16:07 | 31.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.1735 | μmol/L | 30.098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.843 | 130888.129 | 265966.3279 | 26.25 | 74
107698 | 2021-04-23 16:07 | 31.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.8572 | μmol/L | 30.1103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.859 | 130944.17 | 265959.6962 | 26.25 | 74
107708 | 2021-04-23 16:07 | 32.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.9978 | μmol/L | 30.1103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.85 | 130954.3281 | 265967.1175 | 26.25 | 74
107718 | 2021-04-23 16:08 | 32.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.713 | μmol/L | 30.1225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.864 | 131042.3941 | 265972.5483 | 26.25 | 74
107728 | 2021-04-23 16:08 | 32.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.8024 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.871 | 131087.8362 | 265975.7108 | 26.25 | 74
107738 | 2021-04-23 16:08 | 33.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.1586 | μmol/L | 29.9941 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.88 | 131122.8709 | 265969.1992 | 26.25 | 74
107748 | 2021-04-23 16:09 | 33.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.6856 | μmol/L | 30.1103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.87 | 131085.2472 | 265956.3108 | 26.25 | 74
107758 | 2021-04-23 16:09 | 33.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.3547 | μmol/L | 30.1225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.887 | 131205.9021 | 265961.0667 | 26.25 | 74
107768 | 2021-04-23 16:09 | 34.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.1604 | μmol/L | 30.1469 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.891 | 131248.2538 | 265970.6611 | 26.25 | 74
107778 | 2021-04-23 16:10 | 34.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.9391 | μmol/L | 30.1592 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.901 | 131302.7255 | 265982.0843 | 26.25 | 74
107788 | 2021-04-23 16:10 | 34.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.1352 | μmol/L | 30.1286 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.899 | 131308.2136 | 265988.5349 | 26.25 | 74
107798 | 2021-04-23 16:10 | 35.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.2459 | μmol/L | 30.1225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.894 | 131299.3874 | 265980.3402 | 26.25 | 74
107808 | 2021-04-23 16:11 | 35.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.7938 | μmol/L | 30.1286 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.921 | 131432.4051 | 265978.6752 | 26.25 | 74
107818 | 2021-04-23 16:11 | 35.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.757 | μmol/L | 30.1469 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.917 | 131449.0917 | 265977.7527 | 26.25 | 74
107828 | 2021-04-23 16:11 | 36.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.5538 | μmol/L | 30.153 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.928 | 131534.4232 | 265990.3784 | 26.25 | 74
107838 | 2021-04-23 16:12 | 36.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.3876 | μmol/L | 30.1408 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.943 | 131613.4944 | 265998.7837 | 26.25 | 74
107848 | 2021-04-23 16:12 | 36.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.3896 | μmol/L | 30.1347 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.945 | 131633.2758 | 266011.1756 | 26.25 | 74
107858 | 2021-04-23 16:12 | 37.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.3353 | μmol/L | 30.1592 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.94 | 131648.0541 | 265997.3044 | 26.25 | 74
107868 | 2021-04-23 16:13 | 37.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.0133 | μmol/L | 30.153 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.963 | 131768.7358 | 265999.5193 | 26.25 | 74
107878 | 2021-04-23 16:13 | 37.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.2624 | μmol/L | 30.098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.966 | 131795.7806 | 265997.5608 | 26.25 | 74
107888 | 2021-04-23 16:13 | 38.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.0291 | μmol/L | 30.1041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.979 | 131870.5757 | 266007.2775 | 26.25 | 74
107898 | 2021-04-23 16:14 | 38.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.8036 | μmol/L | 30.1347 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.983 | 131909.7121 | 266018.9272 | 26.25 | 74
107908 | 2021-04-23 16:14 | 38.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.8945 | μmol/L | 30.0919 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.992 | 131969.6834 | 266021.4673 | 26.25 | 74
107918 | 2021-04-23 16:14 | 39.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.696 | μmol/L | 30.1347 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.99 | 131990.5954 | 266013.5384 | 26.25 | 74
107928 | 2021-04-23 16:15 | 39.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.3828 | μmol/L | 30.153 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.004 | 132063.652 | 266020.8467 | 26.25 | 74
107938 | 2021-04-23 16:15 | 39.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.2254 | μmol/L | 30.1653 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.01 | 132102.7432 | 266011.2828 | 26.25 | 74
107948 | 2021-04-23 16:15 | 40.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.2101 | μmol/L | 30.1653 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.011 | 132138.9463 | 266022.6721 | 26.25 | 74
107958 | 2021-04-23 16:16 | 40.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.959 | μmol/L | 30.1836 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.021 | 132185.0954 | 266025.5659 | 26.25 | 74
107968 | 2021-04-23 16:16 | 40.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.0823 | μmol/L | 30.1347 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.03 | 132240.2985 | 266015.8646 | 26.25 | 74
107978 | 2021-04-23 16:16 | 41.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.1729 | μmol/L | 30.0919 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.039 | 132301.092 | 266028.1097 | 26.25 | 74
107988 | 2021-04-23 16:17 | 41.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.1962 | μmol/L | 30.0675 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.046 | 132369.1261 | 266026.7898 | 26.25 | 74
107998 | 2021-04-23 16:17 | 41.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.1849 | μmol/L | 30.0552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.051 | 132396.6695 | 266042.9091 | 26.25 | 74
108008 | 2021-04-23 16:17 | 42.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.9627 | μmol/L | 30.0797 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.057 | 132438.6407 | 266043.5348 | 26.25 | 74
108018 | 2021-04-23 16:18 | 42.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.9421 | μmol/L | 30.0491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.069 | 132529.6026 | 266040.207 | 26.25 | 74
108028 | 2021-04-23 16:18 | 42.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.9461 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.073 | 132548.5887 | 266032.2798 | 26.25 | 74
108038 | 2021-04-23 16:18 | 43.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.6705 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.074 | 132578.75 | 266053.4557 | 26.25 | 74
108048 | 2021-04-23 16:19 | 43.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.3017 | μmol/L | 30.1408 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.079 | 132553.859 | 266037.1186 | 26.25 | 74