## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 16:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
106749 | 2021-04-23 15:35 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.9219 | μmol/L | 28.9683 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.057 | 123648.322 | 268468.6545 | 32.55 | 27.7
106759 | 2021-04-23 15:36 | 0.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.3204 | μmol/L | 29.0664 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.116 | 124253.7529 | 268454.6603 | 32.55 | 27.7
106769 | 2021-04-23 15:36 | 0.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6229 | μmol/L | 29.0971 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.146 | 124415.7286 | 268410.4019 | 32.55 | 27.7
106779 | 2021-04-23 15:36 | 0.99686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9841 | μmol/L | 29.0051 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.156 | 124531.5534 | 268388.4099 | 32.55 | 27.7
106789 | 2021-04-23 15:37 | 1.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4373 | μmol/L | 29.0726 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.165 | 124614.619 | 268392.7561 | 32.55 | 27.7
106799 | 2021-04-23 15:37 | 1.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0884 | μmol/L | 29.0971 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.177 | 124707.2772 | 268368.802 | 32.55 | 27.7
106809 | 2021-04-23 15:37 | 1.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3145 | μmol/L | 29.0848 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.168 | 124720.348 | 268363.0614 | 32.55 | 27.7
106819 | 2021-04-23 15:38 | 2.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9637 | μmol/L | 29.1216 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.176 | 124754.6833 | 268337.5677 | 32.55 | 27.7
106829 | 2021-04-23 15:38 | 2.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5975 | μmol/L | 29.1523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.187 | 124834.9585 | 268324.5526 | 32.55 | 27.7
106839 | 2021-04-23 15:38 | 2.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.0071 | μmol/L | 29.1953 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.207 | 124975.5409 | 268302.5967 | 32.55 | 27.7
106849 | 2021-04-23 15:39 | 3.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8305 | μmol/L | 29.2259 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.207 | 124994.2715 | 268310.2729 | 32.55 | 27.7
106859 | 2021-04-23 15:39 | 3.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.5845 | μmol/L | 29.2627 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.209 | 125051.1545 | 268304.2596 | 32.55 | 27.7
106869 | 2021-04-23 15:39 | 3.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3787 | μmol/L | 29.2689 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.219 | 125119.3096 | 268283.495 | 32.55 | 27.7
106879 | 2021-04-23 15:40 | 4.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.172 | μmol/L | 29.2811 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.227 | 125187.7971 | 268283.1138 | 32.55 | 27.7
106889 | 2021-04-23 15:40 | 4.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.775 | μmol/L | 29.3118 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.24 | 125275.9455 | 268267.5859 | 32.55 | 27.7
106899 | 2021-04-23 15:40 | 4.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.5157 | μmol/L | 29.3363 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.247 | 125362.2787 | 268266.1309 | 32.55 | 27.7
106909 | 2021-04-23 15:41 | 5.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.3256 | μmol/L | 29.3548 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.252 | 125389.5118 | 268260.0378 | 32.55 | 27.7
106919 | 2021-04-23 15:41 | 5.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.1526 | μmol/L | 29.3732 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.256 | 125429.4253 | 268252.2415 | 32.55 | 27.7
106929 | 2021-04-23 15:41 | 5.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.8565 | μmol/L | 29.4161 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.259 | 125494.9426 | 268246.4904 | 32.55 | 27.7
106939 | 2021-04-23 15:42 | 6.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.7189 | μmol/L | 29.4284 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.263 | 125503.5864 | 268236.8526 | 32.55 | 27.7
106949 | 2021-04-23 15:42 | 6.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.5321 | μmol/L | 29.4345 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.272 | 125585.1828 | 268238.7478 | 32.55 | 27.7
106959 | 2021-04-23 15:42 | 6.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.3455 | μmol/L | 29.4406 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.281 | 125630.9533 | 268226.8213 | 32.55 | 27.7
106969 | 2021-04-23 15:43 | 7.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.7728 | μmol/L | 29.4468 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.313 | 125869.7752 | 268212.7577 | 32.55 | 27.7
106979 | 2021-04-23 15:43 | 7.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2972 | μmol/L | 29.4774 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.331 | 126017.3995 | 268217.3349 | 32.55 | 27.7
106989 | 2021-04-23 15:43 | 7.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.0912 | μmol/L | 29.502 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.335 | 126065.0914 | 268212.2383 | 32.55 | 27.7
106999 | 2021-04-23 15:44 | 8.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.8936 | μmol/L | 29.4897 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.351 | 126157.2646 | 268193.3099 | 32.55 | 27.7
107009 | 2021-04-23 15:44 | 8.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.7908 | μmol/L | 29.502 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.353 | 126194.4801 | 268189.8337 | 32.55 | 27.7
107019 | 2021-04-23 15:44 | 8.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.7367 | μmol/L | 29.5204 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.35 | 126198.5761 | 268194.5144 | 32.55 | 27.7
107029 | 2021-04-23 15:45 | 9.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.4966 | μmol/L | 29.5511 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.354 | 126208.9714 | 268189.2125 | 32.55 | 27.7
107039 | 2021-04-23 15:45 | 9.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.4093 | μmol/L | 29.5695 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.353 | 126243.9192 | 268173.1867 | 32.55 | 27.7
107049 | 2021-04-23 15:45 | 9.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.9276 | μmol/L | 29.5695 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.382 | 126421.6537 | 268159.2987 | 32.55 | 27.7
107059 | 2021-04-23 15:46 | 10.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.6553 | μmol/L | 29.6001 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.388 | 126453.1897 | 268164.1507 | 32.55 | 27.7
107069 | 2021-04-23 15:46 | 10.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.6885 | μmol/L | 29.6001 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.386 | 126461.6454 | 268158.1376 | 32.55 | 27.7
107079 | 2021-04-23 15:46 | 10.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.6071 | μmol/L | 29.594 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.393 | 126492.9123 | 268165.5992 | 32.55 | 27.7
107089 | 2021-04-23 15:47 | 11.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.3066 | μmol/L | 29.6063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.407 | 126609.7874 | 268143.0591 | 32.55 | 27.7
107099 | 2021-04-23 15:47 | 11.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.9004 | μmol/L | 29.6492 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.417 | 126685.0025 | 268157.3036 | 32.55 | 27.7
107109 | 2021-04-23 15:47 | 11.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.0473 | μmol/L | 29.6554 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.406 | 126636.9991 | 268147.7013 | 32.55 | 27.7
107119 | 2021-04-23 15:48 | 12.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.5518 | μmol/L | 29.6615 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.434 | 126815.6482 | 268137.343 | 32.55 | 27.7
107129 | 2021-04-23 15:48 | 12.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.5189 | μmol/L | 29.6615 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.436 | 126814.4916 | 268135.5882 | 32.55 | 27.7
107139 | 2021-04-23 15:48 | 12.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.4487 | μmol/L | 29.6799 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.434 | 126799.3165 | 268122.4299 | 32.55 | 27.7
107149 | 2021-04-23 15:49 | 13.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.3725 | μmol/L | 29.6554 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.447 | 126912.0208 | 268113.645 | 32.55 | 27.7
107159 | 2021-04-23 15:49 | 13.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.107 | μmol/L | 29.6676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.459 | 127004.5351 | 268105.6967 | 32.55 | 27.7
107169 | 2021-04-23 15:49 | 13.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.8373 | μmol/L | 29.6983 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.465 | 127025.0168 | 268110.949 | 32.55 | 27.7
107179 | 2021-04-23 15:50 | 14.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.7673 | μmol/L | 29.7167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.463 | 127022.1466 | 268111.7338 | 32.55 | 27.7
107189 | 2021-04-23 15:50 | 14.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.7361 | μmol/L | 29.7106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.467 | 127084.1727 | 268104.2933 | 32.55 | 27.7
107199 | 2021-04-23 15:50 | 14.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.3588 | μmol/L | 29.7167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.488 | 127220.6902 | 268102.795 | 32.55 | 27.7
107209 | 2021-04-23 15:51 | 15.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.2579 | μmol/L | 29.729 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.49 | 127251.1666 | 268091.0525 | 32.55 | 27.7
107219 | 2021-04-23 15:51 | 15.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.1321 | μmol/L | 29.7106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.504 | 127333.0212 | 268085.1449 | 32.55 | 27.7
107229 | 2021-04-23 15:51 | 15.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.0964 | μmol/L | 29.7229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.502 | 127340.1582 | 268077.8913 | 32.55 | 27.7
107239 | 2021-04-23 15:52 | 16.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.8655 | μmol/L | 29.7351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.512 | 127412.6729 | 268074.9872 | 32.55 | 27.7
107249 | 2021-04-23 15:52 | 16.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.6217 | μmol/L | 29.7351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.527 | 127553.1685 | 268078.1336 | 32.55 | 27.7
107259 | 2021-04-23 15:52 | 16.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.5243 | μmol/L | 29.7351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.533 | 127601.0479 | 268074.9434 | 32.55 | 27.7
107269 | 2021-04-23 15:53 | 17.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.5615 | μmol/L | 29.7167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.537 | 127614.1158 | 268060.9329 | 32.55 | 27.7
107279 | 2021-04-23 15:53 | 17.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.163 | μmol/L | 29.7535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.549 | 127686.3482 | 268046.907 | 32.55 | 27.7
107289 | 2021-04-23 15:53 | 17.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.0837 | μmol/L | 29.7474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.556 | 127737.4716 | 268051.0106 | 32.55 | 27.7
107299 | 2021-04-23 15:54 | 18.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.0821 | μmol/L | 29.7535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.554 | 127718.7217 | 268031.7192 | 32.55 | 27.7
107309 | 2021-04-23 15:54 | 18.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.1468 | μmol/L | 29.7535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.55 | 127687.3706 | 268035.4879 | 32.55 | 27.7
107319 | 2021-04-23 15:54 | 18.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.1306 | μmol/L | 29.7535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.551 | 127692.6735 | 268028.0598 | 32.55 | 27.7
107329 | 2021-04-23 15:55 | 19.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.8864 | μmol/L | 29.7597 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.564 | 127764.4865 | 268024.5755 | 32.55 | 27.7
107339 | 2021-04-23 15:55 | 19.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.9575 | μmol/L | 29.7351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.568 | 127856.0866 | 268014.6995 | 32.55 | 27.7
107349 | 2021-04-23 15:55 | 19.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.3831 | μmol/L | 29.7719 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.591 | 127975.065 | 268003.1346 | 32.55 | 27.7
107359 | 2021-04-23 15:56 | 20.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.0853 | μmol/L | 29.8026 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.599 | 128017.4519 | 267999.5074 | 32.55 | 27.7
107369 | 2021-04-23 15:56 | 20.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9036 | μmol/L | 29.821 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.604 | 128033.9411 | 267997.0148 | 32.55 | 27.7
107379 | 2021-04-23 15:56 | 20.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.0305 | μmol/L | 29.8272 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.594 | 127996.8411 | 268000.1147 | 32.55 | 27.7
107389 | 2021-04-23 15:57 | 21.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.8555 | μmol/L | 29.821 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.607 | 128068.4819 | 267969.009 | 32.55 | 27.7
107399 | 2021-04-23 15:57 | 21.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.8444 | μmol/L | 29.8026 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.614 | 128129.2777 | 267964.0628 | 32.55 | 27.7
107409 | 2021-04-23 15:57 | 21.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.0404 | μmol/L | 29.7903 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.606 | 128150.1461 | 267971.5211 | 32.55 | 27.7
107419 | 2021-04-23 15:58 | 22.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.2257 | μmol/L | 29.8394 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.64 | 128311.9126 | 267969.5134 | 32.55 | 27.7
107429 | 2021-04-23 15:58 | 22.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.1778 | μmol/L | 29.8394 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.643 | 128350.7875 | 267967.0289 | 32.55 | 27.7
107439 | 2021-04-23 15:58 | 22.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.2097 | μmol/L | 29.8394 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.641 | 128351.1714 | 267957.727 | 32.55 | 27.7
107449 | 2021-04-23 15:59 | 23.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.997 | μmol/L | 29.8578 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.648 | 128403.5641 | 267953.089 | 32.55 | 27.7
107459 | 2021-04-23 15:59 | 23.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.0734 | μmol/L | 29.8701 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.639 | 128358.55 | 267940.5018 | 32.55 | 27.7
107469 | 2021-04-23 15:59 | 23.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.0694 | μmol/L | 29.8272 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.654 | 128449.9332 | 267951.8544 | 32.55 | 27.7
107479 | 2021-04-23 16:00 | 24.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.8073 | μmol/L | 29.8517 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.662 | 128522.7403 | 267952.2198 | 32.55 | 27.7
107489 | 2021-04-23 16:00 | 24.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5615 | μmol/L | 29.8762 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.669 | 128560.5465 | 267935.707 | 32.55 | 27.7
107499 | 2021-04-23 16:00 | 24.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.2314 | μmol/L | 29.9192 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.675 | 128609.4916 | 267932.3387 | 32.55 | 27.7
107509 | 2021-04-23 16:01 | 25.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.2013 | μmol/L | 29.9131 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.679 | 128671.4929 | 267939.0119 | 32.55 | 27.7
107519 | 2021-04-23 16:01 | 25.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.2684 | μmol/L | 29.9008 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.679 | 128673.8572 | 267933.4082 | 32.55 | 27.7
107529 | 2021-04-23 16:01 | 25.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.2843 | μmol/L | 29.9008 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.678 | 128680.6489 | 267936.6132 | 32.55 | 27.7
107539 | 2021-04-23 16:02 | 26.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.9263 | μmol/L | 29.9315 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.69 | 128755.8145 | 267938.103 | 32.55 | 27.7
107549 | 2021-04-23 16:02 | 26.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.8823 | μmol/L | 29.9192 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.697 | 128799.4601 | 267933.3325 | 32.55 | 27.7
107559 | 2021-04-23 16:02 | 26.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.8172 | μmol/L | 29.9253 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.699 | 128841.5192 | 267938.4167 | 32.55 | 27.7
107569 | 2021-04-23 16:03 | 27.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7468 | μmol/L | 29.9499 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.695 | 128822.3792 | 267951.0235 | 32.55 | 27.7
107579 | 2021-04-23 16:03 | 27.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.8506 | μmol/L | 29.9192 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.699 | 128861.5928 | 267939.5392 | 32.55 | 27.7
107589 | 2021-04-23 16:03 | 27.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.6219 | μmol/L | 29.9437 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.705 | 128920.5435 | 267940.177 | 32.55 | 27.7
107599 | 2021-04-23 16:04 | 28.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.3705 | μmol/L | 29.9928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.704 | 128914.5474 | 267928.1065 | 32.55 | 27.7
107609 | 2021-04-23 16:04 | 28.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.2108 | μmol/L | 29.999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.712 | 128973.0747 | 267939.8666 | 32.55 | 27.7
107619 | 2021-04-23 16:04 | 28.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.3109 | μmol/L | 29.9805 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.712 | 129011.6017 | 267931.7401 | 32.55 | 27.7
107629 | 2021-04-23 16:05 | 29.3302 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.0251 | μmol/L | 29.9867 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.728 | 129110.9055 | 267929.0188 | 32.55 | 27.7
107639 | 2021-04-23 16:05 | 29.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.864 | μmol/L | 29.999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.734 | 129182.0786 | 267919.0207 | 32.55 | 27.7
107649 | 2021-04-23 16:05 | 29.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7399 | μmol/L | 29.9928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.744 | 129244.1122 | 267932.4415 | 32.55 | 27.7
107659 | 2021-04-23 16:06 | 30.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4812 | μmol/L | 30.0174 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.752 | 129307.4289 | 267938.0018 | 32.55 | 27.7
107669 | 2021-04-23 16:06 | 30.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.2366 | μmol/L | 30.048 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.757 | 129343.6223 | 267933.8229 | 32.55 | 27.7
107679 | 2021-04-23 16:06 | 30.9969 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.0586 | μmol/L | 30.0665 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.762 | 129390.4566 | 267931.4298 | 32.55 | 27.7
107689 | 2021-04-23 16:07 | 31.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.219 | μmol/L | 30.0542 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.756 | 129359.0146 | 267938.3862 | 32.55 | 27.7
107699 | 2021-04-23 16:07 | 31.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.2209 | μmol/L | 30.048 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.758 | 129378.8549 | 267929.303 | 32.55 | 27.7
107709 | 2021-04-23 16:07 | 31.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.1858 | μmol/L | 30.0603 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.756 | 129377.2079 | 267931.3276 | 32.55 | 27.7
107719 | 2021-04-23 16:08 | 32.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.1507 | μmol/L | 30.0726 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.754 | 129378.6695 | 267920.2659 | 32.55 | 27.7
107729 | 2021-04-23 16:08 | 32.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.1306 | μmol/L | 30.0358 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.768 | 129474.9155 | 267930.8913 | 32.55 | 27.7
107739 | 2021-04-23 16:08 | 32.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.8845 | μmol/L | 30.0726 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.771 | 129504.2332 | 267928.811 | 32.55 | 27.7
107749 | 2021-04-23 16:09 | 33.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.6444 | μmol/L | 30.091 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.78 | 129564.563 | 267928.7523 | 32.55 | 27.7
107759 | 2021-04-23 16:09 | 33.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.7713 | μmol/L | 30.0849 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.774 | 129532.9293 | 267935.5789 | 32.55 | 27.7
107769 | 2021-04-23 16:09 | 33.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9878 | μmol/L | 30.0419 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.775 | 129561.3196 | 267929.4251 | 32.55 | 27.7
107779 | 2021-04-23 16:10 | 34.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.7963 | μmol/L | 30.0542 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.783 | 129602.8354 | 267918.5734 | 32.55 | 27.7
107789 | 2021-04-23 16:10 | 34.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.6326 | μmol/L | 30.0787 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.785 | 129618.5884 | 267914.0577 | 32.55 | 27.7
107799 | 2021-04-23 16:10 | 34.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.607 | μmol/L | 30.0603 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.793 | 129693.5918 | 267911.1829 | 32.55 | 27.7
107809 | 2021-04-23 16:11 | 35.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.441 | μmol/L | 30.0419 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.81 | 129797.9057 | 267930.4532 | 32.55 | 27.7
107819 | 2021-04-23 16:11 | 35.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.2521 | μmol/L | 30.048 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.82 | 129861.2422 | 267928.0833 | 32.55 | 27.7
107829 | 2021-04-23 16:11 | 35.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9024 | μmol/L | 30.0726 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.834 | 129949.3833 | 267936.2801 | 32.55 | 27.7
107839 | 2021-04-23 16:12 | 36.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9839 | μmol/L | 30.0603 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.833 | 129959.1661 | 267926.9771 | 32.55 | 27.7
107849 | 2021-04-23 16:12 | 36.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.8402 | μmol/L | 30.0726 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.838 | 129980.0378 | 267923.0727 | 32.55 | 27.7
107859 | 2021-04-23 16:12 | 36.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9509 | μmol/L | 30.0665 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.833 | 129951.9776 | 267934.6199 | 32.55 | 27.7
107869 | 2021-04-23 16:13 | 37.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9353 | μmol/L | 30.0665 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.834 | 129979.2723 | 267927.2168 | 32.55 | 27.7
107879 | 2021-04-23 16:13 | 37.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0984 | μmol/L | 30.0419 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.832 | 129990.7574 | 267934.5979 | 32.55 | 27.7
107889 | 2021-04-23 16:13 | 37.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9528 | μmol/L | 30.0603 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.835 | 129990.3897 | 267942.6203 | 32.55 | 27.7
107899 | 2021-04-23 16:14 | 38.3303 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9566 | μmol/L | 30.048 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.839 | 130025.0369 | 267940.4665 | 32.55 | 27.7
107909 | 2021-04-23 16:14 | 38.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.8653 | μmol/L | 30.0419 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.847 | 130079.7071 | 267931.6653 | 32.55 | 27.7
107919 | 2021-04-23 16:14 | 38.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6986 | μmol/L | 30.0787 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.845 | 130061.1754 | 267932.4465 | 32.55 | 27.7
107929 | 2021-04-23 16:15 | 39.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6211 | μmol/L | 30.0787 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.85 | 130105.2611 | 267944.0491 | 32.55 | 27.7
107939 | 2021-04-23 16:15 | 39.6635 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.4158 | μmol/L | 30.091 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.859 | 130168.1291 | 267939.9165 | 32.55 | 27.7
107949 | 2021-04-23 16:15 | 39.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.3538 | μmol/L | 30.091 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.863 | 130197.1319 | 267955.8998 | 32.55 | 27.7
107959 | 2021-04-23 16:16 | 40.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1528 | μmol/L | 30.091 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.876 | 130260.2093 | 267939.62 | 32.55 | 27.7
107969 | 2021-04-23 16:16 | 40.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1567 | μmol/L | 30.0787 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.88 | 130296.4682 | 267943.9155 | 32.55 | 27.7
107979 | 2021-04-23 16:16 | 40.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1895 | μmol/L | 30.0726 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.88 | 130310.6573 | 267942.0697 | 32.55 | 27.7
107989 | 2021-04-23 16:17 | 41.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1007 | μmol/L | 30.0603 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.89 | 130371.6458 | 267938.3216 | 32.55 | 27.7
107999 | 2021-04-23 16:17 | 41.6636 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1277 | μmol/L | 30.0235 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.901 | 130422.3232 | 267949.479 | 32.55 | 27.7
108009 | 2021-04-23 16:17 | 41.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.066 | μmol/L | 30.0235 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.905 | 130483.6133 | 267958.2386 | 32.55 | 27.7
108019 | 2021-04-23 16:18 | 42.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.0833 | μmol/L | 30.0174 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.906 | 130492.862 | 267952.3731 | 32.55 | 27.7
108029 | 2021-04-23 16:18 | 42.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.9309 | μmol/L | 30.0358 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.909 | 130511.1013 | 267945.6938 | 32.55 | 27.7
108039 | 2021-04-23 16:18 | 42.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.9927 | μmol/L | 30.0112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.914 | 130534.4674 | 267955.1452 | 32.55 | 27.7
108049 | 2021-04-23 16:19 | 43.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.6439 | μmol/L | 30.0419 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.926 | 132557.0784 | 267955.8271 | 32.55 | 27.7