## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 08:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
65452 | 2021-04-05 08:11 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.1561 | μmol/L | 9.9971 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.083 | 118144.9261 | 318482.9811 | 30.45 | 114.2
65463 | 2021-04-05 08:11 | 0.42994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.1517 | μmol/L | 10.0155 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.076 | 118088.8686 | 318480.1941 | 30.45 | 114.2
65472 | 2021-04-05 08:11 | 0.67092 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2066 | μmol/L | 10.0277 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.069 | 118064.1889 | 318463.3562 | 30.45 | 114.2
65482 | 2021-04-05 08:12 | 1.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.1625 | μmol/L | 10.04 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.066 | 118013.9955 | 318441.7334 | 30.45 | 114.2
65492 | 2021-04-05 08:12 | 1.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.1776 | μmol/L | 10.0461 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.063 | 117973.2233 | 318418.7793 | 30.45 | 114.2
65502 | 2021-04-05 08:12 | 1.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2574 | μmol/L | 10.0584 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.055 | 117931.3352 | 318401.9219 | 30.45 | 114.2
65512 | 2021-04-05 08:13 | 2.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.1542 | μmol/L | 10.0767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.052 | 117890.4553 | 318374.0067 | 30.45 | 114.2
65522 | 2021-04-05 08:13 | 2.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3525 | μmol/L | 10.0767 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.044 | 117852.2681 | 318355.4304 | 30.45 | 114.2
65532 | 2021-04-05 08:13 | 2.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.1654 | μmol/L | 10.1013 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.042 | 117811.3157 | 318330.3832 | 30.45 | 114.2
65542 | 2021-04-05 08:14 | 3.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.4133 | μmol/L | 10.1013 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.032 | 117767.5183 | 318292.5541 | 30.45 | 114.2
65552 | 2021-04-05 08:14 | 3.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.1862 | μmol/L | 10.1196 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.034 | 117724.0056 | 318269.761 | 30.45 | 114.2
65562 | 2021-04-05 08:14 | 3.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3159 | μmol/L | 10.1319 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.024 | 117700.3704 | 318268.5216 | 30.45 | 114.2
65572 | 2021-04-05 08:15 | 4.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.272 | μmol/L | 10.1441 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.021 | 117652.1675 | 318232.4718 | 30.45 | 114.2
65582 | 2021-04-05 08:15 | 4.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3121 | μmol/L | 10.1503 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.017 | 117609.5539 | 318204.2951 | 30.45 | 114.2
65592 | 2021-04-05 08:15 | 4.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3274 | μmol/L | 10.1564 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.014 | 117572.6646 | 318185.4936 | 30.45 | 114.2
65602 | 2021-04-05 08:16 | 5.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2245 | μmol/L | 10.1748 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 117528.9752 | 318159.476 | 30.45 | 114.2
65612 | 2021-04-05 08:16 | 5.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2303 | μmol/L | 10.187 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.006 | 117499.854 | 318137.1915 | 30.45 | 114.2
65622 | 2021-04-05 08:16 | 5.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2208 | μmol/L | 10.1932 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.004 | 117459.0889 | 318103.6036 | 30.45 | 114.2
65632 | 2021-04-05 08:17 | 6.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3602 | μmol/L | 10.1993 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.996 | 117430.2173 | 318083.2557 | 30.45 | 114.2
65642 | 2021-04-05 08:17 | 6.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2917 | μmol/L | 10.2115 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.994 | 117387.991 | 318048.2466 | 30.45 | 114.2
65652 | 2021-04-05 08:17 | 6.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3662 | μmol/L | 10.2115 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.991 | 117345.1127 | 318028.9246 | 30.45 | 114.2
65662 | 2021-04-05 08:18 | 7.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3721 | μmol/L | 10.2238 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.986 | 117306.9004 | 318008.4428 | 30.45 | 114.2
65672 | 2021-04-05 08:18 | 7.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3781 | μmol/L | 10.2361 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.981 | 117274.5868 | 317976.3031 | 30.45 | 114.2
65682 | 2021-04-05 08:18 | 7.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.468 | μmol/L | 10.2422 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.975 | 117239.323 | 317974.8629 | 30.45 | 114.2
65692 | 2021-04-05 08:19 | 8.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3499 | μmol/L | 10.2544 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.975 | 117199.9906 | 317939.982 | 30.45 | 114.2
65702 | 2021-04-05 08:19 | 8.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3808 | μmol/L | 10.2667 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.969 | 117165.0166 | 317907.0916 | 30.45 | 114.2
65712 | 2021-04-05 08:19 | 8.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2131 | μmol/L | 10.279 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.971 | 117139.4209 | 317899.2358 | 30.45 | 114.2
65722 | 2021-04-05 08:20 | 9.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3031 | μmol/L | 10.2851 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.965 | 117112.7964 | 317870.912 | 30.45 | 114.2
65732 | 2021-04-05 08:20 | 9.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.4024 | μmol/L | 10.2851 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.961 | 117081.3706 | 317853.5616 | 30.45 | 114.2
65742 | 2021-04-05 08:20 | 9.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2751 | μmol/L | 10.3035 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.959 | 117052.0242 | 317815.8055 | 30.45 | 114.2
65752 | 2021-04-05 08:21 | 10.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.4241 | μmol/L | 10.3035 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.953 | 117020.7268 | 317800.8818 | 30.45 | 114.2
65762 | 2021-04-05 08:21 | 10.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3651 | μmol/L | 10.3096 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.953 | 116995.4992 | 317774.8631 | 30.45 | 114.2
65772 | 2021-04-05 08:21 | 10.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.213 | μmol/L | 10.328 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.952 | 116963.063 | 317747.0232 | 30.45 | 114.2
65782 | 2021-04-05 08:22 | 11.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2286 | μmol/L | 10.3341 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.949 | 116940.4138 | 317727.6619 | 30.45 | 114.2
65792 | 2021-04-05 08:22 | 11.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2534 | μmol/L | 10.3341 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.948 | 116905.6055 | 317700.1639 | 30.45 | 114.2
65802 | 2021-04-05 08:22 | 11.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3435 | μmol/L | 10.3402 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.942 | 116883.6983 | 317677.5646 | 30.45 | 114.2
65812 | 2021-04-05 08:23 | 12.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3249 | μmol/L | 10.3525 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.938 | 116855.3112 | 317665.6604 | 30.45 | 114.2
65822 | 2021-04-05 08:23 | 12.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3654 | μmol/L | 10.3586 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.934 | 116830.885 | 317631.2742 | 30.45 | 114.2
65832 | 2021-04-05 08:23 | 12.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3654 | μmol/L | 10.3586 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.934 | 116802.0234 | 317604.4124 | 30.45 | 114.2
65842 | 2021-04-05 08:24 | 13.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2631 | μmol/L | 10.377 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.931 | 116775.09 | 317571.1333 | 30.45 | 114.2
65852 | 2021-04-05 08:24 | 13.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2631 | μmol/L | 10.377 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.931 | 116754.5747 | 317560.5321 | 30.45 | 114.2
65862 | 2021-04-05 08:24 | 13.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3625 | μmol/L | 10.377 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.927 | 116719.9178 | 317543.0957 | 30.45 | 114.2
65872 | 2021-04-05 08:25 | 14.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2106 | μmol/L | 10.3954 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.926 | 116695.4533 | 317498.5558 | 30.45 | 114.2
65882 | 2021-04-05 08:25 | 14.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.4186 | μmol/L | 10.3893 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.92 | 116666.4381 | 317488.0159 | 30.45 | 114.2
65892 | 2021-04-05 08:25 | 14.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3845 | μmol/L | 10.3954 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.919 | 116644.2297 | 317476.744 | 30.45 | 114.2
65902 | 2021-04-05 08:26 | 15.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2327 | μmol/L | 10.4138 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.918 | 116611.1043 | 317437.0854 | 30.45 | 114.2
65912 | 2021-04-05 08:26 | 15.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3073 | μmol/L | 10.4138 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.915 | 116589.139 | 317439.402 | 30.45 | 114.2
65922 | 2021-04-05 08:26 | 15.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3818 | μmol/L | 10.4138 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.912 | 116564.8956 | 317407.3138 | 30.45 | 114.2
65932 | 2021-04-05 08:27 | 16.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3138 | μmol/L | 10.426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.91 | 116529.0159 | 317366.316 | 30.45 | 114.2
65942 | 2021-04-05 08:27 | 16.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3386 | μmol/L | 10.426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 116492.7875 | 317349.0426 | 30.45 | 114.2
65952 | 2021-04-05 08:27 | 16.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3112 | μmol/L | 10.4444 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.903 | 116468.0367 | 317332.2706 | 30.45 | 114.2
65962 | 2021-04-05 08:28 | 17.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.4695 | μmol/L | 10.4383 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.899 | 116437.2572 | 317313.6642 | 30.45 | 114.2
65972 | 2021-04-05 08:28 | 17.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.5441 | μmol/L | 10.4383 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.896 | 116416.4073 | 317294.4577 | 30.45 | 114.2
65982 | 2021-04-05 08:28 | 17.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3518 | μmol/L | 10.4505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.899 | 116399.8607 | 317247.8746 | 30.45 | 114.2
65992 | 2021-04-05 08:29 | 18.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.4015 | μmol/L | 10.4505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.897 | 116372.2022 | 317238.299 | 30.45 | 114.2
66002 | 2021-04-05 08:29 | 18.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.4421 | μmol/L | 10.4567 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.893 | 116354.5011 | 317216.216 | 30.45 | 114.2
66012 | 2021-04-05 08:29 | 18.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3335 | μmol/L | 10.4628 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.895 | 116338.4838 | 317185.8265 | 30.45 | 114.2
66022 | 2021-04-05 08:30 | 19.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.4081 | μmol/L | 10.4628 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.892 | 116317.2285 | 317168.2158 | 30.45 | 114.2
66032 | 2021-04-05 08:30 | 19.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.4487 | μmol/L | 10.4689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.888 | 116292.6989 | 317145.5666 | 30.45 | 114.2
66042 | 2021-04-05 08:30 | 19.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2813 | μmol/L | 10.4812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.89 | 116281.3623 | 317130.535 | 30.45 | 114.2
66052 | 2021-04-05 08:31 | 20.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.3559 | μmol/L | 10.4812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.887 | 116258.1831 | 317099.7033 | 30.45 | 114.2
66062 | 2021-04-05 08:31 | 20.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2225 | μmol/L | 10.4873 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.89 | 116239.2587 | 317084.2572 | 30.45 | 114.2
66072 | 2021-04-05 08:31 | 20.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2632 | μmol/L | 10.4934 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.886 | 116222.8262 | 317066.7761 | 30.45 | 114.2
66082 | 2021-04-05 08:32 | 21.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2292 | μmol/L | 10.4996 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.885 | 116199.0302 | 317033.8049 | 30.45 | 114.2
66092 | 2021-04-05 08:32 | 21.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.2789 | μmol/L | 10.4996 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.883 | 116188.9518 | 317014.3 | 30.45 | 114.2
66102 | 2021-04-05 08:32 | 21.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.1456 | μmol/L | 10.5057 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.886 | 116175.8684 | 316999.519 | 30.45 | 114.2
66112 | 2021-04-05 08:33 | 22.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.0868 | μmol/L | 10.5118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.886 | 116160.4757 | 316970.068 | 30.45 | 114.2
66122 | 2021-04-05 08:33 | 22.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.019 | μmol/L | 10.5241 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.884 | 116147.8148 | 316956.5789 | 30.45 | 114.2
66132 | 2021-04-05 08:33 | 22.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.861 | μmol/L | 10.5302 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.888 | 116133.1086 | 316924.2661 | 30.45 | 114.2
66142 | 2021-04-05 08:34 | 23.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 291.019 | μmol/L | 10.5241 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.884 | 116127.2078 | 316897.7636 | 30.45 | 114.2
66152 | 2021-04-05 08:34 | 23.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.9513 | μmol/L | 10.5363 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.882 | 116117.2489 | 316886.5279 | 30.45 | 114.2
66162 | 2021-04-05 08:34 | 23.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.9355 | μmol/L | 10.5302 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.885 | 116116.9048 | 316860.5966 | 30.45 | 114.2
66172 | 2021-04-05 08:35 | 24.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.8272 | μmol/L | 10.5363 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.887 | 116105.1698 | 316838.5003 | 30.45 | 114.2
66182 | 2021-04-05 08:35 | 24.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.852 | μmol/L | 10.5363 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.886 | 116091.9269 | 316804.1247 | 30.45 | 114.2
66192 | 2021-04-05 08:35 | 24.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.7437 | μmol/L | 10.5425 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.888 | 116084.2356 | 316780.2544 | 30.45 | 114.2
66202 | 2021-04-05 08:36 | 25.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.8181 | μmol/L | 10.5425 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.885 | 116068.9597 | 316756.8199 | 30.45 | 114.2
66212 | 2021-04-05 08:36 | 25.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.7595 | μmol/L | 10.5486 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.885 | 116046.5346 | 316741.5924 | 30.45 | 114.2
66222 | 2021-04-05 08:36 | 25.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.7753 | μmol/L | 10.5547 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.882 | 116022.0677 | 316710.0279 | 30.45 | 114.2
66232 | 2021-04-05 08:37 | 26.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.8249 | μmol/L | 10.5547 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.88 | 116003.3368 | 316692.2741 | 30.45 | 114.2
66242 | 2021-04-05 08:37 | 26.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.7415 | μmol/L | 10.5608 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.881 | 115980.6969 | 316680.7373 | 30.45 | 114.2
66252 | 2021-04-05 08:37 | 26.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.7821 | μmol/L | 10.567 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.877 | 115956.2121 | 316658.765 | 30.45 | 114.2
66262 | 2021-04-05 08:38 | 27.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.649 | μmol/L | 10.5731 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.88 | 115943.8939 | 316632.2234 | 30.45 | 114.2
66272 | 2021-04-05 08:38 | 27.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.6897 | μmol/L | 10.5792 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.876 | 115930.0301 | 316610.918 | 30.45 | 114.2
66282 | 2021-04-05 08:38 | 27.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.6401 | μmol/L | 10.5792 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.878 | 115919.1463 | 316585.9893 | 30.45 | 114.2
66292 | 2021-04-05 08:39 | 28.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.6559 | μmol/L | 10.5854 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.875 | 115907.4943 | 316570.158 | 30.45 | 114.2
66302 | 2021-04-05 08:39 | 28.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.5725 | μmol/L | 10.5915 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.876 | 115888.7533 | 316549.5288 | 30.45 | 114.2
66312 | 2021-04-05 08:39 | 28.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.5477 | μmol/L | 10.5915 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.877 | 115871.2977 | 316531.518 | 30.45 | 114.2
66322 | 2021-04-05 08:40 | 29.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.647 | μmol/L | 10.5915 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.873 | 115858.5405 | 316509.568 | 30.45 | 114.2
66332 | 2021-04-05 08:40 | 29.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.647 | μmol/L | 10.5915 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.873 | 115821.1704 | 316496.0088 | 30.45 | 114.2
66342 | 2021-04-05 08:40 | 29.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.6221 | μmol/L | 10.5915 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.874 | 115810.0038 | 316478.3869 | 30.45 | 114.2
66352 | 2021-04-05 08:41 | 30.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.6539 | μmol/L | 10.6037 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.868 | 115778.277 | 316441.2813 | 30.45 | 114.2
66362 | 2021-04-05 08:41 | 30.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.6539 | μmol/L | 10.6037 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.868 | 115752.5703 | 316414.1373 | 30.45 | 114.2
66372 | 2021-04-05 08:41 | 30.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.6698 | μmol/L | 10.6099 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.865 | 115746.2079 | 316404.5755 | 30.45 | 114.2
66382 | 2021-04-05 08:42 | 31.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.7194 | μmol/L | 10.6099 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.863 | 115722.1388 | 316397.2291 | 30.45 | 114.2
66392 | 2021-04-05 08:42 | 31.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 290.7442 | μmol/L | 10.6099 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.862 | 115692.8267 | 316371.0741 | 30.45 | 114.2