## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 10:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
66405 | 2021-04-05 09:23 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 286.738 | μmol/L | 10.2355 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.156 | 167109.0723 | 323855.6696 | 33.25 | 68.6
66414 | 2021-04-05 09:23 | 0.33565 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 286.5834 | μmol/L | 10.2537 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.155 | 167082.522 | 323860.8549 | 33.25 | 68.6
66423 | 2021-04-05 09:24 | 0.66931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 286.4759 | μmol/L | 10.2719 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.152 | 167106.5087 | 323833.54 | 33.25 | 68.6
66433 | 2021-04-05 09:24 | 1.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 286.345 | μmol/L | 10.2901 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.15 | 167055.5485 | 323819.5736 | 33.25 | 68.6
66442 | 2021-04-05 09:24 | 1.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 286.4738 | μmol/L | 10.2962 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.142 | 167007.4511 | 323782.586 | 33.25 | 68.6
66451 | 2021-04-05 09:25 | 1.6691 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 286.2255 | μmol/L | 10.3144 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.145 | 166985.3885 | 323754.6417 | 33.25 | 68.6
66460 | 2021-04-05 09:25 | 2.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 286.154 | μmol/L | 10.3265 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.143 | 166952.0604 | 323722.8258 | 33.25 | 68.6
66469 | 2021-04-05 09:25 | 2.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.9765 | μmol/L | 10.3447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.143 | 166929.2931 | 323704.209 | 33.25 | 68.6
66478 | 2021-04-05 09:26 | 2.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.7323 | μmol/L | 10.3629 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.146 | 166927.4237 | 323667.6397 | 33.25 | 68.6
66487 | 2021-04-05 09:26 | 3.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.7991 | μmol/L | 10.3629 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.143 | 166906.3899 | 323651.5594 | 33.25 | 68.6
66496 | 2021-04-05 09:26 | 3.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.6106 | μmol/L | 10.3751 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.146 | 166888.3806 | 323618.4061 | 33.25 | 68.6
66505 | 2021-04-05 09:27 | 3.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.3511 | μmol/L | 10.3993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.147 | 166876.953 | 323580.8129 | 33.25 | 68.6
66514 | 2021-04-05 09:27 | 4.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.3035 | μmol/L | 10.4115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.144 | 166840.6495 | 323554.0763 | 33.25 | 68.6
66523 | 2021-04-05 09:27 | 4.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.209 | μmol/L | 10.4236 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.143 | 166819.3947 | 323539.3064 | 33.25 | 68.6
66532 | 2021-04-05 09:28 | 4.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.138 | μmol/L | 10.4358 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.141 | 166775.7816 | 323495.8226 | 33.25 | 68.6
66541 | 2021-04-05 09:28 | 5.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 285.0203 | μmol/L | 10.4479 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.141 | 166735.5294 | 323467.5015 | 33.25 | 68.6
66550 | 2021-04-05 09:28 | 5.3357 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.9607 | μmol/L | 10.4661 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.136 | 166703.8928 | 323438.0111 | 33.25 | 68.6
66559 | 2021-04-05 09:29 | 5.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.9487 | μmol/L | 10.4722 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.134 | 166668.2839 | 323417.3028 | 33.25 | 68.6
66568 | 2021-04-05 09:29 | 6.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.7957 | μmol/L | 10.4904 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.133 | 166643.4731 | 323392.6316 | 33.25 | 68.6
66577 | 2021-04-05 09:29 | 6.3356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.6902 | μmol/L | 10.4965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.135 | 166606.6137 | 323372.2262 | 33.25 | 68.6
66586 | 2021-04-05 09:30 | 6.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.6662 | μmol/L | 10.5086 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.131 | 166575.9098 | 323328.8615 | 33.25 | 68.6
66595 | 2021-04-05 09:30 | 7.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.5374 | μmol/L | 10.5147 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.134 | 166551.6527 | 323320.9051 | 33.25 | 68.6
66604 | 2021-04-05 09:30 | 7.3357 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.3494 | μmol/L | 10.5389 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.132 | 166529.2214 | 323299.6616 | 33.25 | 68.6
66613 | 2021-04-05 09:31 | 7.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.3728 | μmol/L | 10.5389 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.131 | 166507.9156 | 323282.825 | 33.25 | 68.6
66622 | 2021-04-05 09:31 | 8.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.2555 | μmol/L | 10.5511 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.131 | 166487.7842 | 323248.4054 | 33.25 | 68.6
66631 | 2021-04-05 09:31 | 8.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 284.115 | μmol/L | 10.5632 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.132 | 166484.7957 | 323224.6378 | 33.25 | 68.6
66640 | 2021-04-05 09:32 | 8.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.9979 | μmol/L | 10.5754 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.132 | 166470.0918 | 323214.035 | 33.25 | 68.6
66649 | 2021-04-05 09:32 | 9.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.9394 | μmol/L | 10.5814 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.132 | 166454.8012 | 323181.1882 | 33.25 | 68.6
66658 | 2021-04-05 09:32 | 9.3358 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.8106 | μmol/L | 10.5996 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.13 | 166426.9574 | 323162.7637 | 33.25 | 68.6
66667 | 2021-04-05 09:33 | 9.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6822 | μmol/L | 10.6057 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.133 | 166397.2197 | 323130.9188 | 33.25 | 68.6
66676 | 2021-04-05 09:33 | 10.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6352 | μmol/L | 10.6179 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.13 | 166391.2776 | 323113.1861 | 33.25 | 68.6
66685 | 2021-04-05 09:33 | 10.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.6001 | μmol/L | 10.6239 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.129 | 166364.9039 | 323092.1578 | 33.25 | 68.6
66694 | 2021-04-05 09:34 | 10.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.5536 | μmol/L | 10.6239 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.131 | 166347.3508 | 323068.6817 | 33.25 | 68.6
66703 | 2021-04-05 09:34 | 11.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4017 | μmol/L | 10.6421 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.13 | 166310.7193 | 323043.5016 | 33.25 | 68.6
66712 | 2021-04-05 09:34 | 11.3358 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.4014 | μmol/L | 10.6543 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.125 | 166282.7915 | 323008.785 | 33.25 | 68.6
66721 | 2021-04-05 09:35 | 11.6695 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.2382 | μmol/L | 10.6664 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.127 | 166263.2792 | 322987.8123 | 33.25 | 68.6
66730 | 2021-04-05 09:35 | 12.0026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1682 | μmol/L | 10.6786 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.125 | 166241.232 | 322974.9326 | 33.25 | 68.6
66739 | 2021-04-05 09:35 | 12.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.0867 | μmol/L | 10.6846 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.126 | 166209.4797 | 322950.993 | 33.25 | 68.6
66748 | 2021-04-05 09:36 | 12.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.1332 | μmol/L | 10.6846 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.124 | 166196.3101 | 322925.7476 | 33.25 | 68.6
66757 | 2021-04-05 09:36 | 13.0024 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 283.005 | μmol/L | 10.7028 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.122 | 166161.5204 | 322915.6265 | 33.25 | 68.6
66766 | 2021-04-05 09:36 | 13.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.9585 | μmol/L | 10.7028 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.124 | 166146.5201 | 322879.2139 | 33.25 | 68.6
66775 | 2021-04-05 09:37 | 13.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8654 | μmol/L | 10.715 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.123 | 166110.0033 | 322854.2505 | 33.25 | 68.6
66784 | 2021-04-05 09:37 | 14.0023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8305 | μmol/L | 10.721 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.122 | 166094.7942 | 322854.6591 | 33.25 | 68.6
66793 | 2021-04-05 09:37 | 14.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.8071 | μmol/L | 10.7332 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.118 | 166068.2022 | 322821.2832 | 33.25 | 68.6
66802 | 2021-04-05 09:38 | 14.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.6908 | μmol/L | 10.7453 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.118 | 166027.6927 | 322804.1592 | 33.25 | 68.6
66811 | 2021-04-05 09:38 | 15.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.7373 | μmol/L | 10.7453 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.116 | 165999.2433 | 322765.2343 | 33.25 | 68.6
66820 | 2021-04-05 09:38 | 15.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.7256 | μmol/L | 10.7514 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.114 | 165980.998 | 322747.0849 | 33.25 | 68.6
66829 | 2021-04-05 09:39 | 15.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.563 | μmol/L | 10.7635 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.116 | 165961.7335 | 322726.1743 | 33.25 | 68.6
66838 | 2021-04-05 09:39 | 16.0023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.5281 | μmol/L | 10.7696 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.115 | 165937.1428 | 322715.4002 | 33.25 | 68.6
66847 | 2021-04-05 09:39 | 16.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.5165 | μmol/L | 10.7757 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.113 | 165920.1149 | 322687.2517 | 33.25 | 68.6
66856 | 2021-04-05 09:40 | 16.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.5165 | μmol/L | 10.7757 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.113 | 165892.0377 | 322674.9214 | 33.25 | 68.6
66865 | 2021-04-05 09:40 | 17.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4236 | μmol/L | 10.7878 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.112 | 165857.3411 | 322639.606 | 33.25 | 68.6
66874 | 2021-04-05 09:40 | 17.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.4004 | μmol/L | 10.8 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.108 | 165832.2753 | 322615.5284 | 33.25 | 68.6
66883 | 2021-04-05 09:41 | 17.6691 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3656 | μmol/L | 10.806 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.107 | 165802.7946 | 322606.0886 | 33.25 | 68.6
66892 | 2021-04-05 09:41 | 18.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.354 | μmol/L | 10.8121 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.105 | 165763.067 | 322571.2637 | 33.25 | 68.6
66901 | 2021-04-05 09:41 | 18.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2961 | μmol/L | 10.8182 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.105 | 165730.6255 | 322545.1541 | 33.25 | 68.6
66910 | 2021-04-05 09:42 | 18.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3656 | μmol/L | 10.8182 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.102 | 165705.7311 | 322535.6168 | 33.25 | 68.6
66919 | 2021-04-05 09:42 | 19.0023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3309 | μmol/L | 10.8364 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.096 | 165672.5224 | 322501.0946 | 33.25 | 68.6
66928 | 2021-04-05 09:42 | 19.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3889 | μmol/L | 10.8303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.096 | 165629.4867 | 322470.0126 | 33.25 | 68.6
66937 | 2021-04-05 09:43 | 19.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2266 | μmol/L | 10.8425 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.098 | 165602.4904 | 322445.4669 | 33.25 | 68.6
66946 | 2021-04-05 09:43 | 20.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2962 | μmol/L | 10.8425 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.095 | 165583.0066 | 322444.1781 | 33.25 | 68.6
66955 | 2021-04-05 09:43 | 20.3357 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2383 | μmol/L | 10.8485 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.095 | 165550.8349 | 322414.86 | 33.25 | 68.6
66964 | 2021-04-05 09:44 | 20.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1688 | μmol/L | 10.8607 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.093 | 165529.0796 | 322381.0426 | 33.25 | 68.6
66973 | 2021-04-05 09:44 | 21.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1109 | μmol/L | 10.8667 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.093 | 165497.2633 | 322367.9866 | 33.25 | 68.6
66982 | 2021-04-05 09:44 | 21.3357 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0994 | μmol/L | 10.8728 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.091 | 165470.05 | 322349.8177 | 33.25 | 68.6
66991 | 2021-04-05 09:45 | 21.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0879 | μmol/L | 10.8789 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.089 | 165435.6354 | 322305.7828 | 33.25 | 68.6
67000 | 2021-04-05 09:45 | 22.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2385 | μmol/L | 10.8728 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.085 | 165413.4398 | 322292.6329 | 33.25 | 68.6
67009 | 2021-04-05 09:45 | 22.3357 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0764 | μmol/L | 10.8849 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.087 | 165377.3669 | 322271.7783 | 33.25 | 68.6
67018 | 2021-04-05 09:46 | 22.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0764 | μmol/L | 10.8849 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.087 | 165347.6193 | 322241.3853 | 33.25 | 68.6
67027 | 2021-04-05 09:46 | 23.0023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9839 | μmol/L | 10.8971 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.086 | 165305.8028 | 322220.1032 | 33.25 | 68.6
67036 | 2021-04-05 09:46 | 23.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0883 | μmol/L | 10.9032 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.079 | 165269.5141 | 322181.8508 | 33.25 | 68.6
67045 | 2021-04-05 09:47 | 23.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0073 | μmol/L | 10.9092 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.08 | 165228.1793 | 322155.9797 | 33.25 | 68.6
67054 | 2021-04-05 09:47 | 24.0026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1347 | μmol/L | 10.9032 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.077 | 165193.1941 | 322142.5853 | 33.25 | 68.6
67063 | 2021-04-05 09:47 | 24.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1349 | μmol/L | 10.9153 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.072 | 165150.0158 | 322120.4505 | 33.25 | 68.6
67072 | 2021-04-05 09:48 | 24.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1349 | μmol/L | 10.9153 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.072 | 165103.3102 | 322098.5904 | 33.25 | 68.6
67081 | 2021-04-05 09:48 | 25.0025 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1467 | μmol/L | 10.9214 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.069 | 165071.3063 | 322057.5896 | 33.25 | 68.6
67090 | 2021-04-05 09:48 | 25.3362 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1467 | μmol/L | 10.9214 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.069 | 165045.5521 | 322048.8827 | 33.25 | 68.6
67099 | 2021-04-05 09:49 | 25.669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1006 | μmol/L | 10.9335 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.066 | 165011.9003 | 322004.2305 | 33.25 | 68.6
67108 | 2021-04-05 09:49 | 26.0026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1238 | μmol/L | 10.9335 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.065 | 164974.9164 | 321989.544 | 33.25 | 68.6
67117 | 2021-04-05 09:49 | 26.3356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0892 | μmol/L | 10.9396 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.064 | 164939.0775 | 321943.2967 | 33.25 | 68.6
67126 | 2021-04-05 09:50 | 26.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0546 | μmol/L | 10.9457 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.063 | 164909.2347 | 321925.4918 | 33.25 | 68.6
67135 | 2021-04-05 09:50 | 27.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9736 | μmol/L | 10.9517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.064 | 164874.0925 | 321900.5338 | 33.25 | 68.6
67144 | 2021-04-05 09:50 | 27.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1241 | μmol/L | 10.9457 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.06 | 164845.7172 | 321868.2274 | 33.25 | 68.6
67153 | 2021-04-05 09:51 | 27.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0663 | μmol/L | 10.9517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.06 | 164805.3217 | 321838.0434 | 33.25 | 68.6
67162 | 2021-04-05 09:51 | 28.0023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1823 | μmol/L | 10.9517 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.055 | 164764.9219 | 321797.3549 | 33.25 | 68.6
67171 | 2021-04-05 09:51 | 28.336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0317 | μmol/L | 10.9578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.059 | 164743.6167 | 321783.823 | 33.25 | 68.6
67180 | 2021-04-05 09:52 | 28.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9972 | μmol/L | 10.9639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.058 | 164706.893 | 321746.6679 | 33.25 | 68.6
67189 | 2021-04-05 09:52 | 29.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0899 | μmol/L | 10.9639 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.054 | 164671.7596 | 321725.5508 | 33.25 | 68.6
67198 | 2021-04-05 09:52 | 29.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1481 | μmol/L | 10.9699 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.049 | 164643.6789 | 321701.2649 | 33.25 | 68.6
67207 | 2021-04-05 09:53 | 29.6693 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9976 | μmol/L | 10.976 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.053 | 164615.5234 | 321680.4634 | 33.25 | 68.6
67216 | 2021-04-05 09:53 | 30.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9398 | μmol/L | 10.9821 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.053 | 164583.3478 | 321650.026 | 33.25 | 68.6
67225 | 2021-04-05 09:53 | 30.3357 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.7894 | μmol/L | 10.9881 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.057 | 164551.0814 | 321615.6621 | 33.25 | 68.6
67234 | 2021-04-05 09:54 | 30.6694 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.8939 | μmol/L | 10.9942 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.05 | 164526.4404 | 321602.6649 | 33.25 | 68.6
67243 | 2021-04-05 09:54 | 31.0024 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0212 | μmol/L | 10.9881 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.047 | 164482.7296 | 321577.1813 | 33.25 | 68.6
67252 | 2021-04-05 09:54 | 31.3361 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0212 | μmol/L | 10.9881 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.047 | 164458.2989 | 321542.956 | 33.25 | 68.6
67261 | 2021-04-05 09:55 | 31.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9866 | μmol/L | 10.9942 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.046 | 164409.4504 | 321518.3705 | 33.25 | 68.6
67270 | 2021-04-05 09:55 | 32.0024 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9521 | μmol/L | 11.0003 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.045 | 164389.9606 | 321505.1228 | 33.25 | 68.6
67279 | 2021-04-05 09:55 | 32.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9407 | μmol/L | 11.0064 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.043 | 164353.0011 | 321485.5233 | 33.25 | 68.6
67288 | 2021-04-05 09:56 | 32.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0216 | μmol/L | 11.0003 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.042 | 164321.4036 | 321450.3229 | 33.25 | 68.6
67297 | 2021-04-05 09:56 | 33.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0103 | μmol/L | 11.0064 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.04 | 164293.9908 | 321435.3036 | 33.25 | 68.6
67306 | 2021-04-05 09:56 | 33.3359 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0335 | μmol/L | 11.0064 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.039 | 164261.4841 | 321402.6893 | 33.25 | 68.6
67315 | 2021-04-05 09:57 | 33.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9758 | μmol/L | 11.0124 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.039 | 164224.6813 | 321380.0353 | 33.25 | 68.6
67324 | 2021-04-05 09:57 | 34.0024 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9876 | μmol/L | 11.0185 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.036 | 164199.8233 | 321363.223 | 33.25 | 68.6
67333 | 2021-04-05 09:57 | 34.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 281.9299 | μmol/L | 11.0246 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.036 | 164161.4113 | 321324.4651 | 33.25 | 68.6
67342 | 2021-04-05 09:58 | 34.6691 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0227 | μmol/L | 11.0246 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.032 | 164113.553 | 321309.2266 | 33.25 | 68.6
67351 | 2021-04-05 09:58 | 35.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0691 | μmol/L | 11.0246 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.03 | 164087.0343 | 321289.7805 | 33.25 | 68.6
67360 | 2021-04-05 09:58 | 35.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0346 | μmol/L | 11.0306 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.029 | 164036.8799 | 321265.3356 | 33.25 | 68.6
67369 | 2021-04-05 09:59 | 35.6692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0928 | μmol/L | 11.0367 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.024 | 163985.8007 | 321246.2368 | 33.25 | 68.6
67378 | 2021-04-05 09:59 | 36.0028 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1857 | μmol/L | 11.0367 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.02 | 163949.896 | 321208.2765 | 33.25 | 68.6
67387 | 2021-04-05 09:59 | 36.3358 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.0815 | μmol/L | 11.0428 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.022 | 163907.2848 | 321209.0556 | 33.25 | 68.6
67396 | 2021-04-05 10:00 | 36.669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.1512 | μmol/L | 11.0428 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.019 | 163867.1723 | 321169.7476 | 33.25 | 68.6
67405 | 2021-04-05 10:00 | 37.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2327 | μmol/L | 11.0489 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.013 | 163828.8171 | 321162.1771 | 33.25 | 68.6
67414 | 2021-04-05 10:00 | 37.3356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.3024 | μmol/L | 11.0489 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.01 | 163783.4505 | 321142.995 | 33.25 | 68.6
67423 | 2021-04-05 10:01 | 37.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2679 | μmol/L | 11.0549 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.009 | 163714.0236 | 321129.9774 | 33.25 | 68.6
67432 | 2021-04-05 10:01 | 38.0027 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 282.2447 | μmol/L | 11.0549 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 24.01 | 163697.6489 | 321099.5408 | 33.25 | 68.6