## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 10:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
66407 | 2021-04-05 09:23 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 300.9688 | μmol/L | 10.2749 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.702 | 126635.5647 | 280738.7114 | 32.55 | 27.7
66416 | 2021-04-05 09:23 | 0.32724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 300.9038 | μmol/L | 10.2993 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.695 | 126587.8044 | 280730.4835 | 32.55 | 27.7
66426 | 2021-04-05 09:24 | 0.66046 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.0117 | μmol/L | 10.3115 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.686 | 126671.9282 | 280694.426 | 32.55 | 27.7
66435 | 2021-04-05 09:24 | 0.99335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.1805 | μmol/L | 10.3176 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.677 | 126577.059 | 280672.4204 | 32.55 | 27.7
66444 | 2021-04-05 09:24 | 1.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4066 | μmol/L | 10.3359 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.661 | 126492.7003 | 280646.2757 | 32.55 | 27.7
66453 | 2021-04-05 09:25 | 1.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4893 | μmol/L | 10.3481 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.653 | 126421.5383 | 280620.7144 | 32.55 | 27.7
66462 | 2021-04-05 09:25 | 1.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5466 | μmol/L | 10.3603 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.646 | 126363.5577 | 280603.7937 | 32.55 | 27.7
66471 | 2021-04-05 09:25 | 2.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.716 | μmol/L | 10.3664 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.637 | 126321.1409 | 280591.1302 | 32.55 | 27.7
66480 | 2021-04-05 09:26 | 2.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4882 | μmol/L | 10.3969 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.634 | 126263.491 | 280552.9532 | 32.55 | 27.7
66489 | 2021-04-05 09:26 | 2.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4688 | μmol/L | 10.4091 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.63 | 126224.1775 | 280532.2487 | 32.55 | 27.7
66498 | 2021-04-05 09:26 | 3.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5359 | μmol/L | 10.4152 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.625 | 126174.6702 | 280503.6597 | 32.55 | 27.7
66507 | 2021-04-05 09:27 | 3.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4557 | μmol/L | 10.4335 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.621 | 126132.0641 | 280490.5105 | 32.55 | 27.7
66516 | 2021-04-05 09:27 | 3.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4973 | μmol/L | 10.4396 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.617 | 126080.6215 | 280459.7648 | 32.55 | 27.7
66525 | 2021-04-05 09:27 | 4.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5548 | μmol/L | 10.4518 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.61 | 126048.6947 | 280458.6703 | 32.55 | 27.7
66534 | 2021-04-05 09:28 | 4.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5356 | μmol/L | 10.464 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.606 | 126014.1456 | 280441.0722 | 32.55 | 27.7
66543 | 2021-04-05 09:28 | 4.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.3788 | μmol/L | 10.4823 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.605 | 125972.0319 | 280419.968 | 32.55 | 27.7
66552 | 2021-04-05 09:28 | 5.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.446 | μmol/L | 10.4884 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.6 | 125940.7155 | 280396.1049 | 32.55 | 27.7
66561 | 2021-04-05 09:29 | 5.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4364 | μmol/L | 10.4945 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.598 | 125898.1079 | 280382.4842 | 32.55 | 27.7
66570 | 2021-04-05 09:29 | 5.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.3566 | μmol/L | 10.5128 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.594 | 125865.079 | 280360.4972 | 32.55 | 27.7
66579 | 2021-04-05 09:29 | 6.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4238 | μmol/L | 10.5189 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.589 | 125831.9997 | 280353.082 | 32.55 | 27.7
66588 | 2021-04-05 09:30 | 6.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.3441 | μmol/L | 10.5372 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.585 | 125794.7956 | 280340.9624 | 32.55 | 27.7
66597 | 2021-04-05 09:30 | 6.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4465 | μmol/L | 10.5372 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.581 | 125755.6917 | 280314.4737 | 32.55 | 27.7
66606 | 2021-04-05 09:30 | 7.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4019 | μmol/L | 10.5494 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.578 | 125726.2125 | 280308.6452 | 32.55 | 27.7
66615 | 2021-04-05 09:31 | 7.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.3223 | μmol/L | 10.5677 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.574 | 125689.0835 | 280299.7179 | 32.55 | 27.7
66624 | 2021-04-05 09:31 | 7.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.3735 | μmol/L | 10.5677 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.572 | 125652.6116 | 280271.731 | 32.55 | 27.7
66633 | 2021-04-05 09:31 | 8.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.457 | μmol/L | 10.5799 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.564 | 125611.2184 | 280258.597 | 32.55 | 27.7
66642 | 2021-04-05 09:32 | 8.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4126 | μmol/L | 10.5921 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.561 | 125574.118 | 280248.9151 | 32.55 | 27.7
66651 | 2021-04-05 09:32 | 8.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5313 | μmol/L | 10.5982 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.554 | 125542.771 | 280235.7353 | 32.55 | 27.7
66660 | 2021-04-05 09:32 | 9.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4356 | μmol/L | 10.6104 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.553 | 125505.2708 | 280208.6517 | 32.55 | 27.7
66669 | 2021-04-05 09:33 | 9.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4168 | μmol/L | 10.6226 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.549 | 125477.0723 | 280202.8307 | 32.55 | 27.7
66678 | 2021-04-05 09:33 | 9.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4424 | μmol/L | 10.6226 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.548 | 125444.7506 | 280197.4965 | 32.55 | 27.7
66687 | 2021-04-05 09:33 | 10.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.3887 | μmol/L | 10.6409 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.543 | 125407.0057 | 280180.7409 | 32.55 | 27.7
66696 | 2021-04-05 09:34 | 10.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.3537 | μmol/L | 10.647 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.542 | 125380.012 | 280172.3905 | 32.55 | 27.7
66705 | 2021-04-05 09:34 | 10.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4725 | μmol/L | 10.6531 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.535 | 125354.8286 | 280164.3721 | 32.55 | 27.7
66714 | 2021-04-05 09:34 | 11.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4888 | μmol/L | 10.6592 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.532 | 125313.9382 | 280149.491 | 32.55 | 27.7
66723 | 2021-04-05 09:35 | 11.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.4702 | μmol/L | 10.6714 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.528 | 125274.8566 | 280133.1371 | 32.55 | 27.7
66732 | 2021-04-05 09:35 | 11.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5891 | μmol/L | 10.6775 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 125229.2493 | 280131.3805 | 32.55 | 27.7
66741 | 2021-04-05 09:35 | 12.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5028 | μmol/L | 10.6836 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 125190.5105 | 280098.9288 | 32.55 | 27.7
66750 | 2021-04-05 09:36 | 12.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.6475 | μmol/L | 10.6897 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.514 | 125163.7045 | 280084.9981 | 32.55 | 27.7
66759 | 2021-04-05 09:36 | 12.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.6033 | μmol/L | 10.7019 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.511 | 125137.9312 | 280081.1165 | 32.55 | 27.7
66768 | 2021-04-05 09:36 | 13.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5684 | μmol/L | 10.708 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.51 | 125111.977 | 280064.2788 | 32.55 | 27.7
66777 | 2021-04-05 09:37 | 13.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5684 | μmol/L | 10.708 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.51 | 125086.2472 | 280055.3203 | 32.55 | 27.7
66786 | 2021-04-05 09:37 | 13.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5848 | μmol/L | 10.7141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.507 | 125056.8505 | 280035.0679 | 32.55 | 27.7
66795 | 2021-04-05 09:37 | 14.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.6176 | μmol/L | 10.7263 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.501 | 125039.5045 | 280032.1832 | 32.55 | 27.7
66804 | 2021-04-05 09:38 | 14.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5222 | μmol/L | 10.7385 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.5 | 125002.827 | 280015.2408 | 32.55 | 27.7
66813 | 2021-04-05 09:38 | 14.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.436 | μmol/L | 10.7447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.501 | 124980.998 | 279995.415 | 32.55 | 27.7
66822 | 2021-04-05 09:38 | 15.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5386 | μmol/L | 10.7447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.497 | 124950.5234 | 279978.0061 | 32.55 | 27.7
66831 | 2021-04-05 09:39 | 15.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.6413 | μmol/L | 10.7447 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.493 | 124926.9559 | 279965.911 | 32.55 | 27.7
66840 | 2021-04-05 09:39 | 15.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5972 | μmol/L | 10.7569 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.49 | 124901.4556 | 279966.0191 | 32.55 | 27.7
66849 | 2021-04-05 09:39 | 16.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.588 | μmol/L | 10.763 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.488 | 124864.9931 | 279946.2814 | 32.55 | 27.7
66858 | 2021-04-05 09:40 | 16.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.5532 | μmol/L | 10.7691 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.487 | 124836.836 | 279932.9165 | 32.55 | 27.7
66867 | 2021-04-05 09:40 | 16.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.6211 | μmol/L | 10.7752 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.482 | 124813.0473 | 279918.6034 | 32.55 | 27.7
66876 | 2021-04-05 09:40 | 17.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.6981 | μmol/L | 10.7752 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.479 | 124776.3858 | 279911.1672 | 32.55 | 27.7
66885 | 2021-04-05 09:41 | 17.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7752 | μmol/L | 10.7752 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.476 | 124748.6324 | 279900.3312 | 32.55 | 27.7
66894 | 2021-04-05 09:41 | 17.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.645 | μmol/L | 10.7935 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.474 | 124726.7302 | 279889.564 | 32.55 | 27.7
66903 | 2021-04-05 09:41 | 18.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.645 | μmol/L | 10.7935 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.474 | 124696.8005 | 279878.8843 | 32.55 | 27.7
66912 | 2021-04-05 09:42 | 18.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7386 | μmol/L | 10.7996 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.468 | 124679.6414 | 279853.1236 | 32.55 | 27.7
66921 | 2021-04-05 09:42 | 18.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.601 | μmol/L | 10.8057 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.471 | 124648.2622 | 279857.6649 | 32.55 | 27.7
66930 | 2021-04-05 09:42 | 19.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7295 | μmol/L | 10.8057 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.466 | 124625.8409 | 279856.0528 | 32.55 | 27.7
66939 | 2021-04-05 09:43 | 19.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7718 | μmol/L | 10.8118 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.462 | 124604.7087 | 279817.0372 | 32.55 | 27.7
66948 | 2021-04-05 09:43 | 19.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.737 | μmol/L | 10.8179 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.461 | 124573.0512 | 279801.3972 | 32.55 | 27.7
66957 | 2021-04-05 09:43 | 20.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7536 | μmol/L | 10.824 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.458 | 124534.8381 | 279779.5217 | 32.55 | 27.7
66966 | 2021-04-05 09:44 | 20.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9079 | μmol/L | 10.824 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.452 | 124506.6803 | 279771.1411 | 32.55 | 27.7
66975 | 2021-04-05 09:44 | 20.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7611 | μmol/L | 10.8362 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.453 | 124466.3565 | 279757.5373 | 32.55 | 27.7
66984 | 2021-04-05 09:44 | 21.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7611 | μmol/L | 10.8362 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.453 | 124446.4597 | 279731.8883 | 32.55 | 27.7
66993 | 2021-04-05 09:45 | 21.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.8806 | μmol/L | 10.8423 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.446 | 124422.3825 | 279738.2422 | 32.55 | 27.7
67002 | 2021-04-05 09:45 | 21.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9578 | μmol/L | 10.8423 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.443 | 124393.1916 | 279719.265 | 32.55 | 27.7
67011 | 2021-04-05 09:45 | 22.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9488 | μmol/L | 10.8484 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.441 | 124368.8236 | 279704.3941 | 32.55 | 27.7
67020 | 2021-04-05 09:46 | 22.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9397 | μmol/L | 10.8545 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.439 | 124336.1796 | 279689.3197 | 32.55 | 27.7
67029 | 2021-04-05 09:46 | 22.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0169 | μmol/L | 10.8545 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.436 | 124314.3218 | 279666.0952 | 32.55 | 27.7
67038 | 2021-04-05 09:46 | 23.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9564 | μmol/L | 10.8606 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.436 | 124280.5429 | 279666.6919 | 32.55 | 27.7
67047 | 2021-04-05 09:47 | 23.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0079 | μmol/L | 10.8606 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.434 | 124259.6563 | 279662.2161 | 32.55 | 27.7
67056 | 2021-04-05 09:47 | 23.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9383 | μmol/L | 10.8728 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.432 | 124218.8315 | 279657.8579 | 32.55 | 27.7
67065 | 2021-04-05 09:47 | 24.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0413 | μmol/L | 10.8728 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.428 | 124187.1271 | 279635.7246 | 32.55 | 27.7
67074 | 2021-04-05 09:48 | 24.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0066 | μmol/L | 10.8789 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.427 | 124159.5065 | 279611.5881 | 32.55 | 27.7
67083 | 2021-04-05 09:48 | 24.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.1096 | μmol/L | 10.8789 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.423 | 124138.3235 | 279597.5609 | 32.55 | 27.7
67092 | 2021-04-05 09:48 | 25.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.2036 | μmol/L | 10.885 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.417 | 124115.1475 | 279563.7196 | 32.55 | 27.7
67101 | 2021-04-05 09:49 | 25.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.2126 | μmol/L | 10.8789 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.419 | 124081.9498 | 279579.5747 | 32.55 | 27.7
67110 | 2021-04-05 09:49 | 25.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.1083 | μmol/L | 10.8972 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.416 | 124055.1203 | 279548.9798 | 32.55 | 27.7
67119 | 2021-04-05 09:49 | 26.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0311 | μmol/L | 10.8972 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.419 | 124044.1915 | 279546.6102 | 32.55 | 27.7
67128 | 2021-04-05 09:50 | 26.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0994 | μmol/L | 10.9033 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.414 | 124012.2292 | 279517.4836 | 32.55 | 27.7
67137 | 2021-04-05 09:50 | 26.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0478 | μmol/L | 10.9033 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.416 | 123984.9189 | 279497.7478 | 32.55 | 27.7
67146 | 2021-04-05 09:50 | 27.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0478 | μmol/L | 10.9033 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.416 | 123962.148 | 279483.6765 | 32.55 | 27.7
67155 | 2021-04-05 09:51 | 27.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0904 | μmol/L | 10.9094 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.412 | 123942.1416 | 279455.4021 | 32.55 | 27.7
67164 | 2021-04-05 09:51 | 27.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0557 | μmol/L | 10.9155 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.411 | 123929.8 | 279459.5525 | 32.55 | 27.7
67173 | 2021-04-05 09:51 | 28.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0041 | μmol/L | 10.9155 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.413 | 123900.2131 | 279442.717 | 32.55 | 27.7
67182 | 2021-04-05 09:52 | 28.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0467 | μmol/L | 10.9216 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.409 | 123888.8668 | 279419.7416 | 32.55 | 27.7
67191 | 2021-04-05 09:52 | 28.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9952 | μmol/L | 10.9216 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.411 | 123863.5116 | 279410.9861 | 32.55 | 27.7
67200 | 2021-04-05 09:52 | 29.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.8575 | μmol/L | 10.9277 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.414 | 123840.0513 | 279397.2019 | 32.55 | 27.7
67209 | 2021-04-05 09:53 | 29.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9347 | μmol/L | 10.9277 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.411 | 123822.9094 | 279370.1881 | 32.55 | 27.7
67218 | 2021-04-05 09:53 | 29.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9258 | μmol/L | 10.9338 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.409 | 123797.19 | 279355.3176 | 32.55 | 27.7
67227 | 2021-04-05 09:53 | 30.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0893 | μmol/L | 10.9277 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.405 | 123777.1403 | 279336.0908 | 32.55 | 27.7
67236 | 2021-04-05 09:54 | 30.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.8049 | μmol/L | 10.946 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.409 | 123754.2331 | 279323.2065 | 32.55 | 27.7
67245 | 2021-04-05 09:54 | 30.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0456 | μmol/L | 10.9399 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.402 | 123724.0043 | 279305.6987 | 32.55 | 27.7
67254 | 2021-04-05 09:54 | 31.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0972 | μmol/L | 10.9399 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.4 | 123701.4986 | 279299.8057 | 32.55 | 27.7
67263 | 2021-04-05 09:55 | 31.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.123 | μmol/L | 10.9399 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.399 | 123668.3791 | 279284.6578 | 32.55 | 27.7
67272 | 2021-04-05 09:55 | 31.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.011 | μmol/L | 10.946 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.401 | 123641.4852 | 279275.355 | 32.55 | 27.7
67281 | 2021-04-05 09:55 | 32.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9763 | μmol/L | 10.9521 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.4 | 123620.2583 | 279246.8426 | 32.55 | 27.7
67290 | 2021-04-05 09:56 | 32.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.2687 | μmol/L | 10.946 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.391 | 123593.6232 | 279232.623 | 32.55 | 27.7
67299 | 2021-04-05 09:56 | 32.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0447 | μmol/L | 10.9582 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.395 | 123575.2354 | 279238.9971 | 32.55 | 27.7
67308 | 2021-04-05 09:56 | 33.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.1993 | μmol/L | 10.9582 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.389 | 123541.0509 | 279213.1484 | 32.55 | 27.7
67317 | 2021-04-05 09:57 | 33.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0873 | μmol/L | 10.9643 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.391 | 123527.0811 | 279201.0051 | 32.55 | 27.7
67326 | 2021-04-05 09:57 | 33.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.0358 | μmol/L | 10.9643 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.393 | 123518.3649 | 279187.1494 | 32.55 | 27.7
67335 | 2021-04-05 09:57 | 34.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 302.01 | μmol/L | 10.9643 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.394 | 123502.3869 | 279177.1613 | 32.55 | 27.7
67344 | 2021-04-05 09:58 | 34.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.9496 | μmol/L | 10.9704 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.394 | 123510.5475 | 279177.4162 | 32.55 | 27.7
67353 | 2021-04-05 09:58 | 34.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.8812 | μmol/L | 10.9643 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.399 | 123504.5022 | 279158.799 | 32.55 | 27.7
67362 | 2021-04-05 09:58 | 35.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.8723 | μmol/L | 10.9704 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.397 | 123493.941 | 279138.18 | 32.55 | 27.7
67371 | 2021-04-05 09:59 | 35.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.8119 | μmol/L | 10.9765 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.397 | 123483.7533 | 279136.3335 | 32.55 | 27.7
67380 | 2021-04-05 09:59 | 35.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7862 | μmol/L | 10.9765 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.398 | 123470.2877 | 279133.6335 | 32.55 | 27.7
67389 | 2021-04-05 09:59 | 36.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.8031 | μmol/L | 10.9826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.395 | 123459.6504 | 279112.5148 | 32.55 | 27.7
67398 | 2021-04-05 10:00 | 36.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.8377 | μmol/L | 10.9765 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.396 | 123447.2786 | 279103.9406 | 32.55 | 27.7
67407 | 2021-04-05 10:00 | 36.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7862 | μmol/L | 10.9765 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.398 | 123436.6213 | 279090.8539 | 32.55 | 27.7
67416 | 2021-04-05 10:00 | 37.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7773 | μmol/L | 10.9826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.396 | 123431.1942 | 279067.7706 | 32.55 | 27.7
67425 | 2021-04-05 10:01 | 37.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7516 | μmol/L | 10.9826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.397 | 123392.9336 | 279076.0218 | 32.55 | 27.7
67434 | 2021-04-05 10:01 | 37.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 301.7516 | μmol/L | 10.9826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.397 | 123399.8607 | 279056.4152 | 32.55 | 27.7