## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
67446 | 2021-04-05 11:06 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.0433 | μmol/L | 11.0558 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.633 | 129929.7293 | 278135.4566 | 32.55 | 27.7
67455 | 2021-04-05 11:07 | 0.32804 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9255 | μmol/L | 11.068 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.633 | 129912.0095 | 278116.8311 | 32.55 | 27.7
67464 | 2021-04-05 11:07 | 0.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.8827 | μmol/L | 11.0802 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.63 | 129877.2421 | 278084.1688 | 32.55 | 27.7
67473 | 2021-04-05 11:07 | 0.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.8577 | μmol/L | 11.0802 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.631 | 129841.3827 | 278056.5736 | 32.55 | 27.7
67482 | 2021-04-05 11:08 | 1.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7399 | μmol/L | 11.0924 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.631 | 129816.0626 | 278035.0767 | 32.55 | 27.7
67491 | 2021-04-05 11:08 | 1.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7811 | μmol/L | 11.0985 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.627 | 129781.8814 | 278009.8434 | 32.55 | 27.7
67500 | 2021-04-05 11:08 | 1.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9151 | μmol/L | 11.0924 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.624 | 129746.7565 | 277979.3044 | 32.55 | 27.7
67509 | 2021-04-05 11:09 | 2.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.8474 | μmol/L | 11.1046 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.622 | 129715.4416 | 277953.9187 | 32.55 | 27.7
67518 | 2021-04-05 11:09 | 2.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7885 | μmol/L | 11.1107 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.622 | 129706.465 | 277922.889 | 32.55 | 27.7
67527 | 2021-04-05 11:09 | 2.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7635 | μmol/L | 11.1107 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.623 | 129693.6091 | 277916.6353 | 32.55 | 27.7
67536 | 2021-04-05 11:10 | 3.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7547 | μmol/L | 11.1168 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.621 | 129670.2037 | 277892.3879 | 32.55 | 27.7
67545 | 2021-04-05 11:10 | 3.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6621 | μmol/L | 11.129 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.62 | 129636.1926 | 277853.0475 | 32.55 | 27.7
67554 | 2021-04-05 11:10 | 3.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4945 | μmol/L | 11.1412 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.622 | 129613.5852 | 277850.5443 | 32.55 | 27.7
67563 | 2021-04-05 11:11 | 4.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4857 | μmol/L | 11.1473 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.62 | 129585.288 | 277828.2144 | 32.55 | 27.7
67572 | 2021-04-05 11:11 | 4.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.502 | μmol/L | 11.1534 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.617 | 129564.8708 | 277823.8249 | 32.55 | 27.7
67581 | 2021-04-05 11:11 | 4.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.527 | μmol/L | 11.1534 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.616 | 129550.4646 | 277785.317 | 32.55 | 27.7
67590 | 2021-04-05 11:12 | 5.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3845 | μmol/L | 11.1656 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.617 | 129522.9274 | 277765.2794 | 32.55 | 27.7
67599 | 2021-04-05 11:12 | 5.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4345 | μmol/L | 11.1656 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.615 | 129488.8275 | 277752.676 | 32.55 | 27.7
67608 | 2021-04-05 11:12 | 5.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5758 | μmol/L | 11.1717 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.607 | 129455.5324 | 277735.4302 | 32.55 | 27.7
67617 | 2021-04-05 11:13 | 6.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6008 | μmol/L | 11.1717 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.606 | 129413.2738 | 277713.6249 | 32.55 | 27.7
67626 | 2021-04-05 11:13 | 6.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5834 | μmol/L | 11.1839 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.602 | 129372.7424 | 277700.4057 | 32.55 | 27.7
67635 | 2021-04-05 11:13 | 6.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5159 | μmol/L | 11.1961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.6 | 129335.6694 | 277668.8681 | 32.55 | 27.7
67644 | 2021-04-05 11:14 | 7.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.566 | μmol/L | 11.1961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.598 | 129310.5309 | 277662.1544 | 32.55 | 27.7
67653 | 2021-04-05 11:14 | 7.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6411 | μmol/L | 11.1961 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.595 | 129260.1722 | 277646.5793 | 32.55 | 27.7
67662 | 2021-04-05 11:14 | 7.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6824 | μmol/L | 11.2022 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.591 | 129225.6295 | 277641.0439 | 32.55 | 27.7
67671 | 2021-04-05 11:15 | 8.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7325 | μmol/L | 11.2022 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.589 | 129177.1489 | 277618.8135 | 32.55 | 27.7
67680 | 2021-04-05 11:15 | 8.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7152 | μmol/L | 11.2144 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.585 | 129142.3716 | 277598.9055 | 32.55 | 27.7
67689 | 2021-04-05 11:15 | 8.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9744 | μmol/L | 11.2083 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.577 | 129098.0533 | 277590.302 | 32.55 | 27.7
67698 | 2021-04-05 11:16 | 9.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.932 | μmol/L | 11.2205 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.574 | 129069.9885 | 277562.0166 | 32.55 | 27.7
67707 | 2021-04-05 11:16 | 9.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.8568 | μmol/L | 11.2205 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.577 | 129043.0255 | 277555.908 | 32.55 | 27.7
67716 | 2021-04-05 11:16 | 9.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7981 | μmol/L | 11.2267 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.577 | 129029.2248 | 277545.0003 | 32.55 | 27.7
67725 | 2021-04-05 11:17 | 10.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.773 | μmol/L | 11.2267 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.578 | 129031.8005 | 277527.8525 | 32.55 | 27.7
67734 | 2021-04-05 11:17 | 10.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9234 | μmol/L | 11.2267 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.572 | 129008.4065 | 277523.5785 | 32.55 | 27.7
67743 | 2021-04-05 11:17 | 10.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7393 | μmol/L | 11.2328 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.577 | 129010.4135 | 277498.1635 | 32.55 | 27.7
67752 | 2021-04-05 11:18 | 11.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6305 | μmol/L | 11.2389 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.579 | 129012.075 | 277493.7055 | 32.55 | 27.7
67761 | 2021-04-05 11:18 | 11.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5718 | μmol/L | 11.245 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.579 | 129007.4326 | 277490.0893 | 32.55 | 27.7
67770 | 2021-04-05 11:18 | 11.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4967 | μmol/L | 11.245 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.582 | 128996.8326 | 277466.7499 | 32.55 | 27.7
67779 | 2021-04-05 11:19 | 12.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3716 | μmol/L | 11.245 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.587 | 128982.2956 | 277444.2087 | 32.55 | 27.7
67788 | 2021-04-05 11:19 | 12.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4631 | μmol/L | 11.2511 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.581 | 128964.4445 | 277427.8079 | 32.55 | 27.7
67797 | 2021-04-05 11:19 | 12.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.363 | μmol/L | 11.2511 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.585 | 128937.3347 | 277425.4212 | 32.55 | 27.7
67806 | 2021-04-05 11:20 | 13.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4881 | μmol/L | 11.2511 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.58 | 128939.9653 | 277407.4701 | 32.55 | 27.7
67815 | 2021-04-05 11:20 | 13.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1957 | μmol/L | 11.2633 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.587 | 128952.7355 | 277390.9166 | 32.55 | 27.7
67824 | 2021-04-05 11:20 | 13.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1208 | μmol/L | 11.2633 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.59 | 128973.3475 | 277374.525 | 32.55 | 27.7
67833 | 2021-04-05 11:21 | 14.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8624 | μmol/L | 11.2694 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.598 | 128997.6346 | 277365.2341 | 32.55 | 27.7
67842 | 2021-04-05 11:21 | 14.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9123 | μmol/L | 11.2694 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.596 | 129010.325 | 277357.67 | 32.55 | 27.7
67851 | 2021-04-05 11:21 | 14.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7875 | μmol/L | 11.2694 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.601 | 129005.8561 | 277341.172 | 32.55 | 27.7
67860 | 2021-04-05 11:22 | 15.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8125 | μmol/L | 11.2694 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.6 | 128983.0655 | 277321.9922 | 32.55 | 27.7
67869 | 2021-04-05 11:22 | 15.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7789 | μmol/L | 11.2755 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.599 | 128957.6663 | 277312.2937 | 32.55 | 27.7
67878 | 2021-04-05 11:22 | 15.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7617 | μmol/L | 11.2877 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.595 | 128924.657 | 277319.6344 | 32.55 | 27.7
67887 | 2021-04-05 11:23 | 16.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8951 | μmol/L | 11.2816 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.592 | 128875.8712 | 277302.7571 | 32.55 | 27.7
67896 | 2021-04-05 11:23 | 16.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9701 | μmol/L | 11.2816 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.589 | 128846.6136 | 277295.0356 | 32.55 | 27.7
67905 | 2021-04-05 11:23 | 16.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.045 | μmol/L | 11.2816 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.586 | 128803.3619 | 277277.1425 | 32.55 | 27.7
67914 | 2021-04-05 11:24 | 17.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1114 | μmol/L | 11.2877 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.581 | 128766.2437 | 277277.2784 | 32.55 | 27.7
67923 | 2021-04-05 11:24 | 17.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1778 | μmol/L | 11.2938 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.576 | 128731.2423 | 277247.0586 | 32.55 | 27.7
67932 | 2021-04-05 11:24 | 17.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2864 | μmol/L | 11.2877 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.574 | 128692.6775 | 277224.6129 | 32.55 | 27.7
67941 | 2021-04-05 11:25 | 18.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3279 | μmol/L | 11.2938 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.57 | 128665.5694 | 277226.0533 | 32.55 | 27.7
67950 | 2021-04-05 11:25 | 18.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4616 | μmol/L | 11.2877 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.567 | 128647.7463 | 277221.656 | 32.55 | 27.7
67959 | 2021-04-05 11:25 | 18.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3358 | μmol/L | 11.306 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.565 | 128608.8714 | 277209.3755 | 32.55 | 27.7
67968 | 2021-04-05 11:26 | 19.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.486 | μmol/L | 11.306 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.559 | 128561.1183 | 277190.0045 | 32.55 | 27.7
67977 | 2021-04-05 11:26 | 19.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6197 | μmol/L | 11.2999 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.556 | 128535.3909 | 277175.1202 | 32.55 | 27.7
67986 | 2021-04-05 11:26 | 19.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5275 | μmol/L | 11.3121 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.555 | 128492.4751 | 277175.4619 | 32.55 | 27.7
67995 | 2021-04-05 11:27 | 20.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6277 | μmol/L | 11.3121 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.551 | 128470.5432 | 277173.2986 | 32.55 | 27.7
68004 | 2021-04-05 11:27 | 20.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6527 | μmol/L | 11.3121 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.55 | 128454.02 | 277145.7669 | 32.55 | 27.7
68013 | 2021-04-05 11:27 | 20.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6527 | μmol/L | 11.3121 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.55 | 128448.546 | 277145.3069 | 32.55 | 27.7
68022 | 2021-04-05 11:28 | 21.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7114 | μmol/L | 11.306 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.55 | 128444.6805 | 277131.3936 | 32.55 | 27.7
68031 | 2021-04-05 11:28 | 21.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6442 | μmol/L | 11.3182 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.548 | 128428.7473 | 277122.236 | 32.55 | 27.7
68040 | 2021-04-05 11:28 | 21.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5856 | μmol/L | 11.3243 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.548 | 128400.3166 | 277109.0193 | 32.55 | 27.7
68049 | 2021-04-05 11:29 | 22.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5355 | μmol/L | 11.3243 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.55 | 128393.5202 | 277086.7032 | 32.55 | 27.7
68058 | 2021-04-05 11:29 | 22.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6858 | μmol/L | 11.3243 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.544 | 128368.5055 | 277089.1854 | 32.55 | 27.7
68067 | 2021-04-05 11:29 | 22.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6608 | μmol/L | 11.3243 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.545 | 128340.205 | 277078.1053 | 32.55 | 27.7
68076 | 2021-04-05 11:30 | 23.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6021 | μmol/L | 11.3304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.545 | 128331.8357 | 277069.6038 | 32.55 | 27.7
68085 | 2021-04-05 11:30 | 23.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4018 | μmol/L | 11.3304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.553 | 128366.9354 | 277067.6832 | 32.55 | 27.7
68094 | 2021-04-05 11:30 | 23.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.043 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.565 | 128420.1375 | 277053.6017 | 32.55 | 27.7
68103 | 2021-04-05 11:31 | 24.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9431 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.569 | 128481.3726 | 277037.3804 | 32.55 | 27.7
68112 | 2021-04-05 11:31 | 24.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7268 | μmol/L | 11.3304 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.58 | 128524.7491 | 277030.6475 | 32.55 | 27.7
68121 | 2021-04-05 11:31 | 24.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5686 | μmol/L | 11.3365 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.584 | 128548.3004 | 277023.8421 | 32.55 | 27.7
68130 | 2021-04-05 11:32 | 25.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5351 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.583 | 128527.7421 | 277010.2393 | 32.55 | 27.7
68139 | 2021-04-05 11:32 | 25.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.6848 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.577 | 128483.6055 | 277000.3698 | 32.55 | 27.7
68148 | 2021-04-05 11:32 | 25.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7098 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.576 | 128440.2031 | 276983.6221 | 32.55 | 27.7
68157 | 2021-04-05 11:33 | 26.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8846 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.569 | 128376.2061 | 276982.926 | 32.55 | 27.7
68166 | 2021-04-05 11:33 | 26.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1095 | μmol/L | 11.3426 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.56 | 128328.5415 | 276964.7539 | 32.55 | 27.7
68175 | 2021-04-05 11:33 | 26.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2261 | μmol/L | 11.3487 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.553 | 128264.4653 | 276945.2851 | 32.55 | 27.7
68184 | 2021-04-05 11:34 | 27.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2342 | μmol/L | 11.3609 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.548 | 128223.6549 | 276943.4697 | 32.55 | 27.7
68193 | 2021-04-05 11:34 | 27.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4179 | μmol/L | 11.3548 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.543 | 128180.3935 | 276928.3224 | 32.55 | 27.7
68202 | 2021-04-05 11:34 | 27.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3593 | μmol/L | 11.3609 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.543 | 128125.8281 | 276902.9941 | 32.55 | 27.7
68211 | 2021-04-05 11:35 | 28.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6183 | μmol/L | 11.3548 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.535 | 128095.5273 | 276903.9421 | 32.55 | 27.7
68220 | 2021-04-05 11:35 | 28.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6264 | μmol/L | 11.367 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.53 | 128061.7922 | 276901.6922 | 32.55 | 27.7
68229 | 2021-04-05 11:35 | 28.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7602 | μmol/L | 11.3609 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.527 | 128012.534 | 276880.1689 | 32.55 | 27.7
68238 | 2021-04-05 11:36 | 29.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7684 | μmol/L | 11.3731 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127986.4084 | 276862.7676 | 32.55 | 27.7
68247 | 2021-04-05 11:36 | 29.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9107 | μmol/L | 11.3609 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127949.7644 | 276853.8148 | 32.55 | 27.7
68256 | 2021-04-05 11:36 | 29.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.8521 | μmol/L | 11.367 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127924.3038 | 276836.6126 | 32.55 | 27.7
68265 | 2021-04-05 11:37 | 30.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.8436 | μmol/L | 11.3731 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.519 | 127897.9936 | 276839.1251 | 32.55 | 27.7
68274 | 2021-04-05 11:37 | 30.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.8687 | μmol/L | 11.3731 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127874.5046 | 276814.7103 | 32.55 | 27.7
68283 | 2021-04-05 11:37 | 30.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.0027 | μmol/L | 11.367 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.515 | 127872.6472 | 276809.5534 | 32.55 | 27.7
68292 | 2021-04-05 11:38 | 31.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7599 | μmol/L | 11.3792 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127880.7143 | 276805.3881 | 32.55 | 27.7
68301 | 2021-04-05 11:38 | 31.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6765 | μmol/L | 11.367 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.528 | 127906.0147 | 276790.1017 | 32.55 | 27.7
68310 | 2021-04-05 11:38 | 31.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4842 | μmol/L | 11.3792 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.531 | 127939.4267 | 276790.6755 | 32.55 | 27.7
68319 | 2021-04-05 11:39 | 32.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3339 | μmol/L | 11.3792 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.537 | 127962.0922 | 276776.9447 | 32.55 | 27.7
68328 | 2021-04-05 11:39 | 32.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1503 | μmol/L | 11.3853 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.542 | 127981.5321 | 276767.0141 | 32.55 | 27.7
68337 | 2021-04-05 11:39 | 32.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0252 | μmol/L | 11.3853 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.547 | 127986.4576 | 276750.6033 | 32.55 | 27.7
68346 | 2021-04-05 11:40 | 33.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9168 | μmol/L | 11.3914 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.549 | 128013.9457 | 276751.2301 | 32.55 | 27.7
68355 | 2021-04-05 11:40 | 33.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7918 | μmol/L | 11.3914 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.554 | 128026.4136 | 276716.226 | 32.55 | 27.7
68364 | 2021-04-05 11:40 | 33.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7669 | μmol/L | 11.3914 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.555 | 128042.1821 | 276720.7279 | 32.55 | 27.7
68373 | 2021-04-05 11:41 | 34.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8253 | μmol/L | 11.3853 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.555 | 128030.8867 | 276697.7174 | 32.55 | 27.7
68382 | 2021-04-05 11:41 | 34.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7169 | μmol/L | 11.3914 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.557 | 128027.9 | 276701.3513 | 32.55 | 27.7
68391 | 2021-04-05 11:41 | 34.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7753 | μmol/L | 11.3853 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.557 | 127927.1126 | 276661.3135 | 32.55 | 27.7
68400 | 2021-04-05 11:42 | 35.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8168 | μmol/L | 11.3914 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.553 | 127921.5504 | 276689.8867 | 32.55 | 27.7
68409 | 2021-04-05 11:42 | 35.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8084 | μmol/L | 11.3975 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.551 | 127890.802 | 276688.0858 | 32.55 | 27.7
68418 | 2021-04-05 11:42 | 35.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.775 | μmol/L | 11.4036 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.55 | 127891.9088 | 276700.4399 | 32.55 | 27.7
68427 | 2021-04-05 11:43 | 36.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9334 | μmol/L | 11.3975 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.546 | 127873.5857 | 276684.9149 | 32.55 | 27.7
68436 | 2021-04-05 11:43 | 36.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9249 | μmol/L | 11.4036 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.544 | 127854.3815 | 276696.3061 | 32.55 | 27.7
68445 | 2021-04-05 11:43 | 36.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9165 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.542 | 127835.0859 | 276701.8299 | 32.55 | 27.7
68454 | 2021-04-05 11:44 | 37.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1 | μmol/L | 11.4036 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.537 | 127809.0229 | 276695.0542 | 32.55 | 27.7
68463 | 2021-04-05 11:44 | 37.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3086 | μmol/L | 11.3975 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.531 | 127768.1323 | 276687.9414 | 32.55 | 27.7
68472 | 2021-04-05 11:44 | 37.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3419 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.525 | 127749.2614 | 276685.9535 | 32.55 | 27.7
68481 | 2021-04-05 11:45 | 38.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3419 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.525 | 127729.65 | 276698.4822 | 32.55 | 27.7
68490 | 2021-04-05 11:45 | 38.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.392 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127703.4167 | 276697.4407 | 32.55 | 27.7
68499 | 2021-04-05 11:45 | 38.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.417 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127690.3493 | 276692.7994 | 32.55 | 27.7
68508 | 2021-04-05 11:46 | 39.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5674 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.516 | 127686.1068 | 276683.0346 | 32.55 | 27.7
68517 | 2021-04-05 11:46 | 39.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5423 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.517 | 127683.1199 | 276681.4686 | 32.55 | 27.7
68526 | 2021-04-05 11:46 | 39.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5172 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127689.8006 | 276682.0855 | 32.55 | 27.7
68535 | 2021-04-05 11:47 | 40.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5172 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127703.3179 | 276674.5434 | 32.55 | 27.7
68544 | 2021-04-05 11:47 | 40.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4086 | μmol/L | 11.4158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127696.5065 | 276678.9476 | 32.55 | 27.7
68553 | 2021-04-05 11:47 | 40.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3585 | μmol/L | 11.4158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127707.4014 | 276665.3027 | 32.55 | 27.7
68562 | 2021-04-05 11:48 | 41.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3084 | μmol/L | 11.4158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127711.8014 | 276657.5151 | 32.55 | 27.7
68571 | 2021-04-05 11:48 | 41.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3084 | μmol/L | 11.4158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127716.2853 | 276655.3117 | 32.55 | 27.7
68580 | 2021-04-05 11:48 | 41.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.392 | μmol/L | 11.4097 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127709.4647 | 276642.3548 | 32.55 | 27.7
68589 | 2021-04-05 11:49 | 42.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3585 | μmol/L | 11.4158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127710.2746 | 276641.171 | 32.55 | 27.7
68598 | 2021-04-05 11:49 | 42.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3836 | μmol/L | 11.4158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127697.8761 | 276645.2716 | 32.55 | 27.7
68607 | 2021-04-05 11:49 | 42.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2333 | μmol/L | 11.4158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.527 | 127683.5254 | 276628.0161 | 32.55 | 27.7
68616 | 2021-04-05 11:50 | 43.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3251 | μmol/L | 11.4219 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127693.0616 | 276624.1882 | 32.55 | 27.7
68625 | 2021-04-05 11:50 | 43.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3836 | μmol/L | 11.4158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127703.3812 | 276595.7596 | 32.55 | 27.7
68634 | 2021-04-05 11:50 | 43.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1999 | μmol/L | 11.4219 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.526 | 127696.788 | 276595.4885 | 32.55 | 27.7
68643 | 2021-04-05 11:51 | 44.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1749 | μmol/L | 11.4219 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.527 | 127692.3063 | 276592.5551 | 32.55 | 27.7
68652 | 2021-04-05 11:51 | 44.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3084 | μmol/L | 11.4158 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127678.1636 | 276573.004 | 32.55 | 27.7
68661 | 2021-04-05 11:51 | 44.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1665 | μmol/L | 11.428 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.525 | 127668.1171 | 276574.4887 | 32.55 | 27.7
68670 | 2021-04-05 11:52 | 45.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1915 | μmol/L | 11.428 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127659.8017 | 276553.9662 | 32.55 | 27.7
68679 | 2021-04-05 11:52 | 45.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.058 | μmol/L | 11.4341 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.527 | 127646.4438 | 276552.014 | 32.55 | 27.7
68688 | 2021-04-05 11:52 | 45.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1831 | μmol/L | 11.4341 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127638.1481 | 276532.7694 | 32.55 | 27.7
68697 | 2021-04-05 11:53 | 46.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1915 | μmol/L | 11.428 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127617.5345 | 276525.1625 | 32.55 | 27.7
68706 | 2021-04-05 11:53 | 46.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1331 | μmol/L | 11.4341 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127606.8097 | 276511.8581 | 32.55 | 27.7
68715 | 2021-04-05 11:53 | 46.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.108 | μmol/L | 11.4341 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.525 | 127586.664 | 276508.5323 | 32.55 | 27.7
68724 | 2021-04-05 11:54 | 47.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1747 | μmol/L | 11.4402 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127572.7299 | 276494.8074 | 32.55 | 27.7
68733 | 2021-04-05 11:54 | 47.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2081 | μmol/L | 11.4341 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127561.6188 | 276489.9717 | 32.55 | 27.7
68742 | 2021-04-05 11:54 | 47.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0663 | μmol/L | 11.4463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127550.7701 | 276478.7429 | 32.55 | 27.7
68751 | 2021-04-05 11:55 | 48.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0997 | μmol/L | 11.4402 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127551.5946 | 276463.846 | 32.55 | 27.7
68760 | 2021-04-05 11:55 | 48.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1541 | μmol/L | 11.4341 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127535.4056 | 276450.3854 | 32.55 | 27.7
68769 | 2021-04-05 11:55 | 48.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0707 | μmol/L | 11.4402 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127510.1287 | 276429.7463 | 32.55 | 27.7
68778 | 2021-04-05 11:56 | 49.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0663 | μmol/L | 11.4463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127498.0539 | 276417.7938 | 32.55 | 27.7
68787 | 2021-04-05 11:56 | 49.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0913 | μmol/L | 11.4463 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127476.4631 | 276401.4514 | 32.55 | 27.7
68796 | 2021-04-05 11:56 | 49.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0539 | μmol/L | 11.4524 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127457.516 | 276398.5968 | 32.55 | 27.7
68805 | 2021-04-05 11:57 | 50.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2125 | μmol/L | 11.4463 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.516 | 127431.732 | 276386.469 | 32.55 | 27.7
68814 | 2021-04-05 11:57 | 50.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0496 | μmol/L | 11.4585 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127427.4419 | 276387.8749 | 32.55 | 27.7
68823 | 2021-04-05 11:57 | 50.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.133 | μmol/L | 11.4524 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.517 | 127409.0939 | 276374.7961 | 32.55 | 27.7
68832 | 2021-04-05 11:58 | 51.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0245 | μmol/L | 11.4585 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.519 | 127401.221 | 276352.0543 | 32.55 | 27.7
68841 | 2021-04-05 11:58 | 51.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9955 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127391.0471 | 276345.3834 | 32.55 | 27.7
68850 | 2021-04-05 11:58 | 51.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0456 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.518 | 127371.2601 | 276325.0074 | 32.55 | 27.7
68859 | 2021-04-05 11:59 | 52.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1207 | μmol/L | 11.4585 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.515 | 127360.1468 | 276321.9473 | 32.55 | 27.7
68868 | 2021-04-05 11:59 | 52.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9411 | μmol/L | 11.4646 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.52 | 127361.1643 | 276329.5573 | 32.55 | 27.7
68877 | 2021-04-05 11:59 | 52.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9122 | μmol/L | 11.4646 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127352.0932 | 276307.9933 | 32.55 | 27.7
68886 | 2021-04-05 12:00 | 53.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8078 | μmol/L | 11.4707 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.523 | 127337.6704 | 276296.2664 | 32.55 | 27.7
68895 | 2021-04-05 12:00 | 53.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8911 | μmol/L | 11.4646 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127334.1877 | 276296.5132 | 32.55 | 27.7
68904 | 2021-04-05 12:00 | 53.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9161 | μmol/L | 11.4646 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.521 | 127326.8596 | 276271.8242 | 32.55 | 27.7
68913 | 2021-04-05 12:01 | 54.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7705 | μmol/L | 11.4768 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127324.6949 | 276262.2118 | 32.55 | 27.7
68922 | 2021-04-05 12:01 | 54.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8288 | μmol/L | 11.4707 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.522 | 127318.091 | 276245.2931 | 32.55 | 27.7
68931 | 2021-04-05 12:01 | 54.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7245 | μmol/L | 11.4768 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127308.8549 | 276229.4565 | 32.55 | 27.7
68940 | 2021-04-05 12:02 | 55.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7828 | μmol/L | 11.4707 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.524 | 127308.2963 | 276232.2811 | 32.55 | 27.7
68949 | 2021-04-05 12:02 | 55.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.6245 | μmol/L | 11.4768 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.528 | 127304.4352 | 276222.4077 | 32.55 | 27.7
68958 | 2021-04-05 12:02 | 55.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.6122 | μmol/L | 11.4829 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.526 | 127296.7016 | 276205.3128 | 32.55 | 27.7
68967 | 2021-04-05 12:03 | 56.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.6245 | μmol/L | 11.4768 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.528 | 127288.0497 | 276190.231 | 32.55 | 27.7
68976 | 2021-04-05 12:03 | 56.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5622 | μmol/L | 11.4829 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.528 | 127276.6135 | 276180.5405 | 32.55 | 27.7
68985 | 2021-04-05 12:03 | 56.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4041 | μmol/L | 11.489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.532 | 127270.8649 | 276183.0104 | 32.55 | 27.7
68994 | 2021-04-05 12:04 | 57.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.454 | μmol/L | 11.489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.53 | 127258.2446 | 276165.1362 | 32.55 | 27.7
69003 | 2021-04-05 12:04 | 57.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.3542 | μmol/L | 11.489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.534 | 127238.2835 | 276147.2998 | 32.55 | 27.7
69012 | 2021-04-05 12:04 | 57.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.3708 | μmol/L | 11.4951 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.531 | 127231.2532 | 276136.0773 | 32.55 | 27.7
69021 | 2021-04-05 12:05 | 58.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.3209 | μmol/L | 11.4951 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.533 | 127223.8023 | 276123.6783 | 32.55 | 27.7
69030 | 2021-04-05 12:05 | 58.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.479 | μmol/L | 11.489 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.529 | 127208.1533 | 276102.5842 | 32.55 | 27.7
69039 | 2021-04-05 12:05 | 58.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.271 | μmol/L | 11.4951 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.535 | 127202.8276 | 276116.7542 | 32.55 | 27.7
69048 | 2021-04-05 12:06 | 59.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2168 | μmol/L | 11.5012 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.535 | 127191.889 | 276094.2847 | 32.55 | 27.7
69057 | 2021-04-05 12:06 | 59.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.3126 | μmol/L | 11.5012 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.531 | 127187.9068 | 276076.4349 | 32.55 | 27.7
69066 | 2021-04-05 12:06 | 59.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2128 | μmol/L | 11.5012 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.535 | 127185.3371 | 276058.1241 | 32.55 | 27.7
69075 | 2021-04-05 12:07 | 60.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1297 | μmol/L | 11.5073 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.536 | 127183.519 | 276058.1116 | 32.55 | 27.7
69084 | 2021-04-05 12:07 | 60.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1131 | μmol/L | 11.5012 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.539 | 127171.4762 | 276046.4542 | 32.55 | 27.7