## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 15:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
70780 | 2021-04-05 14:41 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2145 | μmol/L | 10.7646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.048 | 110718.025 | 218656.4226 | 27.3 | 43.4
70789 | 2021-04-05 14:41 | 0.33135 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1864 | μmol/L | 10.7646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.049 | 110679.5475 | 218660.4219 | 27.3 | 43.4
70798 | 2021-04-05 14:42 | 0.66469 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2596 | μmol/L | 10.7707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.044 | 110667.6976 | 218647.2649 | 27.3 | 43.4
70807 | 2021-04-05 14:42 | 0.99845 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1534 | μmol/L | 10.7829 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.043 | 110642.915 | 218659.4553 | 27.3 | 43.4
70816 | 2021-04-05 14:42 | 1.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2266 | μmol/L | 10.789 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.038 | 110606.4407 | 218649.6969 | 27.3 | 43.4
70825 | 2021-04-05 14:43 | 1.6651 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2266 | μmol/L | 10.789 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.038 | 110574.6127 | 218647.3398 | 27.3 | 43.4
70834 | 2021-04-05 14:43 | 1.9981 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2218 | μmol/L | 10.8073 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.031 | 110558.5438 | 218644.4703 | 27.3 | 43.4
70843 | 2021-04-05 14:43 | 2.3313 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3621 | μmol/L | 10.8073 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.026 | 110520.1172 | 218633.2573 | 27.3 | 43.4
70852 | 2021-04-05 14:44 | 2.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.256 | μmol/L | 10.8195 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.025 | 110505.3864 | 218635.4835 | 27.3 | 43.4
70861 | 2021-04-05 14:44 | 2.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2061 | μmol/L | 10.8317 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.022 | 110484.0449 | 218623.3555 | 27.3 | 43.4
70870 | 2021-04-05 14:44 | 3.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2794 | μmol/L | 10.8378 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.017 | 110447.4973 | 218611.6128 | 27.3 | 43.4
70879 | 2021-04-05 14:45 | 3.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2124 | μmol/L | 10.8439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.017 | 110427.8923 | 218604.1287 | 27.3 | 43.4
70888 | 2021-04-05 14:45 | 3.9986 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1797 | μmol/L | 10.8622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.011 | 110411.5372 | 218593.4552 | 27.3 | 43.4
70897 | 2021-04-05 14:45 | 4.3314 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2359 | μmol/L | 10.8622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.009 | 110377.0748 | 218591.9434 | 27.3 | 43.4
70906 | 2021-04-05 14:46 | 4.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3201 | μmol/L | 10.8622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.006 | 110369.6019 | 218591.7154 | 27.3 | 43.4
70915 | 2021-04-05 14:46 | 4.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2812 | μmol/L | 10.8683 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.005 | 110343.8357 | 218574.2502 | 27.3 | 43.4
70924 | 2021-04-05 14:46 | 5.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1925 | μmol/L | 10.8865 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.001 | 110315.38 | 218592.348 | 27.3 | 43.4
70933 | 2021-04-05 14:47 | 5.6646 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3438 | μmol/L | 10.8805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.998 | 110296.9075 | 218578.6406 | 27.3 | 43.4
70942 | 2021-04-05 14:47 | 5.9983 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3221 | μmol/L | 10.8926 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.994 | 110281.7748 | 218570.1952 | 27.3 | 43.4
70951 | 2021-04-05 14:47 | 6.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3394 | μmol/L | 10.8987 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.991 | 110262.9275 | 218562.1272 | 27.3 | 43.4
70960 | 2021-04-05 14:48 | 6.6652 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2443 | μmol/L | 10.9048 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.992 | 110226.8821 | 218568.4472 | 27.3 | 43.4
70969 | 2021-04-05 14:48 | 6.9982 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.374 | μmol/L | 10.9109 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.985 | 110217.8735 | 218560.9411 | 27.3 | 43.4
70978 | 2021-04-05 14:48 | 7.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3351 | μmol/L | 10.917 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.984 | 110204.2482 | 218560.0504 | 27.3 | 43.4
70987 | 2021-04-05 14:49 | 7.6647 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2962 | μmol/L | 10.9231 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.983 | 110178.2163 | 218555.434 | 27.3 | 43.4
70996 | 2021-04-05 14:49 | 7.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4368 | μmol/L | 10.9231 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.978 | 110160.2289 | 218554.0718 | 27.3 | 43.4
71005 | 2021-04-05 14:49 | 8.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2921 | μmol/L | 10.9414 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.976 | 110141.8583 | 218551.5426 | 27.3 | 43.4
71014 | 2021-04-05 14:50 | 8.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3376 | μmol/L | 10.9475 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.972 | 110126.6531 | 218540.2859 | 27.3 | 43.4
71023 | 2021-04-05 14:50 | 8.9982 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4326 | μmol/L | 10.9414 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.971 | 110103.2357 | 218543.6251 | 27.3 | 43.4
71032 | 2021-04-05 14:50 | 9.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3549 | μmol/L | 10.9536 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.969 | 110083.8602 | 218534.2381 | 27.3 | 43.4
71041 | 2021-04-05 14:51 | 9.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3442 | μmol/L | 10.9597 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.967 | 110063.9523 | 218532.0266 | 27.3 | 43.4
71050 | 2021-04-05 14:51 | 9.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4179 | μmol/L | 10.9658 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.962 | 110048.8436 | 218527.8722 | 27.3 | 43.4
71059 | 2021-04-05 14:51 | 10.3314 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3965 | μmol/L | 10.978 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.958 | 110037.7877 | 218530.4406 | 27.3 | 43.4
71068 | 2021-04-05 14:52 | 10.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4353 | μmol/L | 10.9719 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.959 | 110022.0402 | 218517.2261 | 27.3 | 43.4
71077 | 2021-04-05 14:52 | 10.9981 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2452 | μmol/L | 10.9841 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.961 | 110002.1339 | 218506.9237 | 27.3 | 43.4
71086 | 2021-04-05 14:52 | 11.3317 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4033 | μmol/L | 10.9902 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.953 | 109985.0852 | 218512.2043 | 27.3 | 43.4
71095 | 2021-04-05 14:53 | 11.6647 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2627 | μmol/L | 10.9902 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.958 | 109970.982 | 218505.1751 | 27.3 | 43.4
71104 | 2021-04-05 14:53 | 11.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4207 | μmol/L | 10.9963 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.95 | 109955.3313 | 218507.9969 | 27.3 | 43.4
71113 | 2021-04-05 14:53 | 12.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2588 | μmol/L | 11.0085 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.951 | 109934.3046 | 218498.2029 | 27.3 | 43.4
71122 | 2021-04-05 14:54 | 12.6652 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3607 | μmol/L | 11.0145 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.945 | 109920.1342 | 218478.0891 | 27.3 | 43.4
71131 | 2021-04-05 14:54 | 12.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2482 | μmol/L | 11.0145 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.949 | 109911.4496 | 218474.1486 | 27.3 | 43.4
71140 | 2021-04-05 14:54 | 13.3313 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2551 | μmol/L | 11.0267 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.944 | 109892.4046 | 218479.7519 | 27.3 | 43.4
71149 | 2021-04-05 14:55 | 13.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3395 | μmol/L | 11.0267 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.941 | 109872.5535 | 218477.1938 | 27.3 | 43.4
71158 | 2021-04-05 14:55 | 13.9981 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2901 | μmol/L | 11.0389 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.938 | 109863.9229 | 218467.6668 | 27.3 | 43.4
71167 | 2021-04-05 14:55 | 14.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.357 | μmol/L | 11.0328 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.938 | 109850.9849 | 218470.4275 | 27.3 | 43.4
71176 | 2021-04-05 14:56 | 14.6647 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2514 | μmol/L | 11.045 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.937 | 109830.2242 | 218463.5388 | 27.3 | 43.4
71185 | 2021-04-05 14:56 | 14.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.269 | μmol/L | 11.0511 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.934 | 109823.7926 | 218459.2629 | 27.3 | 43.4
71194 | 2021-04-05 14:56 | 15.3317 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3358 | μmol/L | 11.045 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.934 | 109797.9447 | 218448.3869 | 27.3 | 43.4
71203 | 2021-04-05 14:57 | 15.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2021 | μmol/L | 11.0572 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.934 | 109789.5526 | 218446.5109 | 27.3 | 43.4
71212 | 2021-04-05 14:57 | 15.998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4272 | μmol/L | 11.0572 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.926 | 109782.1981 | 218450.3918 | 27.3 | 43.4
71221 | 2021-04-05 14:57 | 16.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4272 | μmol/L | 11.0572 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.926 | 109755.6643 | 218440.1577 | 27.3 | 43.4
71230 | 2021-04-05 14:58 | 16.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2936 | μmol/L | 11.0694 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.926 | 109750.9008 | 218437.4579 | 27.3 | 43.4
71239 | 2021-04-05 14:58 | 16.998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2268 | μmol/L | 11.0755 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.926 | 109741.9356 | 218440.1854 | 27.3 | 43.4
71248 | 2021-04-05 14:58 | 17.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3006 | μmol/L | 11.0816 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.921 | 109728.3375 | 218425.9481 | 27.3 | 43.4
71257 | 2021-04-05 14:59 | 17.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3851 | μmol/L | 11.0816 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.918 | 109712.901 | 218426.1444 | 27.3 | 43.4
71266 | 2021-04-05 14:59 | 17.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2901 | μmol/L | 11.0877 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.919 | 109705.9257 | 218423.527 | 27.3 | 43.4
71275 | 2021-04-05 14:59 | 18.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2796 | μmol/L | 11.0938 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.917 | 109687.7745 | 218422.3971 | 27.3 | 43.4
71284 | 2021-04-05 15:00 | 18.6646 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3922 | μmol/L | 11.0938 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.913 | 109667.9257 | 218408.3992 | 27.3 | 43.4
71293 | 2021-04-05 15:00 | 18.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2586 | μmol/L | 11.106 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.913 | 109663.2449 | 218402.4108 | 27.3 | 43.4
71302 | 2021-04-05 15:00 | 19.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3431 | μmol/L | 11.106 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.91 | 109639.8963 | 218397.1506 | 27.3 | 43.4
71311 | 2021-04-05 15:01 | 19.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2377 | μmol/L | 11.1182 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.909 | 109635.3711 | 218393.8385 | 27.3 | 43.4
71320 | 2021-04-05 15:01 | 19.9981 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.294 | μmol/L | 11.1182 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.907 | 109626.9867 | 218390.7363 | 27.3 | 43.4
71329 | 2021-04-05 15:01 | 20.3314 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2658 | μmol/L | 11.1182 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.908 | 109620.5892 | 218382.1038 | 27.3 | 43.4
71338 | 2021-04-05 15:02 | 20.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3398 | μmol/L | 11.1243 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.903 | 109614.9474 | 218372.6515 | 27.3 | 43.4
71347 | 2021-04-05 15:02 | 20.9983 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1886 | μmol/L | 11.1304 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.906 | 109599.3071 | 218368.4939 | 27.3 | 43.4
71356 | 2021-04-05 15:02 | 21.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0375 | μmol/L | 11.1365 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.909 | 109595.2676 | 218366.4076 | 27.3 | 43.4
71365 | 2021-04-05 15:03 | 21.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1114 | μmol/L | 11.1426 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.904 | 109596.0989 | 218368.565 | 27.3 | 43.4
71374 | 2021-04-05 15:03 | 21.9986 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0833 | μmol/L | 11.1426 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.905 | 109599.9159 | 218352.4905 | 27.3 | 43.4
71383 | 2021-04-05 15:03 | 22.3316 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.8864 | μmol/L | 11.1426 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.912 | 109601.0873 | 218345.3088 | 27.3 | 43.4
71392 | 2021-04-05 15:04 | 22.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9322 | μmol/L | 11.1487 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.908 | 109593.1343 | 218351.0857 | 27.3 | 43.4
71401 | 2021-04-05 15:04 | 22.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9218 | μmol/L | 11.1547 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.906 | 109600.7803 | 218351.9755 | 27.3 | 43.4
71410 | 2021-04-05 15:04 | 23.3313 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.799 | μmol/L | 11.1608 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.908 | 109592.7467 | 218351.3427 | 27.3 | 43.4
71419 | 2021-04-05 15:05 | 23.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.8375 | μmol/L | 11.1547 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.909 | 109587.466 | 218339.2581 | 27.3 | 43.4
71428 | 2021-04-05 15:05 | 23.9981 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6658 | μmol/L | 11.173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.908 | 109589.9075 | 218341.1989 | 27.3 | 43.4
71437 | 2021-04-05 15:05 | 24.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6939 | μmol/L | 11.173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.907 | 109578.5442 | 218328.8467 | 27.3 | 43.4
71446 | 2021-04-05 15:06 | 24.6651 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.722 | μmol/L | 11.173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.906 | 109563.0016 | 218327.3232 | 27.3 | 43.4
71455 | 2021-04-05 15:06 | 24.998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6835 | μmol/L | 11.1791 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.905 | 109562.1942 | 218313.0382 | 27.3 | 43.4
71464 | 2021-04-05 15:06 | 25.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.3819 | μmol/L | 11.1913 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.911 | 109554.8833 | 218317.3201 | 27.3 | 43.4
71473 | 2021-04-05 15:07 | 25.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7012 | μmol/L | 11.1852 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.902 | 109549.4951 | 218313.1938 | 27.3 | 43.4
71482 | 2021-04-05 15:07 | 25.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.645 | μmol/L | 11.1852 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.904 | 109539.679 | 218311.287 | 27.3 | 43.4
71491 | 2021-04-05 15:07 | 26.3317 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6346 | μmol/L | 11.1913 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.902 | 109525.3216 | 218315.1264 | 27.3 | 43.4
71500 | 2021-04-05 15:08 | 26.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6243 | μmol/L | 11.1974 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.9 | 109517.6768 | 218309.0726 | 27.3 | 43.4
71509 | 2021-04-05 15:08 | 26.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.5296 | μmol/L | 11.2035 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.901 | 109507.4673 | 218309.4706 | 27.3 | 43.4
71518 | 2021-04-05 15:08 | 27.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6139 | μmol/L | 11.2035 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.898 | 109484.2646 | 218299.5454 | 27.3 | 43.4
71527 | 2021-04-05 15:09 | 27.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6598 | μmol/L | 11.2096 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.894 | 109479.677 | 218295.3815 | 27.3 | 43.4
71536 | 2021-04-05 15:09 | 27.9983 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7441 | μmol/L | 11.2096 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.891 | 109466.6798 | 218297.0712 | 27.3 | 43.4
71545 | 2021-04-05 15:09 | 28.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7441 | μmol/L | 11.2096 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.891 | 109449.6141 | 218288.7958 | 27.3 | 43.4
71554 | 2021-04-05 15:10 | 28.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6494 | μmol/L | 11.2157 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.892 | 109456.2395 | 218294.5338 | 27.3 | 43.4
71563 | 2021-04-05 15:10 | 28.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6672 | μmol/L | 11.2218 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.889 | 109439.7166 | 218298.8174 | 27.3 | 43.4
71572 | 2021-04-05 15:10 | 29.3314 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6288 | μmol/L | 11.2279 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.888 | 109433.2068 | 218287.0651 | 27.3 | 43.4
71581 | 2021-04-05 15:11 | 29.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7131 | μmol/L | 11.2279 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.885 | 109428.9548 | 218281.4455 | 27.3 | 43.4
71590 | 2021-04-05 15:11 | 29.9982 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6672 | μmol/L | 11.2218 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.889 | 109420.248 | 218278.9709 | 27.3 | 43.4
71599 | 2021-04-05 15:11 | 30.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4883 | μmol/L | 11.2279 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.893 | 109431.0935 | 218290.6623 | 27.3 | 43.4
71608 | 2021-04-05 15:12 | 30.6651 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4677 | μmol/L | 11.2401 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.889 | 109426.6469 | 218281.0163 | 27.3 | 43.4
71617 | 2021-04-05 15:12 | 30.998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.5061 | μmol/L | 11.234 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.89 | 109421.8455 | 218265.3271 | 27.3 | 43.4
71626 | 2021-04-05 15:12 | 31.3317 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.2889 | μmol/L | 11.2462 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.893 | 109425.2084 | 218274.7045 | 27.3 | 43.4
71635 | 2021-04-05 15:13 | 31.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.391 | μmol/L | 11.2523 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.887 | 109414.3417 | 218254.1684 | 27.3 | 43.4
71644 | 2021-04-05 15:13 | 31.9982 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4574 | μmol/L | 11.2462 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.887 | 109395.4364 | 218256.5284 | 27.3 | 43.4
71653 | 2021-04-05 15:13 | 32.3314 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.391 | μmol/L | 11.2523 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.887 | 109399.5117 | 218258.0434 | 27.3 | 43.4
71662 | 2021-04-05 15:14 | 32.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.391 | μmol/L | 11.2523 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.887 | 109378.9237 | 218241.7953 | 27.3 | 43.4
71671 | 2021-04-05 15:14 | 32.9986 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.5493 | μmol/L | 11.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.879 | 109379.5766 | 218247.6643 | 27.3 | 43.4
71680 | 2021-04-05 15:14 | 33.3313 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.3143 | μmol/L | 11.2645 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.885 | 109368.8796 | 218236.1332 | 27.3 | 43.4
71689 | 2021-04-05 15:15 | 33.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.3705 | μmol/L | 11.2645 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.883 | 109366.2268 | 218240.8684 | 27.3 | 43.4
71698 | 2021-04-05 15:15 | 33.9982 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.304 | μmol/L | 11.2706 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.883 | 109366.9346 | 218236.6704 | 27.3 | 43.4
71707 | 2021-04-05 15:15 | 34.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.3321 | μmol/L | 11.2706 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.882 | 109360.482 | 218239.1523 | 27.3 | 43.4
71716 | 2021-04-05 15:16 | 34.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.2376 | μmol/L | 11.2767 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 21.883 | 109362.9288 | 218219.7955 | 27.3 | 43.4