## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-05 15:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
70787 | 2021-04-05 14:41 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.737 | μmol/L | 10.9887 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 127594.9951 | 275151.8117 | 32.55 | 27.7
70796 | 2021-04-05 14:41 | 0.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.6368 | μmol/L | 11.007 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.911 | 127560.6099 | 275126.7394 | 32.55 | 27.7
70805 | 2021-04-05 14:42 | 0.67213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7676 | μmol/L | 11.0009 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.908 | 127538.8843 | 275102.2491 | 32.55 | 27.7
70814 | 2021-04-05 14:42 | 1.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8073 | μmol/L | 11.007 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.904 | 127502.8251 | 275071.1403 | 32.55 | 27.7
70823 | 2021-04-05 14:42 | 1.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.6918 | μmol/L | 11.0192 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.904 | 127470.2559 | 275049.7772 | 32.55 | 27.7
70832 | 2021-04-05 14:43 | 1.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.5764 | μmol/L | 11.0314 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.904 | 127447.4677 | 275029.5334 | 32.55 | 27.7
70841 | 2021-04-05 14:43 | 2.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7379 | μmol/L | 11.0375 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.895 | 127415.2103 | 275012.026 | 32.55 | 27.7
70850 | 2021-04-05 14:43 | 2.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7623 | μmol/L | 11.0375 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.894 | 127388.9242 | 275003.3091 | 32.55 | 27.7
70859 | 2021-04-05 14:44 | 2.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8021 | μmol/L | 11.0436 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.89 | 127369.3303 | 274985.7179 | 32.55 | 27.7
70868 | 2021-04-05 14:44 | 3.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7687 | μmol/L | 11.0497 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.889 | 127335.2504 | 274979.3235 | 32.55 | 27.7
70877 | 2021-04-05 14:44 | 3.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8085 | μmol/L | 11.0558 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.885 | 127308.1186 | 274955.217 | 32.55 | 27.7
70886 | 2021-04-05 14:45 | 3.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7752 | μmol/L | 11.0619 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.884 | 127295.9901 | 274963.2763 | 32.55 | 27.7
70895 | 2021-04-05 14:45 | 4.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9126 | μmol/L | 11.068 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.876 | 127273.0709 | 274947.2075 | 32.55 | 27.7
70904 | 2021-04-05 14:45 | 4.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8305 | μmol/L | 11.0741 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.877 | 127257.6438 | 274940.8879 | 32.55 | 27.7
70913 | 2021-04-05 14:46 | 4.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7727 | μmol/L | 11.0802 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.877 | 127237.6213 | 274928.9667 | 32.55 | 27.7
70922 | 2021-04-05 14:46 | 5.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8703 | μmol/L | 11.0802 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.873 | 127214.6204 | 274919.7588 | 32.55 | 27.7
70931 | 2021-04-05 14:46 | 5.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.837 | μmol/L | 11.0863 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.872 | 127191.9196 | 274912.7363 | 32.55 | 27.7
70940 | 2021-04-05 14:47 | 5.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.868 | μmol/L | 11.0985 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.866 | 127176.9463 | 274909.5226 | 32.55 | 27.7
70949 | 2021-04-05 14:47 | 6.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7282 | μmol/L | 11.1107 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.867 | 127148.3233 | 274880.7732 | 32.55 | 27.7
70958 | 2021-04-05 14:47 | 6.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8746 | μmol/L | 11.1107 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.861 | 127129.6557 | 274879.386 | 32.55 | 27.7
70967 | 2021-04-05 14:48 | 6.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9234 | μmol/L | 11.1107 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.859 | 127107.0626 | 274882.3397 | 32.55 | 27.7
70976 | 2021-04-05 14:48 | 7.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8812 | μmol/L | 11.1229 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.856 | 127079.9517 | 274855.8344 | 32.55 | 27.7
70985 | 2021-04-05 14:48 | 7.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0854 | μmol/L | 11.1168 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.85 | 127054.4967 | 274856.8781 | 32.55 | 27.7
70994 | 2021-04-05 14:49 | 7.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0677 | μmol/L | 11.129 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.846 | 127037.1516 | 274840.1191 | 32.55 | 27.7
71003 | 2021-04-05 14:49 | 8.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0677 | μmol/L | 11.129 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.846 | 127009.677 | 274840.2286 | 32.55 | 27.7
71012 | 2021-04-05 14:49 | 8.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0677 | μmol/L | 11.129 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.846 | 126995.0804 | 274827.4126 | 32.55 | 27.7
71021 | 2021-04-05 14:50 | 8.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0588 | μmol/L | 11.1351 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.844 | 126975.0809 | 274823.3378 | 32.55 | 27.7
71030 | 2021-04-05 14:50 | 9.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.05 | μmol/L | 11.1412 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.842 | 126960.2539 | 274815.4516 | 32.55 | 27.7
71039 | 2021-04-05 14:50 | 9.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0567 | μmol/L | 11.1534 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.837 | 126953.5248 | 274824.4184 | 32.55 | 27.7
71048 | 2021-04-05 14:51 | 9.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9502 | μmol/L | 11.1595 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.839 | 126937.1973 | 274820.5683 | 32.55 | 27.7
71057 | 2021-04-05 14:51 | 10.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9746 | μmol/L | 11.1595 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.838 | 126920.5275 | 274812.9398 | 32.55 | 27.7
71066 | 2021-04-05 14:51 | 10.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9814 | μmol/L | 11.1717 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.833 | 126896.8935 | 274805.6737 | 32.55 | 27.7
71075 | 2021-04-05 14:52 | 10.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9814 | μmol/L | 11.1717 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.833 | 126876.632 | 274795.9797 | 32.55 | 27.7
71084 | 2021-04-05 14:52 | 11.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0547 | μmol/L | 11.1717 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.83 | 126857.8618 | 274782.378 | 32.55 | 27.7
71093 | 2021-04-05 14:52 | 11.3389 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0703 | μmol/L | 11.1778 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.827 | 126843.5926 | 274768.2659 | 32.55 | 27.7
71102 | 2021-04-05 14:53 | 11.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0615 | μmol/L | 11.1839 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.825 | 126830.8251 | 274769.3753 | 32.55 | 27.7
71111 | 2021-04-05 14:53 | 12.005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1436 | μmol/L | 11.1778 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.824 | 126807.6403 | 274745.1586 | 32.55 | 27.7
71120 | 2021-04-05 14:53 | 12.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1348 | μmol/L | 11.1839 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.822 | 126795.2285 | 274749.3879 | 32.55 | 27.7
71129 | 2021-04-05 14:54 | 12.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1505 | μmol/L | 11.19 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.819 | 126780.1796 | 274745.5948 | 32.55 | 27.7
71138 | 2021-04-05 14:54 | 13.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1261 | μmol/L | 11.19 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.82 | 126767.6369 | 274742.2619 | 32.55 | 27.7
71147 | 2021-04-05 14:54 | 13.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1574 | μmol/L | 11.2022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.814 | 126763.1194 | 274745.8537 | 32.55 | 27.7
71156 | 2021-04-05 14:55 | 13.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1085 | μmol/L | 11.2022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.816 | 126748.3451 | 274728.6918 | 32.55 | 27.7
71165 | 2021-04-05 14:55 | 14.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.133 | μmol/L | 11.2022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.815 | 126739.5822 | 274722.3017 | 32.55 | 27.7
71174 | 2021-04-05 14:55 | 14.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1085 | μmol/L | 11.2022 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.816 | 126720.3298 | 274710.0602 | 32.55 | 27.7
71183 | 2021-04-05 14:56 | 14.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.091 | μmol/L | 11.2144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.812 | 126703.5561 | 274712.2434 | 32.55 | 27.7
71192 | 2021-04-05 14:56 | 15.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2465 | μmol/L | 11.2083 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.808 | 126687.2426 | 274700.1245 | 32.55 | 27.7
71201 | 2021-04-05 14:56 | 15.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2377 | μmol/L | 11.2144 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.806 | 126668.1785 | 274693.3364 | 32.55 | 27.7
71210 | 2021-04-05 14:57 | 15.6722 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1469 | μmol/L | 11.2267 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.805 | 126641.5464 | 274699.5796 | 32.55 | 27.7
71219 | 2021-04-05 14:57 | 16.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0491 | μmol/L | 11.2267 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.809 | 126622.6506 | 274702.2523 | 32.55 | 27.7
71228 | 2021-04-05 14:57 | 16.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3094 | μmol/L | 11.2328 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.796 | 126602.7524 | 274685.2109 | 32.55 | 27.7
71237 | 2021-04-05 14:58 | 16.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1871 | μmol/L | 11.2328 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.801 | 126588.2145 | 274669.377 | 32.55 | 27.7
71246 | 2021-04-05 14:58 | 17.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1294 | μmol/L | 11.2389 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.801 | 126572.6962 | 274680.5948 | 32.55 | 27.7
71255 | 2021-04-05 14:58 | 17.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1696 | μmol/L | 11.245 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.797 | 126573.2442 | 274665.65 | 32.55 | 27.7
71264 | 2021-04-05 14:59 | 17.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2675 | μmol/L | 11.245 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.793 | 126555.4768 | 274662.1611 | 32.55 | 27.7
71273 | 2021-04-05 14:59 | 18.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2675 | μmol/L | 11.245 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.793 | 126543.1172 | 274651.3527 | 32.55 | 27.7
71282 | 2021-04-05 14:59 | 18.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.1522 | μmol/L | 11.2572 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.793 | 126520.1756 | 274637.1231 | 32.55 | 27.7
71291 | 2021-04-05 15:00 | 18.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2501 | μmol/L | 11.2572 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.789 | 126490.5123 | 274651.7571 | 32.55 | 27.7
71300 | 2021-04-05 15:00 | 19.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.348 | μmol/L | 11.2572 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.785 | 126451.1452 | 274641.0277 | 32.55 | 27.7
71309 | 2021-04-05 15:00 | 19.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.6333 | μmol/L | 11.2633 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.771 | 126389.4465 | 274645.7014 | 32.55 | 27.7
71318 | 2021-04-05 15:01 | 19.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.854 | μmol/L | 11.2633 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.762 | 126315.4151 | 274628.8562 | 32.55 | 27.7
71327 | 2021-04-05 15:01 | 20.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.968 | μmol/L | 11.2694 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.755 | 126280.0539 | 274616.6445 | 32.55 | 27.7
71336 | 2021-04-05 15:01 | 20.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0171 | μmol/L | 11.2694 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.753 | 126264.53 | 274613.0572 | 32.55 | 27.7
71345 | 2021-04-05 15:02 | 20.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9839 | μmol/L | 11.2755 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.752 | 126251.4476 | 274600.7115 | 32.55 | 27.7
71354 | 2021-04-05 15:02 | 21.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.8612 | μmol/L | 11.2755 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.757 | 126247.6134 | 274609.8905 | 32.55 | 27.7
71363 | 2021-04-05 15:02 | 21.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9103 | μmol/L | 11.2755 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.755 | 126243.4118 | 274600.5453 | 32.55 | 27.7
71372 | 2021-04-05 15:03 | 21.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7948 | μmol/L | 11.2877 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.755 | 126245.2179 | 274598.2377 | 32.55 | 27.7
71381 | 2021-04-05 15:03 | 22.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7703 | μmol/L | 11.2877 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.756 | 126243.1918 | 274591.273 | 32.55 | 27.7
71390 | 2021-04-05 15:03 | 22.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7126 | μmol/L | 11.2938 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.756 | 126238.2692 | 274578.2493 | 32.55 | 27.7
71399 | 2021-04-05 15:04 | 22.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5237 | μmol/L | 11.306 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.759 | 126249.6896 | 274575.7366 | 32.55 | 27.7
71408 | 2021-04-05 15:04 | 23.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5568 | μmol/L | 11.2999 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.76 | 126263.0462 | 274586.7959 | 32.55 | 27.7
71417 | 2021-04-05 15:04 | 23.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5323 | μmol/L | 11.2999 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.761 | 126280.4782 | 274582.358 | 32.55 | 27.7
71426 | 2021-04-05 15:05 | 23.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3032 | μmol/L | 11.306 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.768 | 126303.6965 | 274561.6711 | 32.55 | 27.7
71435 | 2021-04-05 15:05 | 24.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0657 | μmol/L | 11.3182 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.773 | 126325.607 | 274567.0582 | 32.55 | 27.7
71444 | 2021-04-05 15:05 | 24.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.952 | μmol/L | 11.3121 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.78 | 126348.5883 | 274557.0012 | 32.55 | 27.7
71453 | 2021-04-05 15:06 | 24.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8126 | μmol/L | 11.3243 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.781 | 126367.4031 | 274547.713 | 32.55 | 27.7
71462 | 2021-04-05 15:06 | 25.005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9679 | μmol/L | 11.3182 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.777 | 126366.07 | 274549.8032 | 32.55 | 27.7
71471 | 2021-04-05 15:06 | 25.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9434 | μmol/L | 11.3182 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.778 | 126361.4506 | 274550.8297 | 32.55 | 27.7
71480 | 2021-04-05 15:07 | 25.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8945 | μmol/L | 11.3182 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.78 | 126344.3936 | 274540.5252 | 32.55 | 27.7
71489 | 2021-04-05 15:07 | 26.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9104 | μmol/L | 11.3243 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.777 | 126341.9438 | 274536.0358 | 32.55 | 27.7
71498 | 2021-04-05 15:07 | 26.3389 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8859 | μmol/L | 11.3243 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.778 | 126333.1067 | 274522.3229 | 32.55 | 27.7
71507 | 2021-04-05 15:08 | 26.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.0082 | μmol/L | 11.3243 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.773 | 126326.4941 | 274531.9536 | 32.55 | 27.7
71516 | 2021-04-05 15:08 | 27.005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9262 | μmol/L | 11.3304 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.774 | 126312.934 | 274520.5153 | 32.55 | 27.7
71525 | 2021-04-05 15:08 | 27.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8773 | μmol/L | 11.3304 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.776 | 126300.8597 | 274535.3183 | 32.55 | 27.7
71534 | 2021-04-05 15:09 | 27.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8932 | μmol/L | 11.3365 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.773 | 126300.586 | 274533.1524 | 32.55 | 27.7
71543 | 2021-04-05 15:09 | 28.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8932 | μmol/L | 11.3365 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.773 | 126298.3321 | 274523.5824 | 32.55 | 27.7
71552 | 2021-04-05 15:09 | 28.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7624 | μmol/L | 11.3426 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.776 | 126284.6215 | 274521.4461 | 32.55 | 27.7
71561 | 2021-04-05 15:10 | 28.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8601 | μmol/L | 11.3426 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.772 | 126282.9831 | 274517.9249 | 32.55 | 27.7
71570 | 2021-04-05 15:10 | 29.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.909 | μmol/L | 11.3426 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.77 | 126273.4219 | 274508.6604 | 32.55 | 27.7
71579 | 2021-04-05 15:10 | 29.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.876 | μmol/L | 11.3487 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.769 | 126265.0869 | 274507.4334 | 32.55 | 27.7
71588 | 2021-04-05 15:11 | 29.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8271 | μmol/L | 11.3487 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.771 | 126264.4748 | 274499.1171 | 32.55 | 27.7
71597 | 2021-04-05 15:11 | 30.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8271 | μmol/L | 11.3487 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.771 | 126248.6224 | 274492.9179 | 32.55 | 27.7
71606 | 2021-04-05 15:11 | 30.3389 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7122 | μmol/L | 11.3609 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.771 | 126234.8976 | 274489.3136 | 32.55 | 27.7
71615 | 2021-04-05 15:12 | 30.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.9983 | μmol/L | 11.3487 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.764 | 126235.2131 | 274483.3573 | 32.55 | 27.7
71624 | 2021-04-05 15:12 | 31.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7941 | μmol/L | 11.3548 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.77 | 126225.8542 | 274469.6859 | 32.55 | 27.7
71633 | 2021-04-05 15:12 | 31.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8589 | μmol/L | 11.3609 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.765 | 126220.6522 | 274470.4967 | 32.55 | 27.7
71642 | 2021-04-05 15:13 | 31.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.8919 | μmol/L | 11.3548 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.766 | 126217.2249 | 274474.9953 | 32.55 | 27.7
71651 | 2021-04-05 15:13 | 32.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.81 | μmol/L | 11.3609 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.767 | 126204.6688 | 274464.4457 | 32.55 | 27.7
71660 | 2021-04-05 15:13 | 32.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7525 | μmol/L | 11.367 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.767 | 126201.8736 | 274473.0522 | 32.55 | 27.7
71669 | 2021-04-05 15:14 | 32.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.777 | μmol/L | 11.367 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.766 | 126196.1856 | 274465.0253 | 32.55 | 27.7
71678 | 2021-04-05 15:14 | 33.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.744 | μmol/L | 11.3731 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.765 | 126193.8244 | 274462.8642 | 32.55 | 27.7
71687 | 2021-04-05 15:14 | 33.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.7195 | μmol/L | 11.3731 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.766 | 126187.0483 | 274454.1336 | 32.55 | 27.7
71696 | 2021-04-05 15:15 | 33.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.6951 | μmol/L | 11.3731 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.767 | 126177.3401 | 274442.9305 | 32.55 | 27.7
71705 | 2021-04-05 15:15 | 34.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.6292 | μmol/L | 11.3853 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.765 | 126180.8648 | 274432.6514 | 32.55 | 27.7
71714 | 2021-04-05 15:15 | 34.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 288.6866 | μmol/L | 11.3792 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.765 | 126172.0894 | 274430.7925 | 32.55 | 27.7