## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 11:43

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
82454 | 2021-04-09 10:14 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6566 | μmol/L | 10.0895 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.4 | 147054.1278 | 312739.5358 | 59.9307 | 38.1
82463 | 2021-04-09 10:15 | 0.33144 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5719 | μmol/L | 10.1138 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.394 | 146987.4707 | 312700.1445 | 59.9307 | 38.1
82472 | 2021-04-09 10:15 | 0.66445 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6158 | μmol/L | 10.1321 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.385 | 146907.5201 | 312681.6135 | 59.9307 | 38.1
82481 | 2021-04-09 10:15 | 0.99831 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6598 | μmol/L | 10.1504 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.376 | 146829.8311 | 312634.7682 | 59.9307 | 38.1
82490 | 2021-04-09 10:16 | 1.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5754 | μmol/L | 10.1747 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.37 | 146759.4304 | 312614.1435 | 59.9307 | 38.1
82499 | 2021-04-09 10:16 | 1.6649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5388 | μmol/L | 10.1991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.362 | 146675.3269 | 312565.2157 | 59.9307 | 38.1
82508 | 2021-04-09 10:16 | 1.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.649 | μmol/L | 10.2052 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.355 | 146607.3793 | 312537.0729 | 59.9307 | 38.1
82517 | 2021-04-09 10:17 | 2.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5319 | μmol/L | 10.2357 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.348 | 146529.1755 | 312516.7332 | 59.9307 | 38.1
82526 | 2021-04-09 10:17 | 2.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3672 | μmol/L | 10.2661 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.343 | 146472.4009 | 312470.4842 | 59.9307 | 38.1
82535 | 2021-04-09 10:17 | 2.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.4446 | μmol/L | 10.2783 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.335 | 146385.7842 | 312411.1153 | 59.9307 | 38.1
82544 | 2021-04-09 10:18 | 3.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.4414 | μmol/L | 10.2966 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.328 | 146322.9231 | 312372.9499 | 59.9307 | 38.1
82553 | 2021-04-09 10:18 | 3.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3189 | μmol/L | 10.3148 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.326 | 146339.6133 | 312340.1289 | 59.9307 | 38.1
82562 | 2021-04-09 10:18 | 3.998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.4203 | μmol/L | 10.327 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.317 | 146257.0478 | 312293.5517 | 59.9307 | 38.1
82571 | 2021-04-09 10:19 | 4.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.4889 | μmol/L | 10.3453 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.307 | 146181.3111 | 312269.2546 | 59.9307 | 38.1
82580 | 2021-04-09 10:19 | 4.6647 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3904 | μmol/L | 10.3636 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.304 | 146102.1263 | 312213.8356 | 59.9307 | 38.1
82589 | 2021-04-09 10:19 | 4.9977 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3548 | μmol/L | 10.3879 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.296 | 146023.8827 | 312169.362 | 59.9307 | 38.1
82598 | 2021-04-09 10:20 | 5.3315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.4175 | μmol/L | 10.394 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.291 | 145948.2864 | 312129.9106 | 59.9307 | 38.1
82607 | 2021-04-09 10:20 | 5.6644 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3492 | μmol/L | 10.4245 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.282 | 145879.5353 | 312102.2223 | 59.9307 | 38.1
82616 | 2021-04-09 10:20 | 5.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3315 | μmol/L | 10.4367 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.278 | 145797.2178 | 312048.5762 | 59.9307 | 38.1
82625 | 2021-04-09 10:21 | 6.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.4421 | μmol/L | 10.4428 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.271 | 145730.9901 | 312005.6889 | 59.9307 | 38.1
82634 | 2021-04-09 10:21 | 6.6649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3113 | μmol/L | 10.4671 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.267 | 145668.2244 | 311962.548 | 59.9307 | 38.1
82643 | 2021-04-09 10:21 | 6.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3176 | μmol/L | 10.4793 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.262 | 145606.0055 | 311932.2993 | 59.9307 | 38.1
82652 | 2021-04-09 10:22 | 7.3315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3717 | μmol/L | 10.4915 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.255 | 145536.7343 | 311885.6037 | 59.9307 | 38.1
82661 | 2021-04-09 10:22 | 7.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.4585 | μmol/L | 10.4976 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.249 | 145486.6454 | 311864.3491 | 59.9307 | 38.1
82670 | 2021-04-09 10:22 | 7.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3367 | μmol/L | 10.5159 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.247 | 145413.1991 | 311827.207 | 59.9307 | 38.1
82679 | 2021-04-09 10:23 | 8.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2475 | μmol/L | 10.528 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.246 | 145369.1276 | 311789.6275 | 59.9307 | 38.1
82688 | 2021-04-09 10:23 | 8.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3105 | μmol/L | 10.5341 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.241 | 145314.0946 | 311748.7593 | 59.9307 | 38.1
82697 | 2021-04-09 10:23 | 8.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2844 | μmol/L | 10.5524 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.235 | 145248.6025 | 311710.3304 | 59.9307 | 38.1
82706 | 2021-04-09 10:24 | 9.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2105 | μmol/L | 10.5707 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.231 | 145188.9726 | 311668.9261 | 59.9307 | 38.1
82715 | 2021-04-09 10:24 | 9.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2735 | μmol/L | 10.5768 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.226 | 145126.4474 | 311638.8827 | 59.9307 | 38.1
82724 | 2021-04-09 10:24 | 9.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2323 | μmol/L | 10.589 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.223 | 145059.4039 | 311600.6528 | 59.9307 | 38.1
82733 | 2021-04-09 10:25 | 10.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2781 | μmol/L | 10.6072 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.214 | 144991.7891 | 311539.5131 | 59.9307 | 38.1
82742 | 2021-04-09 10:25 | 10.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3 | μmol/L | 10.6255 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.206 | 144934.0722 | 311515.545 | 59.9307 | 38.1
82751 | 2021-04-09 10:25 | 10.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3153 | μmol/L | 10.6316 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.203 | 144867.1585 | 311464.9772 | 59.9307 | 38.1
82760 | 2021-04-09 10:26 | 11.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.1939 | μmol/L | 10.6499 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.201 | 144808.3367 | 311447.958 | 59.9307 | 38.1
82769 | 2021-04-09 10:26 | 11.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.1768 | μmol/L | 10.6621 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.197 | 144746.5814 | 311385.6984 | 59.9307 | 38.1
82778 | 2021-04-09 10:26 | 11.998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.1272 | μmol/L | 10.6803 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.192 | 144687.6619 | 311366.3406 | 59.9307 | 38.1
82787 | 2021-04-09 10:27 | 12.3311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.1904 | μmol/L | 10.6864 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.187 | 144624.6609 | 311321.7514 | 59.9307 | 38.1
82796 | 2021-04-09 10:27 | 12.6649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.117 | μmol/L | 10.7047 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.183 | 144573.058 | 311303.1879 | 59.9307 | 38.1
82805 | 2021-04-09 10:27 | 12.9977 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.0283 | μmol/L | 10.7169 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.182 | 144512.7222 | 311254.3486 | 59.9307 | 38.1
82814 | 2021-04-09 10:28 | 13.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.1632 | μmol/L | 10.723 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.174 | 144457.3256 | 311222.1899 | 59.9307 | 38.1
82823 | 2021-04-09 10:28 | 13.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.0899 | μmol/L | 10.7413 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.17 | 144400.4189 | 311185.1893 | 59.9307 | 38.1
82832 | 2021-04-09 10:28 | 13.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2095 | μmol/L | 10.7413 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.165 | 144347.0328 | 311160.4012 | 59.9307 | 38.1
82841 | 2021-04-09 10:29 | 14.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.0646 | μmol/L | 10.7595 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.164 | 144287.1388 | 311115.8635 | 59.9307 | 38.1
82850 | 2021-04-09 10:29 | 14.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.0955 | μmol/L | 10.7717 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.158 | 144228.1428 | 311078.6061 | 59.9307 | 38.1
82859 | 2021-04-09 10:29 | 14.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.0955 | μmol/L | 10.7717 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.158 | 144169.5769 | 311038.5347 | 59.9307 | 38.1
82868 | 2021-04-09 10:30 | 15.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2067 | μmol/L | 10.7778 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.151 | 144116.4749 | 311007.6469 | 59.9307 | 38.1
82877 | 2021-04-09 10:30 | 15.6644 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.1181 | μmol/L | 10.79 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.15 | 144063.3204 | 310974.5028 | 59.9307 | 38.1
82886 | 2021-04-09 10:30 | 15.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.1969 | μmol/L | 10.8022 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.142 | 144014.1646 | 310941.3377 | 59.9307 | 38.1
82895 | 2021-04-09 10:31 | 16.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2603 | μmol/L | 10.8083 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.137 | 143960.6517 | 310909.5651 | 59.9307 | 38.1
82904 | 2021-04-09 10:31 | 16.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2041 | μmol/L | 10.8144 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.137 | 143895.6533 | 310857.2519 | 59.9307 | 38.1
82913 | 2021-04-09 10:31 | 16.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2592 | μmol/L | 10.8265 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.13 | 143843.5693 | 310829.081 | 59.9307 | 38.1
82922 | 2021-04-09 10:32 | 17.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2508 | μmol/L | 10.8326 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.128 | 143788.6797 | 310787.8788 | 59.9307 | 38.1
82931 | 2021-04-09 10:32 | 17.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3622 | μmol/L | 10.8387 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.121 | 143718.4555 | 310756.5386 | 59.9307 | 38.1
82940 | 2021-04-09 10:32 | 17.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.4017 | μmol/L | 10.8448 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.117 | 143652.7163 | 310718.5004 | 59.9307 | 38.1
82949 | 2021-04-09 10:33 | 18.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5049 | μmol/L | 10.857 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.108 | 143602.314 | 310685.8504 | 59.9307 | 38.1
82958 | 2021-04-09 10:33 | 18.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.433 | μmol/L | 10.857 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.111 | 143549.0779 | 310647.361 | 59.9307 | 38.1
82967 | 2021-04-09 10:33 | 18.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.4882 | μmol/L | 10.8692 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.104 | 143487.9599 | 310614.0136 | 59.9307 | 38.1
82976 | 2021-04-09 10:34 | 19.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5758 | μmol/L | 10.8753 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.098 | 143428.6127 | 310571.6205 | 59.9307 | 38.1
82985 | 2021-04-09 10:34 | 19.6649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5592 | μmol/L | 10.8875 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.094 | 143366.5393 | 310539.1253 | 59.9307 | 38.1
82994 | 2021-04-09 10:34 | 19.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6229 | μmol/L | 10.8936 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.089 | 143314.1639 | 310521.3396 | 59.9307 | 38.1
83003 | 2021-04-09 10:35 | 20.3317 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6303 | μmol/L | 10.9057 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.084 | 143259.0916 | 310470.3289 | 59.9307 | 38.1
83012 | 2021-04-09 10:35 | 20.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5419 | μmol/L | 10.9179 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.083 | 143201.182 | 310438.5448 | 59.9307 | 38.1
83021 | 2021-04-09 10:35 | 20.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6701 | μmol/L | 10.9118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.08 | 143143.3817 | 310403.4006 | 59.9307 | 38.1
83030 | 2021-04-09 10:36 | 21.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6776 | μmol/L | 10.924 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.075 | 143102.9305 | 310369.362 | 59.9307 | 38.1
83039 | 2021-04-09 10:36 | 21.6652 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6933 | μmol/L | 10.9301 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.072 | 143047.106 | 310325.3412 | 59.9307 | 38.1
83048 | 2021-04-09 10:36 | 21.998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6851 | μmol/L | 10.9362 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.07 | 142994.4073 | 310295.8137 | 59.9307 | 38.1
83057 | 2021-04-09 10:37 | 22.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5884 | μmol/L | 10.9545 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.067 | 142947.4717 | 310271.0417 | 59.9307 | 38.1
83066 | 2021-04-09 10:37 | 22.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5802 | μmol/L | 10.9606 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.065 | 142908.9067 | 310235.0309 | 59.9307 | 38.1
83075 | 2021-04-09 10:37 | 22.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.7002 | μmol/L | 10.9606 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.06 | 142852.3379 | 310210.7251 | 59.9307 | 38.1
83084 | 2021-04-09 10:38 | 23.3311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6839 | μmol/L | 10.9728 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.056 | 142809.8581 | 310170.6346 | 59.9307 | 38.1
83093 | 2021-04-09 10:38 | 23.6649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8279 | μmol/L | 10.9728 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.05 | 142752.098 | 310140.151 | 59.9307 | 38.1
83102 | 2021-04-09 10:38 | 23.9977 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8116 | μmol/L | 10.9849 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.046 | 142706.4047 | 310114.4065 | 59.9307 | 38.1
83111 | 2021-04-09 10:39 | 24.3315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8356 | μmol/L | 10.9849 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.045 | 142662.3699 | 310078.345 | 59.9307 | 38.1
83120 | 2021-04-09 10:39 | 24.6652 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8433 | μmol/L | 10.9971 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.04 | 142614.2789 | 310057.1874 | 59.9307 | 38.1
83129 | 2021-04-09 10:39 | 24.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8592 | μmol/L | 11.0032 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.037 | 142563.9365 | 310006.6769 | 59.9307 | 38.1
83138 | 2021-04-09 10:40 | 25.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8751 | μmol/L | 11.0093 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.034 | 142523.0826 | 309976.7923 | 59.9307 | 38.1
83147 | 2021-04-09 10:40 | 25.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8991 | μmol/L | 11.0093 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.033 | 142480.871 | 309960.8209 | 59.9307 | 38.1
83156 | 2021-04-09 10:40 | 25.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.803 | μmol/L | 11.0093 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.037 | 142454.3479 | 309933.0907 | 59.9307 | 38.1
83165 | 2021-04-09 10:41 | 26.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8588 | μmol/L | 11.0215 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.03 | 142406.469 | 309883.9806 | 59.9307 | 38.1
83174 | 2021-04-09 10:41 | 26.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.7945 | μmol/L | 11.0337 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.028 | 142368.1643 | 309860.7172 | 59.9307 | 38.1
83183 | 2021-04-09 10:41 | 26.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8988 | μmol/L | 11.0276 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.026 | 142327.7552 | 309826.6493 | 59.9307 | 38.1
83192 | 2021-04-09 10:42 | 27.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8345 | μmol/L | 11.0398 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.024 | 142272.3718 | 309790.7504 | 59.9307 | 38.1
83201 | 2021-04-09 10:42 | 27.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9066 | μmol/L | 11.0398 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.021 | 142225.6329 | 309753.5626 | 59.9307 | 38.1
83210 | 2021-04-09 10:42 | 27.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8102 | μmol/L | 11.0581 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.018 | 142198.3244 | 309731.4777 | 59.9307 | 38.1
83219 | 2021-04-09 10:43 | 28.3311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9866 | μmol/L | 11.052 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.013 | 142152.942 | 309702.4689 | 59.9307 | 38.1
83228 | 2021-04-09 10:43 | 28.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.8983 | μmol/L | 11.0641 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.012 | 142108.9942 | 309679.363 | 59.9307 | 38.1
83237 | 2021-04-09 10:43 | 28.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9223 | μmol/L | 11.0641 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.011 | 142067.9538 | 309642.4865 | 59.9307 | 38.1
83246 | 2021-04-09 10:44 | 29.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9945 | μmol/L | 11.0641 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.008 | 142026.1756 | 309617.755 | 59.9307 | 38.1
83255 | 2021-04-09 10:44 | 29.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0827 | μmol/L | 11.0702 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.002 | 141969.2278 | 309577.8383 | 59.9307 | 38.1
83264 | 2021-04-09 10:44 | 29.998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0987 | μmol/L | 11.0763 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.999 | 141933.3611 | 309563.1249 | 59.9307 | 38.1
83273 | 2021-04-09 10:45 | 30.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1468 | μmol/L | 11.0763 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.997 | 141881.4312 | 309526.8205 | 59.9307 | 38.1
83282 | 2021-04-09 10:45 | 30.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1869 | μmol/L | 11.0824 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.993 | 141848.2356 | 309490.3904 | 59.9307 | 38.1
83291 | 2021-04-09 10:45 | 30.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1307 | μmol/L | 11.0885 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.993 | 141805.8974 | 309460.0527 | 59.9307 | 38.1
83300 | 2021-04-09 10:46 | 31.3317 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1468 | μmol/L | 11.0946 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.99 | 141774.9124 | 309447.9664 | 59.9307 | 38.1
83309 | 2021-04-09 10:46 | 31.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1147 | μmol/L | 11.1007 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.989 | 141728.8245 | 309431.5939 | 59.9307 | 38.1
83318 | 2021-04-09 10:46 | 31.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2029 | μmol/L | 11.1068 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.983 | 141695.9076 | 309396.5059 | 59.9307 | 38.1
83327 | 2021-04-09 10:47 | 32.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1789 | μmol/L | 11.1068 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.984 | 141659.5871 | 309351.8238 | 59.9307 | 38.1
83336 | 2021-04-09 10:47 | 32.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2993 | μmol/L | 11.1068 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.979 | 141618.4419 | 309325.4259 | 59.9307 | 38.1
83345 | 2021-04-09 10:47 | 32.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2431 | μmol/L | 11.1129 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.979 | 141577.79 | 309297.6477 | 59.9307 | 38.1
83354 | 2021-04-09 10:48 | 33.3317 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2271 | μmol/L | 11.1251 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.975 | 141547.2315 | 309282.3868 | 59.9307 | 38.1
83363 | 2021-04-09 10:48 | 33.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3074 | μmol/L | 11.119 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.974 | 141503.2008 | 309241.8398 | 59.9307 | 38.1
83372 | 2021-04-09 10:48 | 33.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2271 | μmol/L | 11.1251 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.975 | 141486.2284 | 309234.302 | 59.9307 | 38.1
83381 | 2021-04-09 10:49 | 34.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.195 | μmol/L | 11.1312 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.974 | 141436.1803 | 309196.7732 | 59.9307 | 38.1
83390 | 2021-04-09 10:49 | 34.6649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2111 | μmol/L | 11.1373 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.971 | 141405.6104 | 309165.8394 | 59.9307 | 38.1
83399 | 2021-04-09 10:49 | 34.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2111 | μmol/L | 11.1373 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.971 | 141376.2359 | 309144.1192 | 59.9307 | 38.1
83408 | 2021-04-09 10:50 | 35.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2593 | μmol/L | 11.1373 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.969 | 141344.9743 | 309116.0217 | 59.9307 | 38.1
83417 | 2021-04-09 10:50 | 35.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1952 | μmol/L | 11.1494 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.967 | 141309.6849 | 309101.7565 | 59.9307 | 38.1
83426 | 2021-04-09 10:50 | 35.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2193 | μmol/L | 11.1494 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.966 | 141284.8941 | 309054.7331 | 59.9307 | 38.1
83435 | 2021-04-09 10:51 | 36.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2916 | μmol/L | 11.1494 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.963 | 141252.9511 | 309023.7075 | 59.9307 | 38.1
83444 | 2021-04-09 10:51 | 36.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3157 | μmol/L | 11.1494 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.962 | 141213.3506 | 308996.7841 | 59.9307 | 38.1
83453 | 2021-04-09 10:51 | 36.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2756 | μmol/L | 11.1616 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.959 | 141162.1708 | 308962.7922 | 59.9307 | 38.1
83462 | 2021-04-09 10:52 | 37.3315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3721 | μmol/L | 11.1616 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.955 | 141141.3394 | 308945.2321 | 59.9307 | 38.1
83471 | 2021-04-09 10:52 | 37.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3641 | μmol/L | 11.1677 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.953 | 141103.3522 | 308936.0133 | 59.9307 | 38.1
83480 | 2021-04-09 10:52 | 37.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3321 | μmol/L | 11.1738 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.952 | 141073.4806 | 308899.4787 | 59.9307 | 38.1
83489 | 2021-04-09 10:53 | 38.3311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3321 | μmol/L | 11.1738 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.952 | 141038.6552 | 308890.6971 | 59.9307 | 38.1
83498 | 2021-04-09 10:53 | 38.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.308 | μmol/L | 11.1738 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.953 | 141013.9183 | 308861.5011 | 59.9307 | 38.1
83507 | 2021-04-09 10:53 | 38.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3724 | μmol/L | 11.1799 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.948 | 140972.0804 | 308824.5625 | 59.9307 | 38.1
83516 | 2021-04-09 10:54 | 39.3315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2842 | μmol/L | 11.1921 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.947 | 140933.4705 | 308795.6903 | 59.9307 | 38.1
83525 | 2021-04-09 10:54 | 39.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2842 | μmol/L | 11.1921 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.947 | 140912.6104 | 308784.6838 | 59.9307 | 38.1
83534 | 2021-04-09 10:54 | 39.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2763 | μmol/L | 11.1982 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.945 | 140891.7324 | 308751.5714 | 59.9307 | 38.1
83543 | 2021-04-09 10:55 | 40.3315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3727 | μmol/L | 11.1982 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.941 | 140852.5574 | 308738.8772 | 59.9307 | 38.1
83552 | 2021-04-09 10:55 | 40.6644 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.389 | μmol/L | 11.2043 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.938 | 140822.3948 | 308708.2359 | 59.9307 | 38.1
83561 | 2021-04-09 10:55 | 40.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.421 | μmol/L | 11.1982 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.939 | 140789.8424 | 308688.6861 | 59.9307 | 38.1
83570 | 2021-04-09 10:56 | 41.331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4692 | μmol/L | 11.1982 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.937 | 140763.1432 | 308670.5794 | 59.9307 | 38.1
83579 | 2021-04-09 10:56 | 41.6647 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4372 | μmol/L | 11.2043 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.936 | 140729.0351 | 308652.714 | 59.9307 | 38.1
83588 | 2021-04-09 10:56 | 41.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4131 | μmol/L | 11.2043 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.937 | 140700.7539 | 308627.8825 | 59.9307 | 38.1
83597 | 2021-04-09 10:57 | 42.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3653 | μmol/L | 11.2226 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.932 | 140656.028 | 308589.0104 | 59.9307 | 38.1
83606 | 2021-04-09 10:57 | 42.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3653 | μmol/L | 11.2226 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.932 | 140635.1865 | 308568.1273 | 59.9307 | 38.1
83615 | 2021-04-09 10:57 | 42.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4455 | μmol/L | 11.2165 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.931 | 140602.7645 | 308541.3342 | 59.9307 | 38.1
83624 | 2021-04-09 10:58 | 43.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4859 | μmol/L | 11.2226 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.927 | 140584.3674 | 308524.2473 | 59.9307 | 38.1
83633 | 2021-04-09 10:58 | 43.6652 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4618 | μmol/L | 11.2226 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.928 | 140558.1272 | 308507.2977 | 59.9307 | 38.1
83642 | 2021-04-09 10:58 | 43.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4539 | μmol/L | 11.2286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.926 | 140534.8281 | 308475.291 | 59.9307 | 38.1
83651 | 2021-04-09 10:59 | 44.3311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3978 | μmol/L | 11.2347 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.926 | 140504.5846 | 308443.5578 | 59.9307 | 38.1
83660 | 2021-04-09 10:59 | 44.6649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3496 | μmol/L | 11.2347 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.928 | 140478.1773 | 308429.3164 | 59.9307 | 38.1
83669 | 2021-04-09 10:59 | 44.9977 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3658 | μmol/L | 11.2408 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.925 | 140443.0648 | 308396.5488 | 59.9307 | 38.1
83678 | 2021-04-09 11:00 | 45.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4943 | μmol/L | 11.2347 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.922 | 140424.0132 | 308370.4643 | 59.9307 | 38.1
83687 | 2021-04-09 11:00 | 45.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4141 | μmol/L | 11.2408 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.923 | 140408.9961 | 308371.2859 | 59.9307 | 38.1
83696 | 2021-04-09 11:00 | 45.9985 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3821 | μmol/L | 11.2469 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.922 | 140372.9234 | 308324.3708 | 59.9307 | 38.1
83705 | 2021-04-09 11:01 | 46.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5106 | μmol/L | 11.2408 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.919 | 140351.0439 | 308319.9729 | 59.9307 | 38.1
83714 | 2021-04-09 11:01 | 46.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4304 | μmol/L | 11.2469 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.92 | 140327.8059 | 308294.9489 | 59.9307 | 38.1
83723 | 2021-04-09 11:01 | 46.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4382 | μmol/L | 11.2408 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.922 | 140302.1583 | 308271.0146 | 59.9307 | 38.1
83732 | 2021-04-09 11:02 | 47.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3984 | μmol/L | 11.253 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.919 | 140276.3398 | 308254.5103 | 59.9307 | 38.1
83741 | 2021-04-09 11:02 | 47.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4147 | μmol/L | 11.2591 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.916 | 140255.787 | 308235.5226 | 59.9307 | 38.1
83750 | 2021-04-09 11:02 | 47.998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4949 | μmol/L | 11.253 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.915 | 140230.6587 | 308202.9508 | 59.9307 | 38.1
83759 | 2021-04-09 11:03 | 48.3311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3827 | μmol/L | 11.2652 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.915 | 140213.9718 | 308185.6771 | 59.9307 | 38.1
83768 | 2021-04-09 11:03 | 48.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3827 | μmol/L | 11.2652 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.915 | 140177.9235 | 308157.4003 | 59.9307 | 38.1
83777 | 2021-04-09 11:03 | 48.9977 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3827 | μmol/L | 11.2652 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.915 | 140153.6601 | 308143.1417 | 59.9307 | 38.1
83786 | 2021-04-09 11:04 | 49.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4551 | μmol/L | 11.2652 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.912 | 140136.2867 | 308125.663 | 59.9307 | 38.1
83795 | 2021-04-09 11:04 | 49.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3345 | μmol/L | 11.2652 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.917 | 140122.6988 | 308119.8134 | 59.9307 | 38.1
83804 | 2021-04-09 11:04 | 49.998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4473 | μmol/L | 11.2713 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.91 | 140099.4043 | 308097.5917 | 59.9307 | 38.1
83813 | 2021-04-09 11:05 | 50.3317 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3508 | μmol/L | 11.2713 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.914 | 140080.0756 | 308061.4481 | 59.9307 | 38.1
83822 | 2021-04-09 11:05 | 50.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4232 | μmol/L | 11.2713 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.911 | 140040.1983 | 308050.0463 | 59.9307 | 38.1
83831 | 2021-04-09 11:05 | 50.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4473 | μmol/L | 11.2713 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.91 | 140026.4389 | 308031.2394 | 59.9307 | 38.1
83840 | 2021-04-09 11:06 | 51.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4714 | μmol/L | 11.2713 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.909 | 140010.7467 | 308015.2182 | 59.9307 | 38.1
83849 | 2021-04-09 11:06 | 51.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4076 | μmol/L | 11.2835 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.907 | 139982.6655 | 308001.1968 | 59.9307 | 38.1
83858 | 2021-04-09 11:06 | 51.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.48 | μmol/L | 11.2835 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.904 | 139953.2272 | 307985.6679 | 59.9307 | 38.1
83867 | 2021-04-09 11:07 | 52.3317 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4076 | μmol/L | 11.2835 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.907 | 139928.2026 | 307941.8094 | 59.9307 | 38.1
83876 | 2021-04-09 11:07 | 52.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3032 | μmol/L | 11.2896 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.909 | 139913.4061 | 307943.5843 | 59.9307 | 38.1
83885 | 2021-04-09 11:07 | 52.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.48 | μmol/L | 11.2835 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.904 | 139881.5138 | 307904.4153 | 59.9307 | 38.1
83894 | 2021-04-09 11:08 | 53.3311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4239 | μmol/L | 11.2896 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.904 | 139859.683 | 307889.878 | 59.9307 | 38.1
83903 | 2021-04-09 11:08 | 53.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.448 | μmol/L | 11.2896 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.903 | 139848.2888 | 307875.021 | 59.9307 | 38.1
83912 | 2021-04-09 11:08 | 53.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.392 | μmol/L | 11.2957 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.903 | 139826.0021 | 307853.6217 | 59.9307 | 38.1
83921 | 2021-04-09 11:09 | 54.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4402 | μmol/L | 11.2957 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.901 | 139795.3553 | 307831.6087 | 59.9307 | 38.1
83930 | 2021-04-09 11:09 | 54.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4325 | μmol/L | 11.3018 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.899 | 139784.8924 | 307805.9717 | 59.9307 | 38.1
83939 | 2021-04-09 11:09 | 54.9977 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4488 | μmol/L | 11.3079 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.896 | 139765.1459 | 307801.3152 | 59.9307 | 38.1
83948 | 2021-04-09 11:10 | 55.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3842 | μmol/L | 11.3018 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.901 | 139743.7582 | 307772.7846 | 59.9307 | 38.1
83957 | 2021-04-09 11:10 | 55.6652 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3686 | μmol/L | 11.314 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.897 | 139715.47 | 307750.6371 | 59.9307 | 38.1
83966 | 2021-04-09 11:10 | 55.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4005 | μmol/L | 11.3079 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.898 | 139692.2584 | 307721.1637 | 59.9307 | 38.1
83975 | 2021-04-09 11:11 | 56.331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4488 | μmol/L | 11.3079 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.896 | 139670.6766 | 307705.6333 | 59.9307 | 38.1
83984 | 2021-04-09 11:11 | 56.6647 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4488 | μmol/L | 11.3079 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.896 | 139647.0797 | 307701.6655 | 59.9307 | 38.1
83993 | 2021-04-09 11:11 | 56.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5377 | μmol/L | 11.314 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.89 | 139624.4251 | 307674.2316 | 59.9307 | 38.1
84002 | 2021-04-09 11:12 | 57.3315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3609 | μmol/L | 11.32 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.895 | 139595.3281 | 307649.4752 | 59.9307 | 38.1
84011 | 2021-04-09 11:12 | 57.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4092 | μmol/L | 11.32 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.893 | 139570.9749 | 307628.4918 | 59.9307 | 38.1
84020 | 2021-04-09 11:12 | 57.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4411 | μmol/L | 11.314 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.894 | 139553.9519 | 307626.293 | 59.9307 | 38.1
84029 | 2021-04-09 11:13 | 58.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4574 | μmol/L | 11.32 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.891 | 139540.7098 | 307602.0078 | 59.9307 | 38.1
84038 | 2021-04-09 11:13 | 58.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4574 | μmol/L | 11.32 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.891 | 139517.6736 | 307580.5779 | 59.9307 | 38.1
84047 | 2021-04-09 11:13 | 58.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3531 | μmol/L | 11.3261 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.893 | 139492.5145 | 307572.6389 | 59.9307 | 38.1
84056 | 2021-04-09 11:14 | 59.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4816 | μmol/L | 11.32 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.89 | 139477.9077 | 307543.265 | 59.9307 | 38.1
84065 | 2021-04-09 11:14 | 59.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3695 | μmol/L | 11.3322 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.89 | 139456.3016 | 307537.4462 | 59.9307 | 38.1
84074 | 2021-04-09 11:14 | 59.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5135 | μmol/L | 11.314 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.891 | 139438.49 | 307505.974 | 59.9307 | 38.1
84083 | 2021-04-09 11:15 | 60.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3937 | μmol/L | 11.3322 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.889 | 139424.3148 | 307500.6186 | 59.9307 | 38.1
84092 | 2021-04-09 11:15 | 60.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3416 | μmol/L | 11.3322 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.891 | 139408.3677 | 307475.6912 | 59.9307 | 38.1
84101 | 2021-04-09 11:15 | 60.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4738 | μmol/L | 11.3261 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.888 | 139393.8191 | 307455.3737 | 59.9307 | 38.1
84110 | 2021-04-09 11:16 | 61.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2614 | μmol/L | 11.3383 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.892 | 139379.4265 | 307450.1218 | 59.9307 | 38.1
84119 | 2021-04-09 11:16 | 61.6644 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3821 | μmol/L | 11.3383 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.887 | 139360.1945 | 307425.7809 | 59.9307 | 38.1
84128 | 2021-04-09 11:16 | 61.998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4342 | μmol/L | 11.3383 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.885 | 139338.7572 | 307416.2276 | 59.9307 | 38.1
84137 | 2021-04-09 11:17 | 62.3317 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2575 | μmol/L | 11.3444 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.89 | 139313.1713 | 307393.1584 | 59.9307 | 38.1
84146 | 2021-04-09 11:17 | 62.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2739 | μmol/L | 11.3505 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.887 | 139286.7969 | 307376.3898 | 59.9307 | 38.1
84155 | 2021-04-09 11:17 | 62.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3463 | μmol/L | 11.3505 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.884 | 139259.0621 | 307359.5938 | 59.9307 | 38.1
84164 | 2021-04-09 11:18 | 63.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3705 | μmol/L | 11.3505 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.883 | 139234.2175 | 307356.7287 | 59.9307 | 38.1
84173 | 2021-04-09 11:18 | 63.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5193 | μmol/L | 11.3444 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.879 | 139202.8156 | 307327.2484 | 59.9307 | 38.1
84182 | 2021-04-09 11:18 | 63.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3107 | μmol/L | 11.3566 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.883 | 139194.2644 | 307308.286 | 59.9307 | 38.1
84191 | 2021-04-09 11:19 | 64.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.5193 | μmol/L | 11.3444 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.879 | 139175.8365 | 307298.3641 | 59.9307 | 38.1
84200 | 2021-04-09 11:19 | 64.6649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3425 | μmol/L | 11.3505 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.884 | 139164.8599 | 307274.98 | 59.9307 | 38.1
84209 | 2021-04-09 11:19 | 64.9977 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3271 | μmol/L | 11.3627 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.88 | 139139.3633 | 307244.1172 | 59.9307 | 38.1
84218 | 2021-04-09 11:20 | 65.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3627 | μmol/L | 11.3566 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.881 | 139133.012 | 307233.1107 | 59.9307 | 38.1
84227 | 2021-04-09 11:20 | 65.6652 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2305 | μmol/L | 11.3627 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.884 | 139129.6631 | 307238.3131 | 59.9307 | 38.1
84236 | 2021-04-09 11:20 | 65.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2547 | μmol/L | 11.3627 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.883 | 139109.2212 | 307216.819 | 59.9307 | 38.1
84245 | 2021-04-09 11:21 | 66.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3271 | μmol/L | 11.3627 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.88 | 139089.4063 | 307197.2952 | 59.9307 | 38.1
84254 | 2021-04-09 11:21 | 66.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2547 | μmol/L | 11.3627 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.883 | 139068.6279 | 307179.6955 | 59.9307 | 38.1
84263 | 2021-04-09 11:21 | 66.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2151 | μmol/L | 11.3749 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.88 | 139056.6147 | 307162.4301 | 59.9307 | 38.1
84272 | 2021-04-09 11:22 | 67.3311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3309 | μmol/L | 11.3627 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.88 | 139028.6241 | 307130.5989 | 59.9307 | 38.1
84281 | 2021-04-09 11:22 | 67.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2952 | μmol/L | 11.3688 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.879 | 139009.998 | 307124.0184 | 59.9307 | 38.1
84290 | 2021-04-09 11:22 | 67.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2393 | μmol/L | 11.3749 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.879 | 138995.4051 | 307116.6211 | 59.9307 | 38.1
84299 | 2021-04-09 11:23 | 68.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.247 | μmol/L | 11.3688 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.881 | 138981.3559 | 307105.4674 | 59.9307 | 38.1
84308 | 2021-04-09 11:23 | 68.6644 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2875 | μmol/L | 11.3749 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.877 | 138952.9762 | 307080.4715 | 59.9307 | 38.1
84317 | 2021-04-09 11:23 | 68.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.36 | μmol/L | 11.3749 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.874 | 138950.4227 | 307062.7159 | 59.9307 | 38.1
84326 | 2021-04-09 11:24 | 69.331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2557 | μmol/L | 11.381 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.876 | 138929.5798 | 307048.173 | 59.9307 | 38.1
84335 | 2021-04-09 11:24 | 69.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3358 | μmol/L | 11.3749 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.875 | 138908.9483 | 307043.8495 | 59.9307 | 38.1
84344 | 2021-04-09 11:24 | 69.9977 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2557 | μmol/L | 11.381 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.876 | 138888.0693 | 307032.2485 | 59.9307 | 38.1
84353 | 2021-04-09 11:25 | 70.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3281 | μmol/L | 11.381 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.873 | 138875.33 | 307005.7932 | 59.9307 | 38.1
84362 | 2021-04-09 11:25 | 70.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3358 | μmol/L | 11.3749 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.875 | 138854.901 | 307002.2121 | 59.9307 | 38.1
84371 | 2021-04-09 11:25 | 70.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3523 | μmol/L | 11.381 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 138836.79 | 306982.4853 | 59.9307 | 38.1
84380 | 2021-04-09 11:26 | 71.3315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2963 | μmol/L | 11.3871 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 138819.545 | 306951.6551 | 59.9307 | 38.1
84389 | 2021-04-09 11:26 | 71.6647 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.276 | μmol/L | 11.3871 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.873 | 138811.6582 | 306949.7597 | 59.9307 | 38.1
84398 | 2021-04-09 11:26 | 71.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3687 | μmol/L | 11.3871 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.869 | 138794.2669 | 306931.4151 | 59.9307 | 38.1
84407 | 2021-04-09 11:27 | 72.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.168 | μmol/L | 11.3932 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.875 | 138783.8852 | 306926.1065 | 59.9307 | 38.1
84416 | 2021-04-09 11:27 | 72.665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2963 | μmol/L | 11.3871 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 138774.114 | 306911.0022 | 59.9307 | 38.1
84425 | 2021-04-09 11:27 | 72.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2162 | μmol/L | 11.3932 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.873 | 138762.9792 | 306894.8724 | 59.9307 | 38.1
84434 | 2021-04-09 11:28 | 73.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1844 | μmol/L | 11.3993 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.872 | 138749.9687 | 306872.8001 | 59.9307 | 38.1
84443 | 2021-04-09 11:28 | 73.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2568 | μmol/L | 11.3993 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.869 | 138723.1515 | 306857.2319 | 59.9307 | 38.1
84452 | 2021-04-09 11:28 | 73.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2327 | μmol/L | 11.3993 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.87 | 138719.9896 | 306843.2681 | 59.9307 | 38.1
84461 | 2021-04-09 11:29 | 74.3316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2327 | μmol/L | 11.3993 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.87 | 138687.5827 | 306823.4243 | 59.9307 | 38.1
84470 | 2021-04-09 11:29 | 74.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2327 | μmol/L | 11.3993 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.87 | 138678.7998 | 306821.4269 | 59.9307 | 38.1
84479 | 2021-04-09 11:29 | 74.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.225 | μmol/L | 11.4053 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.868 | 138659.5183 | 306815.2534 | 59.9307 | 38.1
84488 | 2021-04-09 11:30 | 75.3312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2086 | μmol/L | 11.3993 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.871 | 138647.0872 | 306801.4801 | 59.9307 | 38.1
84497 | 2021-04-09 11:30 | 75.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2327 | μmol/L | 11.3993 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.87 | 138630.6907 | 306782.0486 | 59.9307 | 38.1
84506 | 2021-04-09 11:30 | 75.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2733 | μmol/L | 11.4053 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.866 | 138616.0662 | 306754.4806 | 59.9307 | 38.1
84515 | 2021-04-09 11:31 | 76.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2492 | μmol/L | 11.4053 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.867 | 138613.228 | 306764.5866 | 59.9307 | 38.1
84524 | 2021-04-09 11:31 | 76.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1932 | μmol/L | 11.4114 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.867 | 138585.0427 | 306754.7314 | 59.9307 | 38.1
84533 | 2021-04-09 11:31 | 76.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2898 | μmol/L | 11.4114 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.863 | 138567.086 | 306730.027 | 59.9307 | 38.1
84542 | 2021-04-09 11:32 | 77.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1932 | μmol/L | 11.4114 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.867 | 138560.6197 | 306718.7276 | 59.9307 | 38.1
84551 | 2021-04-09 11:32 | 77.6649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2657 | μmol/L | 11.4114 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.864 | 138538.6431 | 306694.9225 | 59.9307 | 38.1
84560 | 2021-04-09 11:32 | 77.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1856 | μmol/L | 11.4175 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.865 | 138523.8531 | 306696.559 | 59.9307 | 38.1
84569 | 2021-04-09 11:33 | 78.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2415 | μmol/L | 11.4114 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.865 | 138513.1091 | 306685.5091 | 59.9307 | 38.1
84578 | 2021-04-09 11:33 | 78.6645 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2339 | μmol/L | 11.4175 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.863 | 138503.2057 | 306682.8934 | 59.9307 | 38.1
84587 | 2021-04-09 11:33 | 78.9983 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4182 | μmol/L | 11.4053 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.86 | 138482.393 | 306660.4861 | 59.9307 | 38.1
84596 | 2021-04-09 11:34 | 79.3311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1132 | μmol/L | 11.4175 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.868 | 138476.2974 | 306649.3788 | 59.9307 | 38.1
84605 | 2021-04-09 11:34 | 79.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2822 | μmol/L | 11.4175 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.861 | 138465.7887 | 306638.3364 | 59.9307 | 38.1
84614 | 2021-04-09 11:34 | 79.9977 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1056 | μmol/L | 11.4236 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.866 | 138456.7629 | 306623.5371 | 59.9307 | 38.1
84623 | 2021-04-09 11:35 | 80.3315 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2262 | μmol/L | 11.4236 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.861 | 138442.0807 | 306605.1265 | 59.9307 | 38.1
84632 | 2021-04-09 11:35 | 80.6647 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2021 | μmol/L | 11.4236 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.862 | 138424.9456 | 306589.2508 | 59.9307 | 38.1
84641 | 2021-04-09 11:35 | 80.9984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2504 | μmol/L | 11.4236 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.86 | 138421.7809 | 306570.28 | 59.9307 | 38.1
84650 | 2021-04-09 11:36 | 81.3313 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1221 | μmol/L | 11.4297 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.863 | 138413.4992 | 306564.7315 | 59.9307 | 38.1
84659 | 2021-04-09 11:36 | 81.6651 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0662 | μmol/L | 11.4358 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.863 | 138392.0379 | 306549.4313 | 59.9307 | 38.1
84668 | 2021-04-09 11:36 | 81.9979 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0344 | μmol/L | 11.4419 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.862 | 138386.0563 | 306553.9585 | 59.9307 | 38.1
84677 | 2021-04-09 11:37 | 82.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0662 | μmol/L | 11.4358 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.863 | 138381.9827 | 306538.5683 | 59.9307 | 38.1
84686 | 2021-04-09 11:37 | 82.6646 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0344 | μmol/L | 11.4419 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.862 | 138363.5818 | 306527.9368 | 59.9307 | 38.1
84695 | 2021-04-09 11:37 | 82.9982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.938 | μmol/L | 11.4419 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.866 | 138348.9025 | 306516.087 | 59.9307 | 38.1
84704 | 2021-04-09 11:38 | 83.331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0903 | μmol/L | 11.4358 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.862 | 138341.1517 | 306491.755 | 59.9307 | 38.1
84713 | 2021-04-09 11:38 | 83.6648 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0586 | μmol/L | 11.4419 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.861 | 138323.5778 | 306487.7452 | 59.9307 | 38.1
84722 | 2021-04-09 11:38 | 83.9978 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1068 | μmol/L | 11.4419 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.859 | 138315.5492 | 306474.8485 | 59.9307 | 38.1
84731 | 2021-04-09 11:39 | 84.3314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0027 | μmol/L | 11.448 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.861 | 138291.1405 | 306460.2525 | 59.9307 | 38.1
84740 | 2021-04-09 11:39 | 84.6644 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0586 | μmol/L | 11.4419 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.861 | 138262.0934 | 306447.7031 | 59.9307 | 38.1
84749 | 2021-04-09 11:39 | 84.9981 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1716 | μmol/L | 11.448 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.854 | 138241.2287 | 306446.6163 | 59.9307 | 38.1
84758 | 2021-04-09 11:40 | 85.3318 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1475 | μmol/L | 11.448 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.855 | 138216.398 | 306429.0372 | 59.9307 | 38.1
84767 | 2021-04-09 11:40 | 85.6647 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2682 | μmol/L | 11.448 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.85 | 138190.4808 | 306408.3299 | 59.9307 | 38.1
84776 | 2021-04-09 11:40 | 85.9985 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2923 | μmol/L | 11.448 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.849 | 138165.9957 | 306393.39 | 59.9307 | 38.1